INDEX

| Sr. No. | Description | Page No. |
| --- | --- | --- |
| 1. | Cost for temporary sheds at each camping side | 1 |
| 2. (a) | Preliminary survey of 66/132/220 kV Trans. line | 2 |
| (b) | Detailed survey of 66/132/220 kV line cost for land, tree crops, trees cuttings and afforestations for 66 kV, S/C & D/C trans.line | 2-3 |
| 3. | Cost for 1 km 66 kV S/C Trans. line (Non Snow Zone) | 4 |
| 4 | Cost for 1 km 66 kV S/C Trans. line ( Snow Zone) | 11 |
| 5. | Cost for 1 km 66 kV, D/C Trans. line (Non Snow Zone) | 15 |
| 6 | Cost for 1 km 66 kV, D/C Trans. line(Snow Zone) | 21 |
| 7. | Cost for 66 kV, S/C Trans. line on D/C towers (Non Snow Zone) | 25 |
| 8 | Cost for 66 kV, S/C Trans. line on D/C towers (Snow Zone) | 27 |
| 9 | Cost of compensation for land , trees , crops, trees cutting and afforestations for 132 kV Trans. line | 29 |
| 10 | Cost for 132 kV S/C Trans. line (Non Snow Zone) | 30 |
| 11 | Cost for 132 kV S/C Trans. line (Snow Zone) | 37 |
| 12 | Cost for 132 kV D/C Trans. line (Non Snow Zone) | 41 |
| 13 | Cost for 132 kV D/C Trans.line (Snow Zone) | 48 |
| 14 | Cost for 132 kV S/C Trans.line on D/C towers (Non Snow Zone) | 52 |
| 15 | Cost for 132 kV S/C Trans.line on D/C towers (Snow Zone) | 54 |
| 16 | Cost ofcompensation for land, trees, crops, trees cutting and afforestation for 220 kV Trans. line | 56 |
| 17 | Cost for 220 kV S/C Trans. line (Non Snow Zone) | 57 |
| 18 | Cost for 220 kV, S/C Trans. line (Snow Zone) | 64 |
| 19 | Cost for 220 kV D/C Trans.line (Non Snow Zone) | 68 |
| 20 | Cost for 220 kV D/C Trans.line (Snow Zone) | 75 |
| 21 | Cost for 220 kV S/C Trans.line on D/C towers (Non Snow Zone) | 79 |
| 22 | Cost for 220 kV S/C Trans. line on D/c towers (Snow Zone) | 81 |
| 23 | Cost analysis for providing terminal equipments at one end of the line | 83 |
| i) | 220 kV Bay (Double bus bar) |  |
| ii) | 220 kV Bay (Additional bay double bus bar ) |  |
| iii) | 132 kV Single bus bar |  |
| iv) | 132 kV Double bus bar |  |
| v) | 132 kV Addl. Single bus bar |  |
| 24 | Cost analysis for providing terminal equipments at one end of the line | 86 |
| i) | 66 kV bay (single bus bar) |  |
| ii) | 66 kV bay (double bus bar) |  |
| iii) | 33 kV bay (single bus bar) |  |
| iv) | 33 kV additional bay (single bus bar) |  |
| 25 | Cost Analysis for providing bus coupler bay | 89 |
| i) | 220 kV bay (double bus bar) |  |
| ii) | 132 kV bay (single bus bar) |  |
| iii) | 66 kV bay (single bus bar) |  |
| iv) | 33 kV bay (single bus bar) |  |
| 26 | Cost Analysis for prov. 1 No transformer bay | 91 |
| i) | 220 kV side (double bus bar) |  |
| ii) | 132 kV side (double bus bar) |  |
| iii) | 66 kV side (double bus bar) |  |
| iv) | 33 kV side (double bus bar) |  |
| 27 | Cost Analysis for S/Stn. (Power Transformer) | 93 |
| i) | 80/100 MVA |  |
| ii) | 25/31.5 MVA |  |
|  | 220/33kV |  |
|  | 132/33kV |  |
|  | 132/11kV |  |
| iii) | 16/20 MVA |  |
|  | 132/33 kV |  |
|  | 132/11 kV |  |
| iv) | 20 MVA |  |
|  | 66/33 kV |  |
|  | 66/11 kV |  |
| v) | 10 MVA |  |
| vi) | 6.3 MVA |  |
| 28 | Cost analysis for PLCC equipments at one end of 66 kV S/C line | 97 |
| 29 | Cost analysis for PLCC equipments at one end of 132 kV S/C line | 98 |
| 30 | Cost analysis for PLCC equipments at one end of 220 kV S/C line | 99 |