## Abstract Equipment-2
ABSTRACT OF COST (RS IN LAKH) OF VARIOUS EQUIPMENTS REQUIRED IN EHV SUBSTATIONS FOR 2019-20
Sr. | EQUIPMENT | COST | % | NET COST | P. O. |  | ANNEXURES NUMBER |  |  |  | REMARKS
No. |  | AS PER COST DATA/P.O. | VARIATION | FOR 2019-20 | NUMBER | DATE | P. O. | IEEMA CIRCULAR |  | PRICE VARIATION
|  | 2018 - 2019 | 01.01.2018 to |  | SSD |  | No. | BASE | DELIVERY | CALCULATIONS
|  |  | 31.12.2018 |  |  |  |  | Jan, 18 | Dec, 18
1 | 2 | 3 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | 3 PHASE, POWER TRANSFORMERS
A | (a) 220 / 132 kV, 80 / 100 MVA | 716.32 | 9.23 | 782.4363 |  |  |  | M1 | M2 | XERa
| (b) 220 / 33 kV, 25 / 31.5 MVA | 419.46 | 9.23 | 458.1762 |  |  |  | M1 | M2 | XERa
| (c) 132 / 33 kV, 25 / 31.5 MVA | 228.94 | 9.23 | 250.0712 |  |  |  | M1 | M2 | XERa
| (d) 132 / 33 kV, 16 / 20 MVA | 230.36 | 9.23 | 251.6222 |  |  |  | M1 | M2 | XERa
| (e) 132/11 kV, 25 31.5 MVA | 290.15 | 9.23 | 316.9308 |  |  |  | M1 | M2 | XERa
| (f) 132 / 11 kV, 16 MVA | 230.36 | 9.23 | 251.6222 |  |  |  | M1 | M2 | XERa
| (g) 66 / 22 kV, 25/31.5 MVA | 239.61 | 9.23 | 261.726 |  |  |  | M1 | M2 | XERa
| (h) 66 / 33 kV, 20 MVA | 246.9 | 9.23 | 269.6889 |  |  |  | M1 | M2 | XERa
| (i) 66 / 33 kV,10 MVA | 135.7 | 2.21 | 138.699 | 396 | 13.07.18 | 2789-97 | M1a | M2 | XER
| (j) 66 / 22 kV, 10 MVA | 135.86 | 9.23 | 148.3999 |  |  |  | M1 | M2 | XERa
| (k) 66 / 11 kV, 20 MVA | 246.9 | 9.23 | 269.6889 |  |  |  | M1 | M2 | XERa
| (l) 66 / 11 kV, 10 MVA | 131.73 | 9.23 | 143.8887 |  |  |  | M1 | M2 | XERa
| (m) 66 / 11 kV, 6.3 MVA | 92.3 | 9.23 | 100.8193 |  |  |  | M1 | M2 | XERa
B | Single Phase Power Transformers
(Bank of 3 Nos. of single phase units)
| (a) 220/132 kV, (3 X 1) 53.53/ 66.66 MVA | 1483.54 | 9.23 | 1620.4707 |  |  |  | M1 | M2 | XERa
| (b) 220/132 KV, 3 X 26.67/33.33MVA | 606.93 | 9.23 | 662.9496 |  |  |  | M1 | M2 | XERa
| ( C ) 220 / 66 kV, 3 X 26.67/30/33.33 MVA | 284.3 | 9.23 | 310.5409 |  |  |  | M1 | M2 | XERa
| (d) 132 / 66 kV, 3 X 16.67 /21MVA | 204.12 | 9.23 | 222.9603 |  |  |  | M1 | M2 | XERa
2 | CIRCUIT BREAKERS
a | 245 kV SF - 6 CB | 15.97 | 3.56 | 16.5385 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV SF - 6 CB | 9.75 | 0 | 10.05 | 400 Addl. | 21.01.19 | 8473-8516 | _ | _ | _
c | 72.5 kV SF - 6 CB | 4.42 | 0 | 4.43 | 400 Addl. | 21.01.19 | 8473-8516 | _ | _ | _
d | 36 kV VCB | 2.46 | 0 | 2.09 | 400 Addl. | 21.01.19 | 8473-8516 | _ | _ | _
3 | CONTROL & RELAY PANELS | [9 empty] | In 220kV Feeder Panel: Main-I & Main-II distance relay should have different algorithm/manufacturer.
a | 220 kV, Transformer Panel | 6.2 | -0.17 | 6.1895 | 397 | 27.07.18 | 3220-57 | M3a | M4 | SWITCHGEAR2
| Bus CouplerPanel | 13.01 | 3.56 | 13.4732 |  |  |  | M3 | M4 | SWITCHGEAR1
| Feeder Panel | 7.9 | 3.56 | 8.1812 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 132 kV, Transformer | 5.28 | 0 | 5.95 | 397 Addl. | 19.01.19 | 8402-41
| Bus Coupler Panel | 8.86 | 3.56 | 9.1754 |  |  |  | M3 | M4 | SWITCHGEAR1
| Feeder Panel | 4.92 | 3.56 | 5.0952 |  |  |  | M3 | M4 | SWITCHGEAR1
c | 66 kV, Transformer Panel | 5.28 | 0 | 6.04 | 397 Addl. | 19.01.19 | 8402-41
| Bus Coupler | 7.21 | 3.56 | 7.4667 |  |  |  | M3 | M4 | SWITCHGEAR1
| Feeder Panel | 4.92 | 0 | 4.66 | 397 Addl. | 19.01.19 | 8402-41
d | 33 kV, Transformer Panel | 3.53 | 0 | 3.33 | 397 Addl. | 19.01.19 | 8402-41
| Bus Coupler | 2.9 | 0 | 2 | 397 Addl. | 19.01.19 | 8402-41
| Feeder Panel | 3.33 | 0 | 2.06 | 397 Addl. | 19.01.19 | 8402-41
4 | CURRENT TRANSFORMER | [9 empty] | Note :- For prices of various ratio of 220kV,132 kV,66 kV & 33 kV CTs refer Sr. No. 24 .
a | 220kV, CURRENT TRANSFORMER | 2.56 | 7 | 2.7392 |  |  |  | M5 | M6 | IT1
b | 132 kV, CURRENT TRANSFORMER | 1.24 | 0 | 1.29 | 401 Addl. | 19.01.19 | 8331-46
c | 66 kV, CURRENT TRANSFORMER | 0.55 | 0 | 0.61 | 401 Addl. | 19.01.19 | 8331-46
d | 33 kV, CURRENT TRANSFORMER | 0.43 | 0 | 0.44 | 401 Addl. | 21.01.19 | 8448-69
5 | POTENTIAL TRANSFORMER
a | 220kV Potential Transformer | 2.09 | 7 | 2.2363 |  |  |  | M5 | M6 | IT1
b | 132kV Potential Transformer | 1.06 | 0 | 1.17 | 401 Addl. | 19.01.19 | 8331-46
c | 66kV Potential Transformer | 0.59 | 0 | 0.64 | 401 Addl. | 19.01.19 | 8331-46
d | 33kV Potential Transformer | 0.27 | 0 | 0.27 | 401 Addl. | 21.01.19 | 8448-69
6 | ISOLATOR WITH EARTH SWITCH (Motorized) with Structure
a | 245 kV ,2000 A | 6.59 | 3.56 | 6.8246 |  |  |  | M3 | M4 | SWITCHGEAR3
b | 145 kV ,1600A | 3.96 | 0 | 3.96 | 393 Addl. | 19.01.19 | 8315-30
c | 72.5 kV,1250 A | 2.15 | 3.56 | 2.2265 |  |  |  | M3 | M4 | SWITCHGEAR3
d | i) 36 kV, 2000 A | 1.92 | 3.53 | 2.03 |  |  |  | M3 | M4 | SWITCHGEAR4
e | ii) 36 kV,1600 A | 1.75 | 0 | 2.03 | 402Addl. | 30.01.19 | 8646-76
f | iii) 36 kV,1250 A | 1.61 | 0 | 1.69 | 402Addl. | 30.01.19 | 8646-76
ISOLATOR WITH EARTH SWITCH (Motorized) without Structure
a | 245 kV ,2000 A | 5.81 | 3.56 | 6.0168 |  |  |  | M3 | M4 | SWITCHGEAR3
b | 145 kV ,1600A | 3.45 | 0 | 3.45 | 393 Addl. | 19.01.19 | 8315-30
c | 72.5 kV,1250 A | 1.79 | 3.56 | 1.8537 |  |  |  | M3 | M4 | SWITCHGEAR3
d | i) 36 kV, 2000 A | 1.67 | 3.53 | 1.729 |  |  |  | M3 | M4 | SWITCHGEAR4
e | ii) 36 kV,1600 A | 1.5 | 0 | 1.69 | 402Addl. | 30.01.19 | 8646-76
f | iii) 36 kV,1250 A | 1.37 | 0 | 1.36 | 402Addl. | 30.01.19 | 8646-76
7 | ISOLATOR W/O EARTH SWITCH (Motorized) with structure
a | 245 kV ,2000 A | 6.07 | 3.56 | 6.2861 |  |  |  | M3 | M4 | SWITCHGEAR3
b | 145 kV ,1600A | 3.56 | 0 | 3.56 | 393 Addl. | 19.01.19 | 8315-30
c | 72.5 kV,1250 A | 1.85 | 3.56 | 1.9159 |  |  |  | M3 | M4 | SWITCHGEAR3
d | i) 36 kV, 2000 A | 1.66 | 3.53 | 1.78 |  |  |  | M3 | M4 | SWITCHGEAR4
e | ii) 36 kV, 1600 A | 1.54 | 0 | 1.78 | 402Addl. | 30.01.19 | 8646-76
f | iii) 36 kV,1250 A | 1.47 | 0 | 1.48 | 402Addl. | 30.01.19 | 8646-76
8 | ISOLATOR W/O EARTH SWITCH (Motorized) without structure
a | 245 kV ,2000 A | 5.29 | 3.56 | 5.4783 |  |  |  | M3 | M4 | SWITCHGEAR3
b | 145 kV ,1600A | 3.04 | 0 | 3.04 | 393 Addl. | 19.01.19 | 8315-30
c | 72.5 kV,1250 A | 1.51 | 3.56 | 1.5638 |  |  |  | M3 | M4 | SWITCHGEAR3
d | i) 36 kV, 2000 A | 1.41 | 3.53 | 1.4598 |  |  |  | M3 | M4 | SWITCHGEAR4
e | ii) 36 kV, 1600 A | 1.3 | 0 | 1.44 | 402Addl. | 30.01.19 | 8646-76
f | iii) 36 kV,1250 A | 1.23 | 0 | 1.13 | 402Addl. | 30.01.19 | 8646-76
9 | INDOOR SWITCHGEAR BOARD
a | 36 kV, 2000 A, 25 kA I/C | 24.26 | 3.53 | 25.1164 |  |  |  | M3 | M4 | SWITCHGEAR4
b | 2000 A, 25 kA O/G | 15.39 | 3.53 | 15.9333 |  |  |  | M3 | M4 | SWITCHGEAR4
c | 2000 A, 25 kA B/C | 23.9 | 3.53 | 24.7437 |  |  |  | M3 | M4 | SWITCHGEAR4
d | 2000 A, 25 kA Station | 17.06 | 3.53 | 17.6622
a | 24 kV, 1250 A, 25 kA Transformer Panel | _ | _ | 10.1 | 395 Addl. | 19.01.19 | 8377-98
b | 1250 A O/G | _ | _ | 7.25 | 395 Addl. | 19.01.19 | 8377-98
c | 1250 A B/C | _ | _ | 9.82 | 395 Addl. | 19.01.19 | 8377-98
a | 12 kV, 2000 A, 31.5 kA I/C | 10.61 | 1.04 | 10.7203 | 395 | 15.05.18 | 1070-1116 | M3a | M4 | SWITCHGEAR5
b | 2000 A,31.5 kA O/G | 8.27 | 1.04 | 8.356 | 395 | 15.05.18 | 1070-1116 | M3a | M4 | SWITCHGEAR5
c | 2000 A, 31.5 kA B/C | 12.59 | 1.04 | 12.7209 | 395 | 15.05.18 | 1070-1116 | M3a | M4 | SWITCHGEAR5
d | 2000 A, 31.5 kA Station Transformer panel | 9.16 | 1.04 | 9.2553 | 395 | 15.05.18 | 1070-1116 | M3a | M4 | SWITCHGEAR5
a | 12 kV, 2000 A, 25 kA I/C | 6.7 | 3.53 | 6.9365 |  |  |  | M3 | M4 | SWITCHGEAR4
b | 2000 A,25 kA O/G | 5.46 | 3.53 | 5.6527 |  |  |  | M3 | M4 | SWITCHGEAR4
c | 2000 A, 25 kA B/C | 6.16 | 3.53 | 6.3774 |  |  |  | M3 | M4 | SWITCHGEAR4
a | 12 kV, 1250 A, 25 kA I/C | 5.43 | 0 | 5.86 | 395 Addl. | 19.01.19 | 8377-98
b | 1250 A,25 kA O/G | 4.22 | 0 | 3.99 | 395 Addl. | 19.01.19 | 8377-98
c | 1250 A, 25 kA B/C | 4.45 | 0 | 5.26 | 395 Addl. | 19.01.19 | 8377-98
| 1250 A, 25 kA Station Transformer panel | _ | _ | 4 | 395 Addl. | 19.01.19 | 8377-98
a | 12 kV, 1250 A, 12.5 kA I/C | 3.79 | 3.53 | 3.9238 |  |  |  | M3 | M4 | SWITCHGEAR4
b | 1250 A,12.5 kA O/G | 3.32 | 3.53 | 3.4372 |  |  |  | M3 | M4 | SWITCHGEAR4
c | 1250 A, 12.5 kA B/C | 2.84 | 3.53 | 2.9403 |  |  |  | M3 | M4 | SWITCHGEAR4
10 | 415 VOLT, 3 PHASE A. C. DISTRIBUTION BOARD (2 I/C & B/C)
| 800 A I/C & B/C with 12 NO. O/G | 10.87 | 0 | 9.94 | 399 Addl. | 08.03.19 | 9896-9913 |  |  |  |  | separate for 33 kv & 66 kv in PO
11 | D. C. BATTERY
a | 220 VOLT, 400 AH | 9.02 | -2.56 | 8.7891 |  |  |  | M9a | M10 | BATTERY1 |  | ieema jan to dec
b | 220 VOLT, 300 AH | 7.52 | -2.56 | 7.3275 |  |  |  | M9a | M10 | BATTERY 1
c | 220 VOLT, 200 AH | 5.73 | -0.76 | 5.6865 | 398 | 23.08.18 | 3960-95 | M9b | M10 | BATTERY1 |  | ieema aug to dec
d | 48 VOLT,400 AH | 2.1 | -2.56 | 2.0462 |  |  |  | M9a | M10 | BATTERY 1 |  | ieema jan to dec
e | 48 VOLT,200 AH | 1.25 | -0.76 | 1.2405 | 398 | 23.08.18 | 3960-95 | M9b | M10 | BATTERY1 |  | ieema aug to dec
f | 30 Volt, 200 AH | 0.78 | -0.76 | 0.77407 | 398 | 23.08.18 | 3960-95 | M9b | M10 | BATTERY1 |  | ieema aug to dec
g | 30 Volt, 100 AH | 0.46 | -0.76 | 0.4565 | 398 | 23.08.18 | 3960-95 | M9b | M10 | BATTERY1 |  | ieema aug to dec
12 | D. C. BATTERY CHARGER FOR
a | 220 VOLT, 400 AH | 2.74 | 2.46 | 2.8074 |  |  |  | M9a | M10 | BATTERYII |  | ieema jan to dec
b | 220 VOLT, 200 AH | 1.96 | 0.92 | 1.978 | 399 | 15.09.18 | 4674-4718 | M9c | M10 | BATTERYII |  | ieema sep to dec
| 48 Volt, 200 AH | 1.79 | 0.92 | 1.8065 | 399 | 15.09.18 | 4674-4718 | M9c | M10 | BATTERYII |  | ieema sep to dec
| 30 Volt, 200 AH | 1.57 | 0.92 | 1.5844 | 399 | 15.09.18 | 4674-4718 | M9c | M10 | BATTERYII
c | 30 Volt, 100 AH | 1.44 | 0.92 | 1.4532 | 399 | 15.09.18 | 4674-4718 | M9c | M10 | BATTERYII
d | 220 VOLT,300 AH | 2.6 | 2.46 | 2.664 |  |  |  | M9a | M10 | BATTERYII
13 | DCDB
a | 220V, D. C. DISTRIBUTION BOARD | 1.06 | 0.55 | 1.0658 | 399 | 15.09.18 | 4674-4718 | M11 | M12 | DCDB
b | 48V, D. C. DISTRIBUTION BOARD | 1.01 | 0.55 | 1.0156 | 399 | 15.09.18 | 4674-4718 | M11 | M12 | DCDB
c | 30V, D. C. DISTRIBUTION BOARD | 0.9 | 0.55 | 0.90495 | 399 | 15.09.18 | 4674-4718 | M11 | M12 | DCDB
14 | 220V-30V DC-DC CONVERTER | 0.35 | 0 | 0.47 | 349 | 23.04.16 | 683-94
15 | SUBSTATION STRUCTURE
a | PER MT FOR A GRADE | 1.038 | 7.85 | 1.1195 |  |  |  | M13 | M14 | STRUCTURE
b | PER MT FOR C GRADE (For Snow Zone) | 0.92 | 7.85 | 0.99222 |  |  |  | M13 | M14 | STRUCTURE
16 | SCADA SYSTEM COMPLETE
| (a) RTU & LDMS | 36.7 | 0 | 26.95 | 397Addl. | 19.01.19 | 8402-41
| (b) FOTE | 20.64 | 10 | 22.704 | 404 | 18.07.18 | 2968-78
17 | TESTING & MEASURING INSTRUMENTS
I) | Battery Leakage Detector, Meggar | 17.14 | 10 | 18.854
II) | Insulation Tester-Self Dioagnostic 5 kV Megger | 6.71 | 10 | 7.381
III) | 3-Phase Transformer Turns Ratio Tester, Megger | 16.3 | 10 | 17.93
IV) | Digital Multimeter (AC/DC), 2mA-20A, Megger | 0.26 | 10 | 0.286
V) | Digital Clamp Meter, Megger | 0.31 | 10 | 0.341
VI) | Digital Earth Tester, Megger | 3.09 | 10 | 3.399
VII) | All relay Universal Testing Kit | 38.63 | 10 | 42.493
VIII) | Motorized-cum-Manual Oil Test t Set (1kVA Capacity) | 2.57 | 10 | 2.827
ix) | Disturbance Recorder | 45.6 | 10 | 50.16
x) | Providing GPS device for time synchronisation of Protection relays | 7.85 | 10 | 8.635
xi) | Relay Testing Kit | 52.75 | 10 | 58.025
xii) | Tan Delta Testing Kit | 53.41 | 10 | 58.751
xiii) | Circuit breaker Analyzer | 77.82 | 10 | 85.602
xiv) | Battery Leakage Detector | 18.46 | 10 | 20.306
18 | CAPACITOR BANK WITH APFC SYSTEM
A.i | 12.65 kV(11 kV), 3 ( 1.2 +1.8) MVAR, Capactor Bank with APFC Panel | 21.08 | 10 | 23.188
ii | 25.3 kV (22 kV), 4.2 (2x1.2+1.8) MVAR Capactor Bank with APFC Panel | 49.08 | 10 | 53.988
iii | 38 kV( 33 kV), 7.2 (3X2.4) MVAR Capacitor Bank with APFC Panel. | 95.83 | 10 | 105.413
B | RESIDUAL VOLTAGE TRANSFORMER
i | 33kV/3/110-570 | 0.8 | 7.21 | 0.85768 |  |  |  | M5 | M6 | Ann-IT2
ii | 22kV/3/110-570 | 0.63 | 7.21 | 0.67542 |  |  |  | M5 | M6 | Ann-IT2
iii) | 11kV/3/110-570 | 0.53 | 7.21 | 0.56821 |  |  |  | M5 | M6 | Ann-IT2
C | 200KVAR, 7.3KV CAPACITOR CELL | 0.16 | 7.21 | 0.17154 |  |  |  | M5 | M6 | Ann-IT2
D | 33KV,7.2KVAR, Series Reactor. | 1.34 | 7.21 | 1.4366 |  |  |  | M5 | M6 | Ann-IT2
19 | 220KV, Capacitor Voltage Transformer. | 1.77 | 7 | 1.8939 |  |  |  | M5 | M6 | Ann-IT1
ii | 132KV, Capacitor Voltage Transformer. | 1.38 | 7 | 1.4766 |  |  |  | M5 | M6 | Ann-IT1
iii | 66KV, Capacitor Voltage Transformer. | 1.1 | 7 | 1.177 |  |  |  | M5 | M6 | Ann-IT1
19(A) | 125 KVA D G Set with AMF Panel | 9.91 | 10 | 10.901
20 | 1100 V Grade, HR-FRLS Copper Control Cables/LT Cables
1 | 1.1KV PVC, HR FRLS, Copper Control Cable (Un-screened)
| 2Cx2.5mm2 | 0.5 | -1.5 | 0.4925 |  |  |  | M15 | M16 | Cable1
| 4Cx2.5mm2 | 0.87 | -1.5 | 0.85695 |  |  |  | M15 | M16 | Cable1
| 7Cx2.5mm2 | 1.54 | -1.5 | 1.5169 |  |  |  | M15 | M16 | Cable1
| 10Cx2.5mm2 | 2.29 | -1.5 | 2.2557 |  |  |  | M15 | M16 | Cable1
| 12Cx2.5mm2 | 2.4 | -1.5 | 2.364 |  |  |  | M15 | M16 | Cable1
| 19Cx2.5mm2 | 3.93 | -1.5 | 3.8711 |  |  |  | M15 | M16 | Cable1
| 2Cx4mm2 | 0.79 | -1.5 | 0.77815 |  |  |  | M15 | M16 | Cable1
| 4Cx4mm2 | 1.33 | -1.5 | 1.3101
2 | 1.1KV PVC, HR FRLS, Copper Control Cable (Screened)
| 4Cx6mm2 | 2.2 | -1.5 | 2.167 |  |  |  | M15 | M16 | Cable1
| 7Cx4mm2 | 3.58 | -1.5 | 3.5263
3 | LT Cable, Copper Conductor (Armoured)
| 4Cx10mm2 | 2.64 | -1.5 | 2.6004 |  |  |  | M15 | M16 | Cable1
B | 33kV&11kV HT XLPE Cables and Termination kits | [8 empty] | Cable1
1 | 33kV,1Cx630 mm2,XLPE,Al Conductor With armoured | 9.42 | -1.5 | 9.2787 | [5 empty] | Cable1
2 | 11kV,1Cx1000 mm2,XLPE, Al Conductor with armoured | 11.17 | -1.5 | 11.0024 | [5 empty] | Cable1
3 | 11kV,3Cx185 mm2,XLPE, Al Cond. With armoured | 11.53 | -1.5 | 11.357 | [5 empty] | Cable1
4 | Termination Kits for 33kV,1Cx630 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.11 | 10 | 0.121
ii | Outdoor type | 0.13 | 10 | 0.143
5 | Termination Kits for 11kV,1Cx1000 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.09 | 10 | 0.099
ii | OutdoorType | 0.11 | 10 | 0.121
6 | Termination Kits for 11kV,3Cx185 mm2,XLPE,All. Cond with armoured
I | Indoor Type | 0.093 | 10 | 0.1023
II | OutdoorType | 0.103 | 10 | 0.1133
21 | BMK
1 | 132 KV BMK | 0.8 | 10 | 0.88
2 | 33 KV BMK | 0.78 | 10 | 0.858
22 | JUNCTION BOX
1 | CT JUNCTION BOX | 0.24 | 10 | 0.264
2 | PT JUNCTION BOX | 0.22 | 10 | 0.242
3 | CVT JUNCTON BOX | 0.24 | 10 | 0.264
23 | SURGE ARRESTOR with surge counter
A | PORCELAIN TYPE
a | 198 kV | 0.79 | -0.76 | 0.784 |  |  |  | M7 | M8 | LA
b | 120 kV | 0.55 | -0.76 | 0.5
c | 60 kV | 0.35 | -0.76 | 0.32
d | 30 kV | 0.094 | -0.76 | 0.06
B | POLYMER TYPE
a | 120 kV | _ | _ | 0.5 | 403 Addl. | 19.01.19 | 8278-8308
b | 60 kV | 0.24 | 0 | 0.32 | 403 Addl. | 19.01.19 | 8278-8308
c | 30 kV | 0.12 | 0 | 0.06 | 403 Addl. | 19.01.19 | 8278-8308
d | 18 kV | _ | _ | 0.04 | 403 Addl. | 19.01.19 | 8278-8308
e | 9 kV | 0.05 | 0 | 0.03 | 403 Addl. | 19.01.19 | 8278-8308
24 | CURRENT TRANSFORMER
220 kV, TRANSFORMER
a | 2000-1000/1-1-1-1-1A | 2.56 | 7 | 2.7392 |  |  |  | M5 | M6 | IT1
| 1500-750/1-1-1-1-1A | 2.49 | 7 | 2.6643 |  |  |  | M5 | M6 | IT1
| 800-400/1-1-1-1-1A | 2.32 | 7 | 2.4824 |  |  |  | M5 | M6 | IT1
| 600-300/1-1-1-1-1A | 2.54 | 7 | 2.7178 |  |  |  | M5 | M6 | IT1
| 300-150/0.577-1-1-1-1A | 2.11 | 7 | 2.2577 |  |  |  | M5 | M6 | IT1
b | 132 kV, TRANSFORMER
| 1600-800/1-1-1-1A | 1.24 | 7 | 1.3268 |  |  |  | M5 | M6 | IT1
| 1200-600/0.577-1-1-1-1A | 1.24 | 0 | 1.29 | 401 Addl. | 19.01.19 | 8331-46
| 800-400/1-1-1-1-1A | 1.19 | 0 | 1.23 | 401 Addl. | 19.01.19 | 8331-46
| 600-300/1-1-1-1-1A | 1.21 | 0 | 1.23 | 401 Addl. | 19.01.19 | 8331-46
| 500-250/0.577-1-1-1-1A | 1.08 | 7 | 1.1556 |  |  |  | M5 | M6 | IT1
| 500-250/1-1-1-1A | 1.08 | 7 | 1.1556 |  |  |  | M5 | M6 | IT1
| 400-200/1-1-1-1A | 1.12 | 7 | 1.1984 |  |  |  | M5 | M6 | IT1
| 300-150/1-1-1-1-1A | 1.08 | 0 | 1.17 | 401 Addl. | 19.01.19 | 8331-46
| 200-100/1-1-1-1-1A | 0.97 | 7 | 1.0379 |  |  |  | M5 | M6 | IT1
c | 66 kV, TRANSFORMER
| 2000-1000/1-1-1-1-1A | 0.58 | 7 | 0.6206 |  |  |  | M5 | M6 | IT1
| 1000-500/0.577-1-1-1-1A | 0.58 | 7 | 0.6206 |  |  |  | M5 | M6 | IT1
| 800-400/1-1-1-1-1A | 0.55 | 0 | 0.61 | 401 Addl. | 19.01.19 | 8331-46
| 600-300/1-1-1-1-1A | 0.54 | 7 | 0.5778 |  |  |  | M5 | M6 | IT1
| 600-300/1-1-1A | 0.52 | 7 | 0.5564 |  |  |  | M5 | M6 | IT1
| 500-250/1-1-1-1A | 0.54 | 7 | 0.5778 |  |  |  | M5 | M6 | IT1
| 400-200/0.577-1-1-1-1A | 0.61 | 2.83 | 0.62726 | 401 | 31.07.18 | 3359-78 | M5a | M6 | IT3
| 300-150/0.577-1-1-1-1A | 0.53 | 7 | 0.61 |  |  |  | M5 | M6 | IT1
| 200-100/0.577-1-1-1-1A | 0.53 | 0 | 0.61 | 401 Addl. | 19.01.19 | 8331-46
| 200-100/1-1-1-1-1A | 0.53 | 0 | 0.61 | 401 Addl. | 19.01.19 | 8331-46
| 150-75/1-1-1A | 0.52 | 7 | 0.5564 |  |  |  | M5 | M6 | IT1
| 75/1-1-1-1 A | 0.59 | 2.83 | 0.6067 | 401 | 31.07.18 | 3359-78 | M5a | M6 | IT3
| 50/1-1-1-1 A | 0.59 | 2.83 | 0.6067 | 401 | 31.07.18 | 3359-78 | M5a | M6 | IT3
d | 33 kV, TRANSFORMER
| 1200-600/0.577-1-1-1-1A | 0.43 | 0 | 0.6 | 401 Addl. | 21.01.19 | 8448-69
| 1000-600/0.577-1-1-1-1A | 0.43 | 7.21 | 0.461 |  |  |  | M5 | M6 | IT2
| 800-400/1-1-1-1-1A | 0.42 | 7.21 | 0.45028 |  |  |  | M5 | M6 | IT2
| 300-150/1-1-1-1A | 0.42 | 7.21 | 0.45028 |  |  |  | M5 | M6 | IT2
| 500-250/0.577-1-1-1-1A | 0.42 | 7.21 | 0.45028 |  |  |  | M5 | M6 | IT2
| 600-300/0.577-1-1-1-1A | 0.43 | 7.21 | 0.461 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1-1-1A | 0.37 | 7.21 | 0.44 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1-1A | 0.35 | 0 | 0.44 | 401 Addl. | 21.01.19 | 8448-69
| 300-150/1-1-1-1-1A | 0.34 | 7.21 | 0.36451 |  |  |  | M5 | M6 | IT2
| 300-150/1-1-1A | 0.31 | 7.21 | 0.33235 |  |  |  | M5 | M6 | IT2
| 200-100/1-1-1-1-1A | 0.31 | 3.26 | 0.32011 | 401 | 06.08.18 | 3438-81 | M5b | M6 | IT4
| 200-100/0.577-1-1-1-1A | 0.31 | 3.26 | 0.32011 | 401 | 06.08.18 | 3438-81 | M5b | M6 | IT4
| 200-100/1-1-1-1A | 0.31 | 7.21 | 0.33235 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1A | 0.34 | 0 | 0.41 | 401 Addl. | 21.01.19 | 8448-69
| 600-300/1-1-1-1A | 0.34 | 7.21 | 0.36451 |  |  |  | M5 | M6 | IT2
| 600-300/1-1-1A | _ | _ | 0.37 | 401 Addl. | 21.01.19 | 8448-69
| 200-100/1-1--1A | 0.35 | 3.26 | 0.36141 | 401 | 06.08.18 | 3438-81 | M5b | M6 | IT4
| 150-75/1-1-1A | 0.31 | 7.21 | 0.33235 |  |  |  | M5 | M6 | IT2
| 10-5/1-1-1A | 0.46 | 0 | 0.52 | 401 Addl. | 21.01.19 | 8448-69
| 15-7.5/1-1-1A | 0.46 | 7.21 | 0.49317 |  |  |  | M5 | M6 | IT2
25 | Fote & other accessary
i | SDH Equipment (STM-4 MADM upto 5MSP Protected Directions) complete in all respects. | 17.17 | 10 | 18.887 | 404 | 18.07.18 | 2968-78
ii | SDH Equipment (STM-4 MADM upto 3MSP Protected Directions) complete in all respects. | 13.39 | 10 | 14.729 | 404 | 18.07.18 | 2968-78
iii | Cabinet for SDH, PDH & Digital Protection Coupler including MCB, thimbles, cable clamps, Ferrules, optical fibre cable patch cords, E-1 cable etc. | 2.05 | 10 | 2.255 | 404 | 18.07.18 | 2968-78
iv | Digital Protecion Signalling Equipment | 3.43 | 10 | 3.773 | 404 | 18.07.18 | 2968-78
v | Fibre Distribution Panel (FODP) for termination of OFAC 48F capacity | 0.28 | 10 | 0.308 | 404 | 18.07.18 | 2968-78
vi | Optical Fibre Approach Cable of 24F capacity | 0.62 | 10 | 0.682 | 404 | 18.07.18 | 2968-78
vii | HDPE pipe 40mm dia | 0.77 | 10 | 0.847 | 404 | 18.07.18 | 2968-78
26 | CONTROL & RELAY PANELS
a | 220 kV, Transformer Panel(HV side) with BCU | 11.32 | 3.56 | 11.723 |  |  |  | M3 | M4 | SWITCHGEAR1
| Bus CouplerPanel with BCU | 5.94 | 3.56 | 6.1515 |  |  |  | M3 | M4
| Bus Bar Protection Panel without BCU | 16.64 | 3.56 | 17.2324 |  |  |  | M3 | M4
| Feeder Panel with BCU | 13.29 | 3.56 | 13.7631 |  |  |  | M3 | M4
b | 132 kV, Transformer Panel (LV side) without diffrential Relay | 7.79 | 3.56 | 8.0673 |  |  |  | M3 | M4
| Transformer Panel (HV side) with diffrential Relay | 10.19 | 3.56 | 10.5528 |  |  |  | M3 | M4
| Transformer Panel (HV side) without diffrential Relay | 7.69 | 3.56 | 7.9638 |  |  |  | M3 | M4
| Bus Bar Protection Panel without BCU | 16.04 | 3.56 | 16.611 |  |  |  | M3 | M4
| Bus Coupler Panel with BCU | 5.78 | 3.56 | 5.9858 |  |  |  | M3 | M4
| Feeder Panel without BCU | 9.61 | 3.56 | 9.9521 |  |  |  | M3 | M4
| Feeder Panel with BCU | 9.5 | 3.56 | 9.8382 |  |  |  | M3 | M4
c | 66 kV, Transformer Panel (LV) Side without diffrential Relay & with BCU | 7.46 | 3.56 | 7.7256 |  |  |  | M3 | M4
| Transformer Panel (HV) Side with diffrential Relay & without BCU | 7.37 | 3.56 | 7.6324 |  |  |  | M3 | M4
| Bus Coupler | 7.21 | 3.56 | 7.4667 | [5 empty] | SWITCHGEAR1
| Feeder Panel without BCU | 8.47 | 3.56 | 8.7715 |  |  |  | M3 | M4 | SWITCHGEAR1
d | 33 kV, Transformer Panel (LV side) without diffrential Relay with BCU | 6.27 | 3.53 | 6.4913 |  |  |  | M3 | M4 | SWITCHGEAR4
| Transformer Panel (LV side) without diffrential Relay & without BCU | 3.78 | 3.53 | 3.9134 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Coupler | 2.9 | 3.53 | 3.0024 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel without BCU | 2.67 | 3.53 | 2.7643 |  |  |  | M3 | M4 | SWITCHGEAR4
27 | Sub-Station Automation System & Bay Control Unit
i) | Sub-Staion Automation System (Typical for one sub-station)(SAS)220 KV Sub-Station | 40.51 | 3.56 | 41.9522 |  |  |  | M3 | M4 | SWITCHGEAR1
with PRP
ii) | Sub-Staion Automation System (Typical for one sub-station) | 16.76 | 3.56 | 17.3567 |  |  |  | M3 | M4 | SWITCHGEAR1
without PRP
iii) | Bay Control Unit-IEC 61850 Compliance (without PRP) | 3.15 | 3.56 | 3.2621 |  |  |  | M3 | M4 | SWITCHGEAR1
iv) | Bay Control Unit (with PRP) | 4.81 | 3.56 | 4.9812 |  |  |  | M3 | M4 | SWITCHGEAR1
Superintending Engineer (Design,) Electrical System, HPSEBL, Hamirpur (H.P.)