PROCEDURE FOR MAKING APPLICATION FOR GRANT OF CONNECTIVITY IN ELECTRICAL SYSTEM (EHV, HV, LV, DISTRIBUTION) OF DISTRIBUTION LICENSEE (FOR OPEN ACCESS CONSUMERS ONLY)

- Outline

  - This Procedure is in accordance with the various provisions of the “H.P.  Electricity Regulatory Commission (Grant of Connectivity, Long-term and Medium-term intra-State Open Access and Related Matters) Regulations, 2010 & H.P. Electricity Regulatory Commission (Grant of Connectivity, Long-term and Medium-term intra-State Open Access and Related Matters) (First Amendment) Regulations, 2012 ”, here in after referred to as “the Regulations”. All applicants shall abide by the provisions of these Regulations and amendments thereof.

  - This procedure shall be applicable prospectively w.e.f. 1st April, 2015.

  - This Procedure shall apply to the Applications made for Grant of Connectivity to the electrical system of Distribution Licensee or associated facilities of the Distribution Licensee for transmission and/or wheeling of electricity with or without interstate transmission system as received by Designated Office of the Distribution Licensee (HPSEBL) on or after 1st April, 2015.

  - Application for grant of connectivity to the electrical system of Distribution Licensee can be made by:-

    - A generating station, including a captive generating plant with exportable capacity.

    - A consumer who intends to avail supply for its own use with contract demand exceeding 1 MVA.

    - A consumer with contract demand of 1 MVA or less who require power for its use from the renewable energy generating sources located in Himachal Pradesh and has been permitted open access by HPERC.

  - The  applicant  (generator/consumer) already connected to  grid or state grid or for  which connectivity  is already  granted under  the present arrangement,  shall not be required to  apply  for  connectivity  for  the  same  capacity.  In  case of extension of   capacity   of   generator   or  consumer,   however,   it   shall   be required to  make   application  for  connectivity  as  per  the  provisions  of  these procedures.

  - The nodal agency for Grant of Connectivity, Long-term access and Medium-term open access to the electrical system of Distribution Licensee shall be Designated Office of Distribution Licensee.

  - The designated office of nodal agency (Distribution Licensee) for making application for grant of connectivity shall be “The Superintending Engineer (PH&T), O/o Chief Engineer (SO&P), HPSEBL, Shimla-04”.

The designated office of nodal agency (Distribution Licensee) for grant of Long-term access and Medium-term open access to the electrical system of Distribution Licensee shall be “The Chief Engineer (SO&P), HPSEBL, Shimla-04”.

  - Applicant granted “Connectivity” will be required to sign “Connection Agreement” with the designated office of the distribution licensee prior to the physical inter-connection. The connection agreement shall be signed by the Chief Engineer (SO&P), HPSEBL, Shimla-04 on behalf of Distribution Licensee. After signing of the Agreement, the designated office of the distribution licensee will provide a copy of the same to the SLDC.

In case the connectivity is granted to the electrical system of other Distribution Licensee or person authorised for laying distribution line by the competent authority, a tripartite agreement shall be signed between applicant, the distribution licensee and such other distribution licensee or person in line with the provisions of Central Electricity Authority  (Technical Standards for Connectivity to the Grid) Regulations, 2013  or  the  H.P. Electricity Distribution code 2009/ the Grid code, 2008 as applicable and amended from time to time. After signing of the Agreement, Nodal Agency will provide a copy of the same to SLDC.

  - The scheduling jurisdiction and procedure, metering, energy accounting and accounting of Unscheduled   Interchange  (UI)  charges  would  be  as  per  the  applicable  HPERC Regulations /State Grid  Code/Indian Electricity Grid Code, as amended from time to time.

  - The applicant shall have to comply with the provisions of the applicable Regulations, concerned with the   MTOA & LTOA framed by HPERC/CERC and amendments issued from time to time.

  - Joint Mode Evacuation: - The Application of IPP’s who construct their projects in the same zone can also apply for connectivity jointly. The IPP’s have to construct their own pooling station along with dedicated feeder up to the inter-connection points or up to the point allotted by the designated office of the distribution licensee as mutually agreed. The Connection Agreement will be signed with the distribution licensee by the nominated member/authorized person of such IPP’s. The other guide lines as per HPERC (Power Procurement from Renewable Sources and Co-generation by distribution Licensee Regulation), 2010/CERC Regulations issued from time to time shall be followed.

- Information   required   to   be   submitted   with   the   application   for connectivity by generating station.

  - In order to assess the preparedness of the applicant making application for connectivity to the electrical system of Distribution Licensee, an  applicant is required to submit along with the application, documents in support of having initiated specific actions for project preparatory activities in respect of matters mentioned in (i) to (vi) below:

- Site identification and land acquisition: The applicant shall intimate the information with regard to land required for the generation project, along with the extent to which the same has been acquired and taken possession of. The “Requirement” of land would be considered as indicated in the proposal filed with the competent authority for seeking environmental clearances. In case  of  land  to be acquired  under  the  Land Acquisition  Act  1894,  the applicant shall submit a copy  of the notification  issued for  such  land  under   Section - 4 of  the Land Acquisition  Act  1894.  In all other cases, the applicant shall furnish documentary evidence in the form of certificate by concerned and competent revenue / registration authority for the acquisition / ownership / vesting of the land.

- Environmental clearance for the power station: The applicant shall have to inform the status on submission of requisite proposal, for the environmental clearance, to the concerned administrative authority (first level submission).

- Forest Clearance (if applicable) of the land for the power station: The applicant shall have to inform the status on submission of requisite proposal, for the forest clearance, to the concerned administrative authority (first level submission).

- Fuel  Arrangements:  Details on  fuel arrangements shall  have  to  be  informed for  the quantity  of  fuel  required  to  generate  power  from  the  power  station  for  the  total installed capacity intended for connectivity.

- Water linkage: The applicant shall inform the status of approval from the concerned irrigation department or any other relevant authority for the quantity of water required for the power station. These evidences shall be supported by a sworn affidavit by the generation project developer as per the format given at “FORMAT-CONNECTIVITY-1”.

- Other Statutory clearance: The Applicant shall also provide the necessary approvals from the concerned  Departments/local authorities as applicable:

- Forest clearance form Forest Department

- TEC clearances from Energy Directorate

- CEA clearance

- NOC from local authorities /Panchayat/IPH/B&R Deptt.

- Govt. Clearance for muck disposal

- Wild life clearances

- Aviation clearance

- Others, if any as applicable or as decided by the Distribution Licensee

Note:- The grant of connectivity will not be withheld for want of fulfilment of such requirements as it is the duty of generator to get all such clearances before commissioning his plant.

- Submission of Application

  - The application for Grant of Connectivity to electrical system of Distribution Licensee should be submitted in a sealed envelope   with   “Application   for   Grant   of   Connectivity”   clearly   marked   on   the envelope. The application shall be addressed to the designated office as under:

The Superintending Engineer (PH&T),

O/o Chief Engineer (SP),

HPSEBL, Vidyut Bhawan,

Shimla-171004

Distt.-Shimla (H.P.)

Fax No. 0177-2657901

  - The   application   for   Grant   of   Connectivity   to electrical system of Distribution Licensee  shall   be   made   as   per   the application   format  prescribed for  connectivity and   shall contain   details  such as, geographical location  of  the  generation  project, unit-wise commissioning schedule, etc. [FORMAT- CONNECTIVITY -2]. An  application  for  Grant   of   Connectivity   shall  be  accompanied  by  a  non- refundable application  fee  to be paid at the rates notified by HPERC at the time of submission of application by the applicant, in  favour  of    H. P. State Electricity Board Ltd. The presently applicable rates are as under:

| Sr. No. | Quantum of Power to be injected/off taken into/from the electrical system of State Distribution Licensee | Application Fees (Rs. Lakhs) Non-refundable |
| --- | --- | --- |
| 1. | Upto 5 MW | 2.00 |
| 2. | More than 5MW and up to 10 MW | 4.00 |
| 3. | More than 10 MW | 6.00 |

The existing consumers, who are getting supply of electricity for their own use from the distribution licensee under the standard supply agreements and are eligible for open access to the electrical system of Distribution Licensee, shall be provided connectivity and open access to the electrical system of Distribution Licensee to the extent of their sanctioned contract demand. Such existing consumers shall not be required to pay any application fee for connectivity.

Further, in case of prospective consumers seeking connectivity and long/medium term open access from the distribution licensee for receiving electricity for their own use or the existing consumers seeking increase in the existing sanctioned contract demand, the terms and conditions as applicable to the prospective consumers or the existing consumers, as the case may be, under the Supply Code, the Himachal Pradesh Electricity Regulatory Commission (Recovery of Expenditure of Supply of Electricity) Regulations, 2012 and the Himachal Pradesh Electricity Regulatory Commission (Licensee’s Duty for Supply of Electricity on Request) Regulations, 2004 shall be applicable.

  - Application  fees  are  to  be  paid  through  Demand Draft  or   directly  credited  to  “H. P. State Electricity Board Ltd.”  account electronically through  RTGS (Real-Time Gross  Settlement) as per details given below:

a) Payee:		Chief Accounts Officer, HPSEBL, Shimla-04

b) Name of Bank:	State Bank of India

c) Branch:		SBI, Main Branch, Shimla

d) Branch Code:	0718

e)  IFSC:		SBIN0000718

f) A/c No:		10835924644

Provided that	the proof of payment directly	credited to the above account of  H. P. State Electricity Board Ltd. must be attached with the application.

  - All  applications  received  during  the  month  shall  be  treated  to  have  been    made concurrently.

  - An incomplete Application, and/or an Application not found to be in conformity with these Procedures and the Regulations, shall be rejected.

- Changes to the Application already made:

  - Any material change in the location of the generation project/drawl point or change (by more than 1  MW) in the quantum of power to be interchanged with the electrical system of Distribution Licensee shall  require filing of fresh application along with applicable fees and  the already filed application shall be considered disposed and application fee shall be forfeited.

  - If any applicant has already been granted connectivity but the process of construction by the  distribution licensee has not yet started  and  the applicant subsequently applies afresh with material changes or change by more than 1 MW  in the quantum  of power  to be interchanged as  provided  above  in para 4.1, then the already granted connectivity shall stand cancelled and application fee already deposited shall be forfeited .

  - Application for any minor changes, i.e. material change in location or change in installed capacity of 1 MW or less shall have to be submitted in the same application format [FORMAT-CONNECTIVITY -2:  “Application for Grant of Connectivity”].

- Grant Of Connectivity

  - On receipt of the application, the designated Office of Distribution Licensee shall, in consultation & through coordination with other  concerned office of the Distribution Licensee, process the application and carry out, as the case may be the necessary inter-connection  study  as specified  in  the  Central   Electricity Authority  (Technical Standards for Connectivity to the Grid) Regulations, 2013  or  the  H.P. Electricity Distribution code 2009/ the Grid code, 2008 as applicable and amended from time to time.

The designated office of Distribution Licensee within 10 days of receipt of application shall forward the application for seeking comments/NOC from the following offices of Distribution Licensee:

5.1.1 	Where interconnection/injection/drawl is at 66 kV & above Voltage level:

The Chief Engineer (ES)/ The Chief Engineer (Generation) owning the sub-station / point of interconnection / injection /drawl

5.1.2	Where interconnection/injection/drawl is at voltage below 66 kV:

The concerned Chief Engineer (Operation) owning the sub-station/point of interconnection/injection/drawl

The above offices of Distribution Licensee shall submit their comments/NOC to the designated office of Distribution Licensee within 30 days after the receipt of application from the office of designated office. These offices shall clearly specify the name of the sub-station or pooling station or switchyard where connectivity is to be granted. In case connectivity is to be granted by looping-in and looping-out of an existing or proposed line, the aforesaid offices shall specify the point of connection and name of the line at which connectivity is to be granted. They will further indicate the broad design features of dedicated transmission/distribution line required to be constructed by the applicant at its cost to the point of connection with the electrical system of Distribution Licensee or associated facilities of the Distribution Licensee.

  - The designated office of the nodal agency within 60 days from the date of receipt of application complete in all respect and after considering all suggestions and comments received from  the other offices of Distribution Licensee involved in the intra-State electrical system of Distribution Licensee, shall:

    - Either make formal “Connectivity offer to the applicant with a copy to all the concerned offices of Distribution Licensee after considering all suggestions and comments received involving intra-State electrical system of Distribution Licensee.

    - Reject the application, if technically not feasible. However, before rejecting an application, opportunity of hearing shall be given to the applicant and minutes of the hearing may be recorded in writing.

  - The intimation for grant of connectivity shall be communicated to the applicant within 60 days  from  last  day  of  the  month  in  which  the  application  has  been  received as  per FORMAT-CONNECTIVITY-3.

  - Applicant   given   intimation   for   Connectivity   to   the   grid   shall   have   to   furnish additional details to the Distribution Licensee for signing of “Connection Agreement” as per format given at FORMAT-CONNECTIVITY-4.These  details are to be furnished to Distribution Licensee at least 2 (two) years  prior  to  physical  interconnection,  unless   otherwise  indicated  by  Distribution Licensee.  The Applicants are, however advised to furnish such details as early as possible for enabling them have lead time for any type of access.

  - The designated office of Distribution Licensee will process the above information and will intimate the applicant, the connection details as per format given at FORMAT-CONNECTIVITY-5. Pursuant to such Connection details, the applicant shall have to sign “Connection Agreement” with the distribution licensee prior to the physical inter-connection as per format given at “FORMAT-CONNECTIVITY -6”. After signing of the Connection Agreement, the distribution licensee will provide a copy of the same to the SLDC within a week time. Non-signing of connection agreement within stipulated period without seeking extension, the connectivity offer shall stand lapsed and after expiry, the request shall be treated as fresh application and shall be processed accordingly.

  - In case the connectivity is granted to the electrical system of other Distribution Licensee or person authorised for laying distribution line by the competent authority a tripartite agreement shall be signed between applicant, the distribution licensee and such other distribution licensee or person in line with the provisions of Central Electricity Authority  (Technical Standards for Connectivity to the Grid) Regulations, 2013  or  the  H.P. Electricity Distribution code 2009/ the Grid code, 2008 as applicable and amended from time to time. After signing of the Agreement, Nodal Agency will provide a copy of the same to SLDC.

  - The applicant shall be eligible to be connected to the electrical system of Distribution Licensee (HPSEBL) from the date mentioned in the connection agreement.

- Interchange of Power with the Electrical System of Distribution Licensee:

  - The grant of connectivity shall not entitle an applicant to interchange any power with the electrical system of Distribution Licensee unless it obtains long-term access, medium-term open access or short-term open access from the concerned nodal agency(ies).

  - However, with the consent of SLDC/Distribution Licensee, the generating  station  including  captive  generating  plant,  which  has been granted   connectivity to the electrical system of distribution licensee   shall   be   allowed to  undertake interchange  of  power  for commissioning activities and injection of infirm power into the grid during testing including full load testing before being put into commercial operation for a period not exceeding three months, even before availing any type of open access, after obtaining permission of the concerned State Load Dispatch Centre/Distribution Licensee, which shall keep grid security in view  while  granting such permission and after ensuring that injection of such power is only for the purpose of testing prior to commencing of Commercial Operation of the Generating Station or a unit thereof. The generating company shall pay the wheeling charges for such infirm power at the normal rates as decided by HPERC from time to time. This infirm power from a generating station or a unit thereof, other than  those  based  on non-conventional  energy  sources,  the  tariff  of  which  is determined  by  the  State Electricity Regulatory   Commission,   will   be   governed   by   the H.P. State   Electricity Regulatory Commission (Terms and Conditions for determination of Transmission Tariff) Regulations, 2007 as amended from time to time. The power injected into the electrical system of Distribution Licensee from such generating stations during testing shall also be charged at UI rates. The Distribution Licensee may also purchase this power from the generating company at mutually agreed rates which shall not be more than the applicable UI rates.

  - The Generating Station including Captive Generating Station shall submit likely date of synchronization, likely quantum and period of injection of infirm power before being put into commercial operation to the concerned SLDC and the Chief Engineer (SO), HPSEBL at least one month in advance.

- Construction Of Dedicated System

  - An applicant may be required by the distribution licensee to construct a dedicated system to the point of Inter-connection to enable connectivity to the electrical system of Distribution Licensee which shall be owned, operated and maintained by the applicant.

  - The applicant shall pay the cost towards modification/alterations to the infrastructure of Distribution Licensee or Intra-State Distribution Licensee for accommodating the proposed connection as specified in the letter of Distribution Licensee furnishing connection details.

  - Provided further that if the dedicated system is also used by any other user(s) at a   later date, then the cost of assets of dedicated system shall be shared/settled mutually by the owner of the dedicated line with the users.

- General

  - The applicant shall keep the STU/Distribution Licensee and HPSLDC (HP Load Despatch Society) indemnified at all times and shall undertake to indemnify, defend and keep the Distribution Licensee harmless from any and all damages, losses, claims and actions including those relating to injury to or death of any person or damage to property, demands, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from such grant of connectivity.

  - All costs/expenses/charges associated with the application, including bank draft, bank charges etc. shall be borne by the applicant.

  - The applicant shall abide by the provisions of the Electricity Act, 2003, the HPERC Regulations/Central Electricity Authority Technical standards for connectivity to grid regulation, 2013	or   H.P. Electricity Distribution Code, 2009 and Grid Code, 2008/Indian Electricity Grid Code, as applicable and amended from time to time.

  - This  procedure  aims  at  easy  and  pragmatic  disposal  of  applications  made  for Connectivity to the electrical system of Distribution Licensee. However, some teething problems may still be experienced. The various implications would be known only after practical experience is gained by way of implementing these procedures. In order to resolve the same, this procedure shall be reviewed or revised by the Distribution Licensee with prior approval of HPERC.

  - All complaints regarding unfair practices, delays, discrimination, lack of information, supply of wrong information or any other matter related to grant of connectivity to the electrical system of Distribution Licensee shall be directed to HPERC for redressal.

FORMAT-CONNECTIVITY -1

On Non Judicial Stamp paper of Rs. 100

AFFIDAVIT

In the matter of filing application to Distribution Licensee for Grant of Connectivity to the Electrical System of Distribution Licensee under HPERC Regulations, 2010 as amended from time to time.

I…………….(Name)……………S/o Sh. ……………….  (Father’s name)……………. Working as…………….(Post)…………… in……………. (Name of the Company/Firm/Association of persons/Individual)…............. having its registered office at……………..(Address of the Company/ Firm/Association of persons/Individual)……………... do solemnly affirm and say as follows:

- That	I am the …………….. (Post)…………….of………….. (Name of the Company/Firm/Association of persons/Individual) ……………., the representative in the above 	matter and am duly authorized to file the above application and to make this affidavit.

- That I  submit  that  M/s……………….(Name  of  the  Company/ Firm/Association of persons/Individual)……………. is  a  registered Company/Firm/Association of persons/Individual………………(Public Ltd/Pvt. Ltd.)………………….. registered under Companies Act.  Under the Article of Association of the Company and in accordance with the provisions of Electricity Act, 2003/relevant Regulation(s) of HPERC as amended from time to time, the Company/Firm/Association of persons/Individual can file the enclosed application.

3.   That I submit that all the details given in the enclosed application for grant  of Connectivity along with necessary documents are true and correct and nothing material has been concealed thereof.

4.   Further verify that contents of para 1 to 3 of my above affidavit are true and correct to the best of my knowledge and belief.  No part and nothing material has been concealed therein.

Verified at Shimla   ………………..day of …………………. 20

DEPONENT

(To be duly attested by Notary)

FORMAT-CONNECTIVITY-2

Application for grant of Connectivity

| Sr. No. | Description | Information to be furnished by the applicant |
| --- | --- | --- |
| 1. | Name of the Applicant |  |
| 2. | Addresses for Correspondence |  |
| 3. | Contact Details |  |
|  | Prime Contact Person |  |
|  | Designation |  |
|  | Phone No. (Landline) |  |
|  | Phone No. (Mobile) |  |
|  | Fax: E-Mail |  |
|  | Alternate Contact Person |  |
|  | Designation |  |
|  | Phone No. (Landline) |  |
|  | Phone No. (Mobile) |  |
|  | Fax: E-Mail |  |
| 4. | Category |  |
|  | Generator (other than captive) |  |
|  | Captive Generator |  |
|  | Consumer |  |
| 5. | Details for Connectivity |  |
| 5a. | Capacity (MW) for which connectivity is required |  |
| 5b. | Date from which connectivity is required |  |
| 6. | Location of the Generating Station /Consumer (In case of Hydro–Generating Station Separate detail of Basin/Tributary be given) |  |
|  | Nearest Village / Town |  |
|  | District |  |
|  | State |  |
|  | Latitude |  |
|  | Longitude |  |
|  | Note:-In case of Joint Mode of Evacuation separate detail be given |  |

| 7. | Installed Capacity of the Generating Station |  |
| --- | --- | --- |
|  | Unit-1 |  |
|  | Unit-2 |  |
|  | Unit-3 |  |
|  | Unit-4 |  |
|  | Unit-5 |  |
|  | Unit-6 |  |
|  | Note:-In case of Joint Mode of Evacuation separate detail be given |  |
| 8. | Commissioning Schedule of the Generating Station (new) |  |
|  | Unit-1 |  |
|  | Unit-2 |  |
|  | Unit-3 |  |
|  | Unit-4 |  |
|  | Unit-5 |  |
|  | Unit-6 |  |
| 9. | Details of the Generating Station |  |
|  | Name of the Power Plant Promoter |  |
|  | Fuel |  |
|  | Source of Fuel |  |
|  | Generation Voltage |  |
|  | Step-up Voltage |  |
|  | Is it an identified project of CEA |  |
|  | Base Load / Peaking |  |
| 10. | Details of Nearest 11/22/33/66/132/220 kV Sub- Stations |  |
|  | Sub-Station-1 Voltage levels available Owner Distance (Km) |  |
|  | Sub-Station-2 Voltage levels available Owner Distance (Km) |  |
|  | Sub-Station-3 Voltage levels available Owner Distance (Km) |  |
| 11. | Details of DD/E-transaction |  |
|  | Application Fee) Amount (in Rs.) DD/Transaction No. Date Bank Name Branch Name |  |

Note: In case of Hydro Generating Station the following details be also furnished:

  - Type of Turbine

  - Governing equipment

  - Main-inlet Valve (MIV)

  - Generator

  - Exciting System

  - Step up Transformer

  - Switchgear System

  - XLPE Cables

  - Shunt Capacitor

  - Auxiliary Supply

  - Tributary/Basin rivers

  - Any, other information desired by the Distribution Licensee.

Note:  In case of Joint Mode Evacuation the following details be also furnished:

- Capacity of each Power House

- Load flow studies & Fault studies of each P/House

- Voltage at which Joint evacuation

- Inter-connection point

- PPA of each IPPs

- Agreement of Sharing of Wheeling charges up interconnection point

- Authority to sign the Contract Agreement with the Distribution Licensee

- Equipment detail of each IPP

- Any, other information desired by the Distribution Licensee.

FORMAT-CONNECTIVITY -3

Intimation for grant of Connectivity

| Sr. No. | Description | Information to be furnished by the Distribution Licensee |
| --- | --- | --- |
| 1. | Intimation No. & Date |  |
| 2. | Ref. Application No. & Date |  |
| 3. | Name of the Applicant |  |
| 4. | Address for Correspondence |  |
| 5. | Nature of the Applicant |  |
|  | Generator (other than captive) |  |
|  | Captive Generator |  |
|  | Consumer |  |
| 6. | Details for Connectivity |  |
| 6a. | Capacity (MW) for which connectivity is granted |  |
| 6b. | Point at which Connectivity is granted |  |
| 6c. | Date from which connectivity is granted |  |
| 6d. | Electrical system of Distribution Licensee Required for Connectivity |  |
| 6e. | Implementing Agency for connectivity to the electrical system of Distribution Licensee |  |
| 6f. | Agencies between whom agreement is to be signed for implementation connectivity to the electrical system of Distribution Licensee |  |
| 7. | Wheeling Charges Applicable for the dedicated line |  |
| 8. | Location of the Generating Station / Consumer |  |
|  | Nearest Village / Town |  |
|  | District |  |
|  | State |  |
|  | Latitude |  |
|  | Longitude |  |
| 9. | Installed Capacity of the Generating Station |  |
|  | Unit-1 |  |
|  | Unit-2 |  |
|  | Unit-3 |  |
|  | Unit-4 |  |
|  | Unit-5 |  |

| 10. | Commissioning Schedule of the Generating Station (new) |  |
| --- | --- | --- |
|  | Unit-1 |  |
|  | Unit-2 |  |
|  | Unit-3 |  |
|  | Unit-4 |  |
|  | Unit-5 |  |
|  | Unit-6 |  |

FORMAT-CONNECTIVITY -4

Additional information to be furnished to distribution licensee for signing of “Connection Agreement” for Connection to the Electrical System of Distribution Licensee

    - Details of Applicant

| Sr. No. | Description | Information to be furnished by the applicant |
| --- | --- | --- |
| 1. | Name of the Applicant Company/ Firm/ Association of persons/Individual: |  |
| 2. | Details of Grant of Connectivity |  |
|  | (a) Connectivity Intimation No. |  |
|  | (b) Date |  |
| 3. | Address for Correspondence: |  |
| 4. | Contact Person: |  |
| 4.1 | Prime Contact Person |  |
|  | (a) Name |  |
|  | (b) Designation |  |
|  | (c) Phone No. |  |
|  | (d) FAX |  |
|  | (e) E-mail |  |
| 4.2 | Alternate Contact Person |  |
|  | (a) Name |  |
|  | (b) Designation |  |
|  | (c) Phone No. |  |
|  | (d) FAX |  |
|  | (e) E-mail |  |
| 5. | Status of Applicant Company/Firm/Association of persons/Individual (Please tick the appropriate box): | □ Generating station including captive Generating plant □ Consumer |
| 6. | Estimated time for completion of project (Please enclose PERT chart) |  |

B.	 Maps and Diagrams

1. 	Provide necessary survey of India topo sheet clearly marking the location of the proposed site. Schedule – I.

2. 	Provide  site  plan  (both  hard  and  soft  copy  in  AutoCAD  2000  &  above  version)  in appropriate scale. Schedule–II. The site plan should indicate following details

  - The proposed location of the Inter- connection point

  - Generators

  - Transformer

  - Site building

3.		Provide  an  electrical  Single  Line  Diagram  (SLD)  of  the  proposed  facility  detailing  all significant items of plant. The plan is to be submitted in both hard copy and soft copy in AutoCAD 2000 & above version. Schedule – III.

C.  Details of Connection – Generation Plant

| 1. | Type of Generation Plant (Hydro, Thermal, Gas, etc.) |  |
| --- | --- | --- |
| 2. | Rating of Generator Units | Schedule – IV |
| 3. | Maximum Export Capacity Required |  |
| 4. | Maximum Import Capacity required. This is the amount of import capacity that the site will require during startup (MVA) |  |
| 5. | Station house load during normal operating conditions (MW/MVAR) |  |
| 6. | Expected running regime e.g. base load, Peaking, etc. |  |
| 7. | Generator Data for Fault (Short Circuit Studies) | Schedule – V |
| 8. | Dynamic Simulation Data Generator Excitation Power System Stabilizer | Schedule – VI Schedule – VII Schedule – VIII |

D. Details of Connection – Consumer

| 1. | Type of Load (Industrial/Commercial) including type of industry, i.e. electric furnace, rolling mills, manufacturing, assembly line, etc. |  |
| --- | --- | --- |
| 2. | Peak requirement of load in MVA, MW, and MVAR |  |
| 3. | Peak import required in MVA, MW and MVAR |  |
| 4. | Month-wise Peak import required in MVA, MW and MVAR |  |
| 5. | Month-wise Energy requirement in MUs. |  |
| 6. | Data for Fault (Short Circuit Studies) | Single phase and three phase Fault level |

E.  Details of Connection – Data and Voice Communication

| 1. | Type Data Gateway (Remote Terminal Unit/Substation Automation System Gateway) | (Whether RTU/ Substation Automation System Gateway; and Number of data ports) |
| --- | --- | --- |
| 2. | Data Communication connectivity Standard followed (As per interface requirement and other guidelines made available by the respective SLDC/ Distribution Licensee). | (Type of Communication Protocol, i.e. 101(serial port) or 104 (Ethernet), etc.) |
| 3. | Write here the communication media, interface and capacity being targeted for connection for Data and voice Communication (compatible with the existing system) | (Communication media: For example: fiber optics, PLCC, etc. Interface : Example RS 232C, G.703) or as per mutual agreement Capacity : 1200 baud, 64 Kbps, 9.6 Kbps, etc as per mutual agreement) |

This  is  to  certify  that  the  above data submitted  with  the application is pertaining  to the connection   sought   for  the electrical system of Distribution Licensee.  Further, any additional data sought for processing the application shall be furnished.

Authorized Signatory of Applicant

Name 		:

Designation 	:

Seal 		:

Place 		:

Date 		:

Schedule–I: 	Survey of India topo sheet clearly marking the location of the proposed      site

Schedule–II:	 Site plan in appropriate scale.

Schedule–III:	Electrical Single Line Diagram (SLD) of the proposed facility detailing all significant items of plant.

Schedule – IV   : Rating of Generating Units

(Add additional sheets if number of units are more)

|  |  | Unit -1 | Unit- 2 | Unit -3 |
| --- | --- | --- | --- | --- |
|  | Unit Rating (MVA) |  |  |  |
|  | Normal Max. Continuous Generation Capacity at Normal operating temperature (MW) |  |  |  |
|  | Normal Max. Continuous Export Capacity at Normal operating temperature (MW) |  |  |  |
|  | Maximum(Peaking) generating Capacity at min ambient air temperature (MW) |  |  |  |
|  | Maximum (Peaking) Export Capacity at min ambient air temperature (MW) |  |  |  |
|  | Minimum Continuous Generating Capacity (MW) |  |  |  |
|  | Minimum Export Generating Capacity (MW) |  |  |  |
|  | Normal Maximum Lagging MVAR at rated MW output |  |  |  |
|  | Normal Maximum leading MVAR at rated MW output |  |  |  |

Please attach a capability Curve:

Drawing   No.  of the   Capability Diagram attachment

Schedule – V: Generator Data for Fault (Short Circuit Studies)

All data to be provided on pu machine MVA base

| 1. | Direct Axis Transient Reactance (Unsaturated) | Xd |  |
| --- | --- | --- | --- |
| 2. | Sub-transient Reactance (Unsaturated) | Xd” |  |
| 3. | Synchronous Reactance | Xs |  |
| 4. | Zero Phase Sequence Reactance | Xo |  |
| 4. | Negative Phase Sequence Reactance | X2 |  |

Schedule – VI: Dynamic Simulation Data

Generator Data

All data to be provided on pu machine MVA base

| 1. | Direct Axis Positive Phase Sequence Xd Synchronous Reactance |  |  |
| --- | --- | --- | --- |
| 2. | Quadrature Axis Positive Phase Sequence Synchronous Xq Reactance |  |  |
| 3. | Direct Axis Transient Reactance (unsaturated) Xd |  |  |
| 4. | Quadrature Axis Transient Reactance (unsaturated) Xq |  |  |
| 5. | Sub-Transient Reactance (unsaturated) Xd |  |  |
| 5. | Armature Leakage Reactance Xl |  |  |
| 6. | Direct Axis Transient open circuit Time Constant (Secs) Tdo |  |  |
| 7. | Direct Axis Sub transient open circuit Time Constant (Secs) Tdo |  |  |
| 8. | Quadrature Axis Transient open circuit Time Constant (Secs) Tqo |  |  |
| 9. | Quadrature Axis Sub transient open circuit Tqo Time Constant (Secs) |  |  |
| 10. | Inertia of complete turbo generator (MWs/MVA) H |  |  |
| 11. | Please provide open circuit magnetization curve enter drawing number here or mention “assume” |  |  |
|  | if this not available then Distribution Licensee shall assume magnetic saturation characteristics as per the Annexure-a |  |  |

Excitation Data

Please  submit  Laplace  domain  control  block  diagram  that  represents  the  generator excitation system    in   accordance   with   the   IEEE   standard   excitation   model   or   as otherwise  agreed  with SLDC/ Distribution Licensee. This control block diagram should completely specify all the time constants and gains to fully explain the transfer function from the compensator or generator terminal voltage and field current to generator   voltage.  A list of acceptable IEEE standard excitation model available with PSS/E simulation package used by SLDC is shown in Annexure-B.

Please fill/tick the appropriate box below:

Please assume model

OR

If  the  excitation  data  is  not  available  at  this  stage  then  SLDC/ Distribution Licensee shall assume exciter model given at Annexure-C which represents a typical excitation model.

Assume the model given at Annexure-C as our model.

Schedule – VII:  Two Winding Transformer Data

| 1. | Transformer positive sequence resistance (R1%) |  |
| --- | --- | --- |
| 2. | Transformer positive sequence reactance (X1%) |  |
| 3. | Transformer zero sequence resistance (R0%) |  |
| 4. | Transformer zero sequence reactance (X0%) |  |
| 5. | Transformer Vector group |  |
| 5. | Nature of Tap Changer (on load/off load) |  |
| 6. | Number of steps and step size |  |

Schedule – VIII:  Three Winding Transformer Data

| 1. | Transformer Vector group |  |
| --- | --- | --- |
| 2. | Positive sequence resistance (R1HL1%) between HV/LV1 |  |
| 3. | Positive sequence reactance (X1HL1%) between HV/LV1 |  |
| 4. | zero sequence resistance (R0HL1%) between HV/LV1 |  |
| 5. | zero sequence reactance (X0HL1%) between HV/LV1 |  |
| 6. | Positive sequence resistance (R1HL2%) between HV/LV2 |  |
| 7. | Positive sequence reactance (X1HL2%) between HV/LV2 |  |
| 8. | Transformer zero sequence resistance (R0HL2%) between HV/LV2 |  |
| 9. | zero sequence reactance (X0HL2%) between HV/LV2 |  |
| 10. | Positive sequence resistance (R1L1L2%) between LV1/LV2 |  |
| 11. | Positive sequence reactance (X1L1L2%) between LV1/LV2 |  |
| 12. | Zero sequence resistance (R0L1L2%) between LV1/LV2 |  |
| 13. | Zero sequence reactance (X0L1L2%) between LV1/LV2 |  |
| 14. | Positive sequence resistance (R1HL1//L2%) between HV/(LV1+LV2) |  |
| 15. | Positive sequence reactance (X1HL1//L2%) between HV/(LV1+LV2) |  |
| 16. | Zero sequence resistance (R0HL1//L2%) between HV/(LV1+LV2) |  |
| 17. | Zero sequence reactance (X0HL1//L2%) between HV/(LV1+LV2) |  |

Annexure-a (above diagram)

Open Circuit Magnetic Curve

Magnetic saturation data to be assumed

S (1.0) =

S (1.2) =

Annexure–B

Acceptable IEEE standard excitation model available with PSS/E simulation package used by SLDC

| Excitation System Models |  |
| --- | --- |
| ESAC1A | 1992 IEEE type AC1A excitation system model |
| ESAC2A | 1992 IEEE type AC2A excitation system model |
| ESAC3A | 1992 IEEE type AC3A excitation system model |
| ESAC4A | 1992 IEEE type AC4A excitation system model |
| ESAC5A | 1992 IEEE type AC5A excitation system model |
| ESAC6A | 1992 IEEE type AC6A excitation system model |
| ESAC8B | Basler DECS model |
| ESDC1A | 1992 IEEE type DC1A excitation system model |
| ESDC2A | 1992 IEEE type DC2A excitation system model |
| ESST1A | 1992 IEEE type ST1A excitation system model |
| ESST2A | 1992 IEEE type ST2A excitation system model |
| ESST3A | 1992 IEEE type ST3A excitation system model |
| EXAC1 | 1981 IEEE type AC1 excitation system model |
| EXAC1A | Modified type AC1 excitation system model |
| EXAC2 | 1981 IEEE type AC2 excitation system model |
| EXAC3 | 1981 IEEE type AC3 excitation system model |
| EXAC4 | 1981 IEEE type AC4 excitation system model |
| EXBAS | Basler static voltage regulator feeding dc or ac rotating exciter model |
| EXDC2 | 1981 IEEE type DC2 excitation system model |
| EXELI | Static PI transformer fed excitation system model |
| EXPIC1 | Proportional/integral excitation system model |
| EXST1 | 1981 IEEE type ST1 excitation system model |
| EXST2 | 1981 IEEE type ST2 excitation system model |
| EXST2A | Modified 1981 IEEE type ST2 excitation system model |
| EXST3 | 1981 IEEE type ST3 excitation system model |
| IEEET1 | 1968 IEEE type 1 excitation system model |
| IEEET2 | 1968 IEEE type 2 excitation system model |
| IEEET3 | 1968 IEEE type 3 excitation system model |
| IEEET4 | 1968 IEEE type 4 excitation system model |
| IEEET5 | Modified 1968 IEEE type 4 excitation system model |
| IEEEX1 | 1979 IEEE type 1 excitation system model and 1981 IEEE type DC1 model |
| IEEEX2 | 1979 IEEE type 2 excitation system model |
| IEEEX3 | 1979 IEEE type 3 excitation system model |
| IEEEX4 | 1979 IEEE type 4 excitation system, 1981 IEEE type DC3 and 1992 IEEE type DC3A models |
| IEET1A | Modified 1968 IEEE type 1 excitation system model |
| IEET1B | Modified 1968 IEEE type 1 excitation system model |
| IEET5A | Modified 1968 IEEE type 4 excitation system model |
| IEEX2A | 1979 IEEE type 2A excitation system model |
| SCRX | Bus or solid fed SCR bridge excitation system model |
| SEXS | Simplified excitation system model |

Annexure-C (above model)

SEXS Simplified Excitation System Model

FORMAT-CONNECTIVITY-5

Draft Letter furnishing Connection Details for Connection to the Electrical System of Distribution Licensee by Designated Offices of Distribution Licensee

[Name]

[Address of the party]

Subject: Connection Details for connection to the Electrical System of Distribution   Licensee.

Dear Sir,

This is with reference to your application No.  _________ dated ____________ seeking connectivity to the Electrical System of Distribution Licensee. We have examined your proposal and you are here by permitted connectivity to the grid as per the details given below:

| 1. | Name of the Link (sub-station/line) at which connectivity is granted |  |
| --- | --- | --- |
| 2. | Voltage level | 11/22/33/ 66/132/220 kV |
| 3. | Type of Link |  |
| 4. | Reactive compensation to be provided | [Specify rating of Line Reactor/ Bus Reactor /Series compensation if any] |
| 5. | Maximum Import Capacity through the Link |  |
| 6. | Maximum Export Capacity through the Link |  |
| 7. | Expected date of commercial operation |  |
| 8. | Bay allocated in the switchyard of connectivity. | Bay No [Refer enclosed single line diagram at Annexure-I] |
| 9. | Equipment to be provided by applicant in the allocated bay meeting the requirement of Central Electricity Authority (Technical Standards for Connectivity to the Grid) Regulations, 2013 as amended from time to time which shall be compatible with the equipment installed at other end. | [refer Annexure-II] |
| 10. | Protection Equipment to be provided by Applicant shall be meeting the requirements of Central Electricity Authority (Technical Standards for Connectivity to the Grid) Regulations, 2013 as amended from time to time and shall be compatible & matching with the equipment installed at other end. | [refer Annexure-II] |
| 11. | System recording & SCADA Equipment shall be meeting the technical standards as per Central Electricity Authority (Technical Standards for Connectivity to the Grid) Regulations, 2013 as amended from time to time and shall be compatible to facilitate exchange of data with the existing System installed in the electrical system of Distribution Licensee. | [refer Annexure-III] |

| 12. | Details of the modification/alteration to existing facilities for accommodating proposed connection and its estimated cost to be borne by the applicant. | [refer Annexure-IV] |
| --- | --- | --- |
| 13. | Name of communication link for data and voice communication | From (name of switch yard/ Sub-station) to (name of switch yard/ Sub- station) |
| 14. | Communication equipment details upto SLDC Data Collection Point | [refer Annexure-V] |
| 15. | Site responsibility schedule | (as marked in the attached GA diagram at annexure –VI) |

It  may be noted by  the applicant  that all  the  equipments  and  systems to be provided by applicant , shall  have  to  conform  to  the  technical  standards  as  specified  in the Central   Electricity Authority  (Technical Standards for Connectivity to the Grid) Regulations, 2013  or  the  H.P. Electricity Distribution code 2009/ the Grid code, 2008 as applicable and amended from time to time. The  applicant  will  establish,  test,  commission  and  demonstrate  the  voice  and  data communication facilities with concerned SLDC before test charging.

At the Inter-connection point to the electrical system of Distribution Licensee, all works associated with bay extension shall be taken- up by the Distribution Licensee on deposit of cost for the same by the applicant. However, these equipments shall be owned by the applicant.

Thanking You,

Yours faithfully,

Annexure - II

Equipments to be provided by the applicant in the allocated bay, meeting the technical standards as per Central Electricity Authority (Technical Standards for Connectivity to the Grid) Regulations, 2013 as amended from time to time.

| Sr. No. | Name of Equipments | Nos. | Ratings |
| --- | --- | --- | --- |
| 1. | Circuit Breaker |  |  |
| 2. | Isolators |  |  |
| 3. | Earth Switches |  |  |
| 4. | CT |  |  |
| 5. | CVT |  |  |
| 6. | Wave Trap |  |  |
| 7. | Etc. |  |  |
| 8. |  |  |  |
| 9. |  |  |  |

Annexure-III

System recording & SCADA Equipment to be provided by the applicant

| Sr. No. | Name of Equipments | Nos. | Ratings |
| --- | --- | --- | --- |
| 1. | Event Logger |  |  |
| 2. | Disturbance recorder/ Fault locator |  |  |
| 3. | Data Acquisition System |  |  |
| 4. | Communication equipment |  |  |
| 5. | Etc. |  |  |
| 6. |  |  |  |
| 7. |  |  |  |

Annexure-IV

Details of the modification/alteration to existing facilities for accommodating proposed connection and its estimated cost.

Annexure-V

Communication equipment details up to SLDC Data Collection Point.

Annexure- VI

Site Responsibility Schedule

- Principle & Procedure:

The responsibility of control, operation, maintenance & all matters pertaining to safety of equipments and apparatus at the connection point shall lie with the owner of equipment. For ease of day-to-day operation as a general practice, O&M is carried out by  the  owner  of the  substation  in  whose  premises  the  proposed   bay  is  located  for which a separate O&M contract is to be entered into, based on mutually agreed terms and conditions.

- List of equipment and their ownership at the connection point :

| Sr. No. | Name of Equipment | Ownership |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| 4. |  |  |
| 5. |  |  |
| 6. |  |  |
| 7. |  |  |
| C |  |  |

C.   Site common Drawings:

- Site layout

- Electrical layout (SLD)

- General Arrangement Drawings (GA)

- Details of protection

- Common services drawing

Equipment detail to the above Annexure in Brief

- All EHV sub-station equipments shall comply with Bureau of Indian Standards (BIS)/IEC/prevailing Code of practice;

- All equipment shall be designed, manufactured, tested and certified in accordance with the quality assurance requirements as per IEC/BIS standards;

- Each connection between a user and electrical system of Distribution Licensee (HPSEBL) shall be controlled by a circuit breaker capable of interrupting, at the connection point, the short circuit current as advised by Distribution Licensee (HPSEBL).

Fault Clearance Times

- Fault clearance time when all equipments operate correctly, for a three phase fault (close to the bus-bars) on user’s equipment directly connected to electrical system of Distribution Licensee (HPSEBL) and for a three phase fault (close to the bus-bars) on electrical system of Distribution Licensee (HPSEBL) connected to agency’s equipment, shall be as per HPEGC.

- Back-up protection shall be provided for required isolation/protection in the event of failure of the primary protection systems provided to meet the above fault clearance time requirements. If a generating unit is connected to the electrical system of Distribution Licensee directly, it shall withstand, until clearing of the fault by back-up protection on the electrical system of Distribution Licensee.

Protection

Protection systems are required to be provided by all users connected to the electrical system of Distribution Licensee in co-ordination with Distribution Licensee. In case of installation of any device, which necessitates modification/replacement of existing protection relays/ scheme in the network, owner of respective part of network shall carry out such modification/ replacement. Protection systems are required to isolate the faulty equipments and protect other components against all types of faults, internal/ external to them, within the specified fault clearance time with reliability, selectivity and sensitivity. All agencies connected to the electrical system of Distribution Licensee shall provide protection systems and metering systems.

Relay setting coordination shall be done at State level by the Protection Co-ordination Committee of the Distribution Licensee and at the Regional level by the Northern Regional Power Committee.

GENERATING UNITS AND POWER STATIONS

- a generating unit shall be capable of continuously supplying its normal rated active /reactive output within the system frequency and voltage variation range subject to the design limitations specified by the manufacturer.

- a generating unit shall be provided with an AVR, protective and safety devices, as set out in Connection Agreements.

- each generating unit shall be fitted with a turbine speed governor having an overall droop characteristic within the range of 3% to 6% subject to design limitations specified by the manufacturer, which shall always be in service.

- each generating unit shall be capable of instantaneously increasing output by 5% when the frequency falls, limited to 105% MCR, ramping back to the previous MW level (in case the increased output level cannot be sustained) shall not be faster than 1% per minute.

- the equipment for data transmission and communications shall be owned and maintained by the respective generator.

REACTIVE POWER COMPENSATION

- Reactive power compensation and/or other facilities should be provided by transmission licensee and distribution licensees as far as possible in the low voltage Systems close to the load points thereby avoiding the need for exchange of reactive power to/from electrical system of Distribution Licensee and to maintain transmission system voltage within the specified range.

- Line reactors may be provided to control temporary overvoltage within the limits as set out in Connection Agreements.

- The additional reactive compensation to be provided by the user shall be indicated by Distribution Licensee in the Connection Agreement for implementation.

- Users shall endeavour to minimize the reactive power drawal at an interchange point when the voltage at that point is below 95% of rated voltage, and shall not inject reactive power when the voltage is above 105% of rated voltage. Interconnecting transformer taps at the respective drawal points may be changed to control the reactive power interchange as per user’s request to the SLDC/ALDC, but only at reasonable intervals.

- Switching in/out of all 220 kV bus and line reactors throughout the grid shall be carried out as per instructions of SLDC/ALDC. Tap changing on all 220/132 kV interconnecting transformers shall also be done as per the instructions of SLDC/ALDC.

DATA COMMUNICATION FACILITIES

Reliable and efficient speech and data communication systems shall be provided to facilitate necessary communication and data exchange, and supervision/control of the grid by the SLDC and ALDC, under normal and abnormal conditions. All agencies including CGSs who are allowed open access shall provide systems to telemeter power system parameter such as flow, voltage and status of switches/ transformer taps etc. in line with interface requirements and other guidelines made available to SLDC and ALDC. The associated communication system to facilitate data flow up to SLDC and ALDC, as the case may be, shall also be established by the concerned agency as agreed by Distribution Licensee in the Connection Agreement. All agencies in coordination with Distribution Licensee shall provide the required facilities at their respective ends and at SLDC and ALDC as agreed in the Connection Agreement.

SYSTEM RECORDING INSTRUMENTS

Recording instruments such as Data Acquisition System / Disturbance Recorder/ Event Logger /Fault Locator (including time synchronization equipment) shall be provided in the electrical system of Distribution Licensee for recording of dynamic performance of the system. Users shall provide all the requisite recording instruments as stated in the Connection Agreement according to the agreed time schedule.

CONNECTION STANDARD

The applicable technical standards for construction of electrical plants, electric lines and connectivity to the electrical system of Distribution Licensee shall be the standards notified by the Authority under clause (b) of section 73 of the Act.

SAFETY STANDARD

The applicable safety requirements for construction, operation and maintenance of electrical Plants and electric lines shall be as per the standards notified by the Authority under clause (c) of section 73 of the Act.

RESPONSIBILITIES FOR OPERATIONAL SAFETY

Site Responsibility Schedule

Distribution Licensee / transmission licensee and other users concerned shall be responsible for safety as indicated in Site Responsibility Schedules for each connection point.

- For every connection to the electrical system of Distribution Licensee for which a Connection Agreement is required, a schedule of equipment shall be prepared by the Distribution Licensee with information supplied by the respective users. This schedule, called a Site Responsibility Schedule, shall state the following for each item of equipment installed at the connection site:-

- the ownership of plant/apparatus;

- the responsibility for operation of plant/apparatus;

- the responsibility for maintenance of plant/apparatus;

(iv)	the responsibility for control of plant/apparatus;

- the manager of the site;

(vi)	the responsibility for all matters relating to safety of persons at site;

- All agencies connected to or planning to connect to electrical system of Distribution Licensee would ensure providing of RTUs and other communication equipment, as specified by SLDC/ALDC, for sending real-time data to SLDC and ALDC before the date of commercial operation of the generating stations or sub-station/line being connected to electrical system of Distribution Licensee.

Single Line Diagrams

- Single line diagram shall include all high tension connected equipment and the connection to all external circuits and incorporate numbering, nomenclature and labelling;

- Single line diagram shall be furnished for each connection point by the connected users to SLDC and ALDC. These diagrams shall include all HV/EHV connected equipment and connections to all external circuits and incorporate numbering, nomenclature and labelling, etc. The diagram is intended to provide an accurate record of the layout and circuit connections, rating, numbering and nomenclature of HV/EHV apparatus and related plant;

- Whenever any equipment has been proposed to be changed, then concerned user shall intimate the necessary changes to Distribution Licensee and to all concerned. When the changes are implemented, changed single line diagram shall be circulated by the user to SLDC / STU / transmission licensee / Distribution Licensee / ALDC.

Site Common Drawings

- Site Common Drawing will be prepared for each connection point and will include site layout, electrical layout, details of protection/control and common services drawings. Necessary details shall be provided by the user to Distribution Licensee / transmission licensee;

- Detailed drawing shall be prepared by transmission licensee and user in respect of their System/facility at each connection point and copies of the same shall be made available to concerned user and Distribution Licensee respectively;

- In case any change in the site common drawings that are found necessary by Distribution Licensee or user in respect of their system/facility at the connection point, the details of such changes shall be furnished to the other party as soon as possible.

FORMAT-CONNECTIVITY -6

DRAFT

Connection Agreement

THIS AGREEMENT is made the ……. day of ……… 20…..

BETWEEN:

[Name and registered address of the distribution Licensee] (Herein after called the “Distribution Licensee” which expression shall unless repugnant to the context or meaning thereof be deemed to mean and include its successors or permitted assigns and for the purposes of this Connection Agreement. The Distribution Licensee shall act through its __________ [Address of the State head quarter where connection shall be located] Unit;

and

[Name and registered address of the Applicant Company/Firm/Association of persons/Individual] (herein after  called “Applicant ”) which   expression   shall   unless   repugnant   to   the   context   or the   Applicant meaning thereof be deemed to  mean  and include  its successors  or permitted assigns;

WHEREAS:

- The  Applicant  has  applied  to  the  Distribution Licensee for  connection  of  the [mention  generating station including a captive generating plant or Consumer as appropriate] facility to  the  Electrical System of Distribution Licensee and  use  of  Electrical System of Distribution Licensee to wheel electricity to and/or from the buyer/seller of power of the applicant.

- The Distribution Licensee has agreed to the connection of the [mention generating station including a captive  generating  plant  or consumer  as  appropriate] facility  to  the   Distribution Licensee’s Electrical System (via the applicant’s Site-Related Connection Equipment) at the Connection Point (……. Mention details of the connection point, the name  of  sub-station,  name  of  line  which  is  to  be  made  LILO,  etc…..)  using  the (wave length) distribution  and  Communication  System  of  the  Distribution Licensee /SLDC  to wheel electricity as well as real time  data  to  and / or  from  the  Facility  through  the  electrical system of Distribution Licensee.

- The  Parties  shall  enter  into  this  connection  agreement  to  record  the  terms  and conditions upon which the Parties will carry out their respective Connection Works, the  estimated  cost to be borne by the applicant for the modification/alterations to the infrastructure of Distribution Licensee or Intra-State Distribution Licensee for accommodating the proposed connection.

- The  parties  shall  separately  take  up  modalities  for  implementation  of  the  works on mutually  agreed  terms  and  conditions.  The scope  of  works,  time  schedule  for completion of works, including the timelines  for the  various milestones to be reached for completion of works (PERT  chart), shall  form an  appendix to this agreement, and shall form the basis for evaluating the works being executed by the parties. Penalties for non-completion of works in time by one party resulting in financial loss to  the  other party  may  be  appropriately  priced  as  per  mutual   agreement, for indemnification of each other against losses incurred in this regard, and form a part of this  Agreement. Similarly, for the regular O&M of the connection  equipments owned by  the  applicant  and  located  in  the  Distribution Licensee’s  premises/switchyard,  the  parties  shall separately take up the O&M agreement on mutually agreed terms and conditions.

- Further, a signed copy of the agreement along with all the Annexure, and amendments when ever made, shall be submitted to SLDC by Distribution Licensee.

- General Conditions for Connectivity

1.1 The Parties agree to the following General Conditions:

(a) The parties shall abide by the Himachal Pradesh Electricity Regulatory Commission (Grant of Connectivity,   Long-term Access and Medium-term Open Access in intra–state Transmission and related matters) Regulations, 2010, as amended from time to time, in respect of procedure of grant of connectivity and other matters.

(b)  The applicant  or  Distribution Licensee,  as  the case  may  be,  shall  be responsible for planning, design,  construction, and safe &  reliable operation of its own  equipments  in   accordance   with  the  Central Electricity  Authority (Technical Standards  for  Connectivity  to   the  Grid)  Regulations,  2013, Central  Electricity Authority  (Technical  Standards  for   Construction  of  electrical  plants and  electric lines) Regulations, Central Electricity Authority (Grid   Standards) Regulations, Indian Electricity Grid Code (IEGC) and other statutory provisions as applicable and as amended from time to time.

(c)	The applicant or Distribution Licensee shall provide necessary facilities for  voice & data communication for transfer of real time operational data such as voltage, frequency,  real  and  reactive  power  flow,  energy,  and  status  of  circuit  breaker  & isolators positions, transformer taps and other parameters from their station to Data Collection Point (DCP) of SLDC/ALDC as per HPEGC/IEGC. SLDC/ALDC shall provide access to applicant’s data transfer through communication network in case spare channels are available on mutually agreed terms.  The  location  of  DCP  of  SLDC/ALDC  shall  be  the  nearest  station connected  electrically  where   wideband  communication  capacity of SLDC/ALDC is available.  The responsibility of data transfer shall be that of the applicant.

1.2  The following documents and their schedules which have  been initialled by  the parties and annexed herewith shall be deemed to form an integral part of this Agreement in the order of precedence listed below :-

(a)  Application for seeking connection to the electrical system of Distribution Licensee.

(b)   Intimation for Grant of Connectivity

(c)   Additional information for signing Connection Agreement

(d)   Connection Offer Letter

(e)   This Agreement

  - Availability of Statutory/Regulatory Approval

Notwithstanding anything in the Agreement to the contrary, the applicant shall be responsible for obtaining the statutory clearances/approval for carrying out the works requiring connection to the electrical system of Distribution Licensee. Accordingly, the provisions of the Agreement dealing  with  the  carrying  out  of  the  Works,  either  by  the  applicant  or  the Distribution Licensee   (unless    otherwise   agreed   mutually)   in   all respects would  be  conditional  on  and  subject  to  the  Distribution Licensee being  satisfied  that  the necessary approvals/clearances   are   available   with   the   applicant.

- Agreement to Pay Charges and Costs

  - Agreement to Monthly Wheeling Tariff

The  applicant  declares  that  it  shall pay  the applicable charges as notified by the appropriate Commission for use of electrical system of Distribution Licensee and transmission system of State Transmission Utility as and when Long term access,  Medium-term  open  access  or  short-term  open  access  is  availed  by  the applicant, in accordance with the relevant regulations of HPERC in this regard.

  - Agreement to additional costs

The applicant declares that it shall pay the cost towards modification/alterations to the infrastructure of Distribution Licensee or Intra-State Distribution Licensee for accommodating the proposed connection as specified in the letter of Distribution Licensee furnishing connection details.

  - Agreement to pay for damages

The  applicant  declares  that  it  shall  pay/  make  good  damages,  if  any,  caused  by the applicant to the property/electrical system of Distribution Licensee during  the course of control, operation  and maintenance of  the equipment, within reasonable time of its  occurrence.

  - Agreement to pay Charges for construction of Bays

The applicant will execute an agreement with the Distribution Licensee for the erection of equipment of applicant in the substation premises of the Distribution Licensee for construction of bays, if required. For this purpose the applicant shall pay charges to the Distribution Licensee on mutually agreed terms.

  - Agreement to pay O & M charges

The applicant shall pay O&M charges to the Distribution Licensee on mutually agreed terms for the bay equipment of the applicant to be operated & maintained by the Distribution Licensee in its substation.   These O&M charges will be governed time to time as per the mutually agreed terms.

- Conditions Precedent to the implementation of the Commissioning Instructions

The applicant shall have to get appropriate “Commissioning Instruction” prior to actually first charging of the equipment through the grid.  The charging instruction shall be issued only when the Distribution Licensee is satisfied (by acting reasonably) that:

(a)  The Connection Works have been completed.

(b)  The applicant has complied with its all obligations as set out in the Offer   Letter.

(c) The applicant has demonstrated the voice & data Communication facilities to   concerned SLDC/ALDC.

(d) The applicant has obtained necessary approvals like PTCC, H.P. Govt. Electrical Inspectorate/CEA etc. from competent authority.

(e) The applicant has complied with its obligations under the Central   Electricity Authority (Technical Standards for Connectivity to the Grid) Regulations, 2013 or the H.P. Electricity Distribution code 2009/ the Grid code, 2008 as applicable and amended from time to time.

- Metering

Interface Energy Meters shall be installed and maintained by the distribution licensee  in  accordance  with  the  Central  Electricity Authority (Installation and Operation of Meters) Regulations, 2007, HPEGC and IEGC as amended from time to time, at the cost of the applicant.

- Site Access

Being restricted area, the Distribution Licensee may give permission or allow access to the employees and/or  agents   and/or  subcontractors  and/or  invitees  of  the  applicant  in its  premises to carry out preliminary site investigation works, the Connection Works, modification works, inspections, etc, based on a written request by the applicant giving reasonable advance notice. All  such  actions  are  to  be  carried  out  under  the  strict  supervision  of  the Distribution Licensee's authorized representative  to  safeguard  the  safety  and  security  requirements of  Distribution Licensee's installations and safety of the representatives of the applicant.  Similarly   the   applicant   may   also   allow,   on   prior  permission,  site access to   the Distribution Licensee's   employees and/or agents and/or invitees to carry out preliminary site investigation  works, inspections, etc  in the  connection  site  of the  applicant, provided that a written request has been made giving reasonable advance notice.

- Conditions of access

Site access for the Distribution Licensee/applicant  shall include the right  to  bring  such  vehicles,  plant,  machinery  and  construction  materials  as  shall be reasonably necessary to carry out  the  functions in  respect of which the permission of access is granted. Being a restricted area, any  individual to whom access is given under the  Agreement  shall  comply  with  all  reasonable   directions  given  by  the applicant   or Distribution Licensee and its duly authorized  employees and agents to safe guard the interest of safety and security requirements of personnel and equipment. All such access shall be exercisable without payment of any kind.

- Transfer Assignment and Pledge

The applicant shall not transfer, assign or pledge its rights and obligations under this connection agreement to any other person.

- Notice

All correspondence/notices required or referred to under this Agreement shall be in writing   and   signed   by   the   respective   authorized   signatories   of   the   parties mentioned herein, unless otherwise notified. Each such notice shall be deemed to have been duly given if delivered or served by registered mail/speed post of the department of  post  with  an  acknowledgment  due  to  other  party  (ies)  as  per  authorization  by parties. The authorities of the parties who shall responsible for the correspondence notices etc. in connection with this agreement shall be informed in advance.

- Settlement of Disputes and Arbitration

All differences and/or disputes between the parties arising out of or in connection with these presents shall at first instance be settled through amicable settlement at the level of MD/CMD.

In the  event  of  unresolved  disputes  or differences  as  covered  under the  statutory arbitration  provided  under  The  Electricity  Act,  2003,  the  same  shall  be  resolved accordingly.

Notwithstanding the	existence of	any disputes and differences referred to arbitration, the parties herein shall continue to perform their respective obligations under this Agreement.

- Force Majeure

Force Majeure herein is defined as any cause which is beyond the control of the Distribution Licensee or the applicant which could not be foreseen or with a reasonable amount of diligence could not  have  been  foreseen  and  which   substantially  affects  the  performance  of  the agreement. Force Majeure events would include:

• Natural phenomenon including but not limited to floods, droughts, earthquake and epidemics;

• War (whether declared or undeclared), invasion, armed conflict or act of foreign enemy   in   each   case   involving   or   directly   affecting   India, revaluation,   riot, insurrection or other civil  commotion, act of terrorism or sabotage in each case within India;

• Nuclear  explosion,  radioactive  or  chemical contamination  or  ionizing  radiation directly   affecting   the   generation   station,   captive   generating   plant   or  consumer,  electrical system of Distribution Licensee, or  any  facility  or  system  that  is integral to and substantial for the performance of this agreement.

• Any event or circumstances of nature analogous to any events set forth above within India.

Provided either party shall within fifteen (15) days from the occurrence of such a Force Majeure event notify the other in writing of such cause(s).

Neither of the parties shall be liable for delays in performing obligations on account of any force majeure causes as referred to and/or defined above.

- Confidentiality

The parties shall keep in confidence any information obtained under this Connection Agreement and shall not divulge the same to any third party without the prior written consent of the other party, unless such information is

a) 	In the public domain,

b) Already in the possession of the receiving party,

c)  	Required by the Govt. Ministries/Agencies/Court of competent jurisdiction.

The  information  exchanged  herein  between  the  parties  shall  be  used  only  for  the purpose of, and in accordance with, this Agreement and for the purpose stated herein. This clause shall remain in force even after termination of Connection Agreement.

- Governing Laws and Jurisdiction

The agreement shall be governed by Indian Laws and Rules made there under.

- Amendments to the Connection Agreement

In case of modification of point of connection like re-allocation of bays, up gradation of voltage level etc.  by  either  of  the  parties,  if  mutually  agreed,  an  amendment  to the Connection  Agreement  shall  be  executed  between  the  parties  within  30  days of implementing such modification.

IN WITNESS  WHEREOF  THE  Distribution Licensee  and  the applicant has caused this agreement to be executed is duly authorized representative on date above first herein written.

Signed for and on behalf of:-			Signed for and on behalf of:-

[Distribution Licensee Details]		[Applicant Details ]

Witness:

1)

2)

3)

Appendix

Time schedule for completion of works of generator/consumer, including the timelines for the various milestones to be reached for completion of works (PERT chart)