## D5_SAIDI-SAIFI
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: Himachal Pradesh
Name of Discom: HPSEB Ltd
Number of Towns: 14
Total nos. of Feeders:221
Period: 1st AUG'19 to 31st AUG'19
Sl No | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec)
1 | Baddi | DAVNI BADDI-03 | 142 | 12 | 15060
2 | Baddi | DAVNI BADDI-11 | 143 | 0 | 0
3 | Baddi | KATHA BADDI-01 | 11 | 0 | 0
4 | Baddi | KATHA BADDI-02 | 264 | 0 | 0
5 | Baddi | KATHA BADDI-03 | 442 | 0 | 0
6 | Baddi | KATHA BADDI-04 | 2 | 0 | 0
7 | Baddi | KATHA BADDI-05 | 6 | 0 | 0
8 | Baddi | KATHA BADDI -06 | 9 | 0 | 0
9 | Baddi | KATHA BADDI-07 | 2 | 0 | 0
10 | Baddi | KATHA BADDI-09 | 19 | 0 | 0
11 | Baddi | KATHA BADDI-10 | 1403 | 0 | 0
12 | Baddi | KATHA BADDI-11 | 819 | 0 | 0
13 | Baddi | KATHA BADDI-12 | 972 | 0 | 0
14 | Baddi | KATHA BADDI-13 | 2417 | 0 | 0
15 | Baddi | KATHA BADDI-14 | 878 | 0 | 0
16 | Baddi | KATHA BADDI-16 | 546 | 0 | 0
17 | Baddi | KATHA BADDI-17 | 1 | 0 | 0
18 | Baddi | KATHA BADDI-19 | 97 | 0 | 0
19 | Baddi | KATHA BADDI-21 | 698 | 0 | 0
20 | Baddi | KATHA BADDI-22 | 652 | 0 | 0
21 | Baddi | KATHA BADDI-23 | 57 | 0 | 0
22 | Baddi | KATHA BADDI-18 | 209 | 0 | 0
23 | Baddi | KATHA BADDI-20 | 2322 | 0 | 0
24 | Baddi | KATHA BADDI-28 | 1 | 2 | 3167
25 | Baddi | AKKA Wali - 15 | 768 | 0 | 0
26 | Baddi | DAVNI BADDI-15 | 506 | 0 | 0
27 | Baddi | DAVNI BADDI-16 | 60 | 0 | 0
28 | Baddi | KATHA SUBSTATION | 17 | 0 | 0
29 | Baddi | KATHA BADDI - 29 | 1 | 0 | 0
30 | Baddi | MALPUR-02 | 109 | 0 | 0
31 | Baddi | MALPUR-03 | 435 | 0 | 0
32 | Baddi | MALPUR-04 | 174 | 0 | 0
33 | Baddi | AKANWALI -16 | 7 | 0 | 0
34 | Baddi | AKANWALI FEEDER NO-17 | 7 | 0 | 0
35 | Baddi | BHATOLI KALAN-08 | 317 | 0 | 0
36 | Baddi | BHATOLI KALA - 05 | 509 | 0 | 0
37 | Baddi | MALPUR-05 | 509 | 0 | 0
38 | Bilaspur | BILASPUR-I | 3982 | 0 | 0
39 | Bilaspur | BILASPUR-II | 2584 | 0 | 0
40 | Bilaspur | BILASPUR-III | 2402 | 0 | 0
41 | Chamba | CITY-1 | 3081 | 0 | 0
42 | Chamba | CITY-2 | 2383 | 3 | 8760
43 | Chamba | RAJNOUN | 2540 | 1 | 8400
44 | Chamba | HARDASPURA | 2810 | 0 | 0
45 | Chamba | RAJERA | 1187 | 5 | 23460
46 | Chamba | NHPC | 879 | 0 | 0
47 | Chamba | POWER GRID | 1 | 3 | 8820
48 | Chamba | GIS | 1 | 3 | 8760
49 | Dharamshala | CITY-1 KOTWALI | 3572 | 0 | 0
50 | Dharamshala | KACHARI | 6138 | 1 | 1800
51 | Dharamshala | CITY-3 EDUCATION BOARD | 1023 | 2 | 7800
52 | Dharamshala | MECLEODGANJ | 3169 | 6 | 81120
53 | Dharamshala | TOTA RANI SATOBARI | 500 | 0 | 0
54 | Dharamshala | TOTA RANI BHAGSUNAG | 1058 | 0 | 0
55 | Dharamshala | TOTA RANI NADDI | 1083 | 0 | 0
56 | Dharamshala | TOTA RANI MES | 0 | 0 | 0
57 | Dharamshala | TOTA RANI MECHELODGANJ | 0 | 0 | 0
58 | Dharamshala | SIDHPUR CANTT | 319 | 0 | 0
59 | Dharamshala | GAJ CANT | 56 | 0 | 0
60 | Dharamshala | SIDHPUR DARI | 3584 | 0 | 0
61 | HAMIRPUR | HAMIRPUR LOCAL | 5067 | 3 | 6960
62 | HAMIRPUR | HOUSING BOARD | 4153 | 0 | 0
63 | HAMIRPUR | HIRA NAGAR | 884 | 0 | 0
64 | HAMIRPUR | REC | 1011 | 1 | 2520
65 | HAMIRPUR | MICRO WAVE | 1618 | 7 | 21120
66 | HAMIRPUR | MATTANSIDH TO HAMIRPUR | 2976 | 0 | 0
67 | HAMIRPUR | INDUSTRIAL AREA | 1542 | 0 | 0
68 | KULLU | AKHARA | 4476 | 8 | 43200
69 | KULLU | DHALPUR-1 | 3571 | 6 | 18180
70 | KULLU | DHALPUR-2 | 45 | 6 | 18720
71 | KULLU | SARVARI | 3175 | 8 | 23880
72 | KULLU | GANDHINAGAR | 2015 | 10 | 85860
73 | MANDI | JAIL ROAD FEEDER | 4249 | 0 | 0
74 | MANDI | SERI FEEDER | 3194 | 0 | 0
75 | MANDI | HOSPITAL ROAD | 1386 | 0 | 0
76 | MANDI | PADDAL MANGWAIN | 3551 | 0 | 0
77 | MANDI | LOCAL SAMKHETAR | 1375 | 0 | 0
78 | MANDI | BIJNI KHALIYAR PURANI MANDI | 3118 | 0 | 0
79 | MANDI | BIJNI BARI | 690 | 0 | 0
80 | MANDI | SAULI KHAD | 729 | 0 | 0
81 | MANDI | BIJNI DARANG DHANOG | 1245 | 0 | 0
82 | MANDI | PADHAR | 474 | 20 | 56550
83 | NAHAN | NAHAN-1 | 4902 | 1 | 2280
84 | NAHAN | SARHAN BHAGTAN | 108 | 0 | 0
85 | NAHAN | NAHAN-2 | 5647 | 0 | 0
86 | NAHAN | NAHAN-3 | 2055 | 5 | 44820
87 | PAONTA | 33/440 KV | 14 | 0 | 0
88 | PAONTA | BAROTIWALA | 856 | 20 | 29419
89 | PAONTA | BATHA MANDI | 958 | 3 | 2039
90 | PAONTA | BHUNGARNI | 2479 | 6 | 38400
91 | PAONTA | DEVI NAGAR | 4112 | 18 | 15732
92 | PAONTA | GONDPUR | 1362 | 5 | 3419
93 | PAONTA | GONDPUR SUBSTATION | 17 | 0 | 0
94 | PAONTA | HEERPUR MATRALION | 2762 | 7 | 75180
95 | PAONTA | HOUSING BOARD | 18 | 19 | 19108
96 | PAONTA | INDUSTRIAL | 1458 | 8 | 5545
97 | PAONTA | JAMINIWALA | 2552 | 0 | 0
98 | PAONTA | KEDARPUR | 1683 | 19 | 34066
99 | PAONTA | L-GONDPUR | 16 | 5 | 77400
100 | PAONTA | PAONTA | 3041 | 4 | 3083
101 | PAONTA | RAMPUR GHAT | 123 | 20 | 29420
102 | PAONTA | R-GONDPUR | 128 | 7 | 66840
103 | PAONTA | SURAJPUR | 69 | 17 | 12669
104 | PAONTA | PATLION | 1221 | 0 | 0
105 | PAONTA | TARUWALA | 982 | 5 | 23640
106 | PAONTA | V-GONDPUR | 63 | 6 | 96840
107 | SHIMLA | AIR | 474 | 0 | 0
108 | SHIMLA | AIR GUMMA | 1 | 0 | 0
109 | SHIMLA | AIR KENNEDY | 466 | 0 | 0
110 | SHIMLA | ALUPARK | 1215 | 2 | 1530
111 | SHIMLA | BANUTI | 2977 | 2 | 8160
112 | SHIMLA | BARAGAON | 1 | 4 | 39170
113 | SHIMLA | BARMU | 182 | 4 | 21010
114 | SHIMLA | BELVEDERE | 3396 | 11 | 15535
115 | SHIMLA | BEMLOE | 414 | 3 | 2315
116 | SHIMLA | BENMORE | 914 | 2 | 1465
117 | SHIMLA | BHARARI BAZAR | 953 | 6 | 40640
118 | SHIMLA | BHARARI IDGAH | 4437 | 6 | 10600
119 | SHIMLA | BHULIYA | 1960 | 0 | 0
120 | SHIMLA | BOARD COLONY | 788 | 8 | 7335
121 | SHIMLA | BOYS HOSTEL | 1668 | 0 | 0
122 | SHIMLA | CEMETRY | 4217 | 9 | 8255
123 | SHIMLA | CHAIR | 282 | 1 | 5640
124 | SHIMLA | CHAKKER_SANDAL | 6251 | 3 | 36480
125 | SHIMLA | DHALLI | 4215 | 0 | 0
126 | SHIMLA | DOORDARSHAN | 1 | 0 | 0
127 | SHIMLA | DUMI PAOBO | 2982 | 14 | 25605
128 | SHIMLA | ELLYSIUM | 1462 | 7 | 10595
129 | SHIMLA | FLOWERDALE | 2966 | 0 | 0
130 | SHIMLA | FOREST COLONY | 2067 | 4 | 5165
131 | SHIMLA | GADOG | 907 | 4 | 16500
132 | SHIMLA | GHAR GUMMA | 201 | 3 | 54420
133 | SHIMLA | GHORPAE MEHALI | 999 | 0 | 0
134 | SHIMLA | HOUSING BOARD | 2374 | 5 | 33000
135 | SHIMLA | JAGROTI | 87 | 2 | 3830
136 | SHIMLA | JUGGO | 2056 | 4 | 17400
137 | SHIMLA | JUNGA | 1680 | 3 | 12840
138 | SHIMLA | KANLOG | 4039 | 2 | 1535
139 | SHIMLA | KASUMPTI | 2833 | 3 | 14100
140 | SHIMLA | KASUMPTI_OH | 4324 | 5 | 11130
141 | SHIMLA | KUMAR HOUSE | 275 | 0 | 0
142 | SHIMLA | KWALAG | 104 | 3 | 12840
143 | SHIMLA | LOWER KHALINI | 1843 | 0 | 0
144 | SHIMLA | MASHOBRA TO GUMMA | 1 | 0 | 0
145 | SHIMLA | MEHLI (VIKAS NAGAR) | 1726 | 0 | 0
146 | SHIMLA | MEHLI TO KOTI | 32 | 0 | 0
147 | SHIMLA | MES | 6431 | 3 | 25080
148 | SHIMLA | MILK PLANT | 734 | 0 | 0
149 | SHIMLA | NAV BAHAR | 3326 | 7 | 10175
150 | SHIMLA | NEW SHIMLA | 5800 | 4 | 24565
151 | SHIMLA | PALIKA BHAWAN | 762 | 3 | 22275
152 | SHIMLA | PAOGHAT | 142 | 0 | 0
153 | SHIMLA | PC KASUMPTI | 699 | 2 | 3870
154 | SHIMLA | PUMPING -1STAGE | 3 | 3 | 14340
155 | SHIMLA | RETREAT | 519 | 0 | 0
156 | SHIMLA | RIDGE | 0 | 0 | 0
157 | SHIMLA | STRAWBERRY | 3559 | 3 | 16380
158 | SHIMLA | SUNI MASHOBRA | 0 | 0 | 0
159 | SHIMLA | SUPERMAX | 43 | 0 | 0
160 | SHIMLA | TARA DEVI | 2562 | 1 | 1980
161 | SHIMLA | TEACHER HOUSE | 1573 | 0 | 0
162 | SHIMLA | TELEGRAPH | 798 | 6 | 10510
163 | SHIMLA | THEOG-1 | 645 | 0 | 0
164 | SHIMLA | THEOG-2 | 2201 | 1 | 2340
165 | SHIMLA | CHAMROG | 302 | 0 | 0
166 | SHIMLA | KACHIGHATI | 843 | 5 | 79277
167 | SHIMLA | TARA DEVI (TARA DEVI) | 2562 | 0 | 0
168 | SHIMLA | DISTRICT COURT | 1 | 4 | 24169
169 | SHIMLA | 22 KV MATHU COLONY | 183 | 0 | 0
170 | SHIMLA | 22 KV JAGROTI | 541 | 0 | 0
171 | SHIMLA | 22 KV BHATAKUFAR BAZAR | 1248 | 0 | 0
172 | SHIMLA | 22 KV CEMETRY | 2059 | 0 | 0
173 | SHIMLA | SHARI | 36 | 0 | 0
174 | SHIMLA | TARAPUR | 1010 | 0 | 0
175 | SHIMLA | DURGAPUR | 1541 | 0 | 0
176 | SHIMLA | AIR_CRAIGNANO | 0 | 0 | 0
177 | SHIMLA | KYARKOTI | 663 | 0 | 0
178 | SHIMLA | RAGYAN | 893 | 5 | 5535
179 | SHIMLA | TIKAKSHA | 471 | 0 | 0
180 | SHIMLA | TOTU SUMMER HILL | 1 | 0 | 0
181 | SHIMLA | US CLUB | 1 | 0 | 0
182 | SHIMLA | WALKER | 3381 | 13 | 15335
183 | SOLAN | CHAMBAGHAT | 2248 | 3 | 6900
184 | SOLAN | HIMACHAL CONDUCTOR | 8842 | 2 | 17760
185 | SOLAN | KATHER KANDAGHAT | 2333 | 5 | 19440
186 | SOLAN | KATHER SARHAAN | 1090 | 1 | 2520
187 | SOLAN | KATHER WATER SS | 1979 | 2 | 17760
188 | SOLAN | LAVI GHAT | 1647 | 5 | 149220
189 | SOLAN | SHIVALIK | 3 | 0 | 0
190 | SOLAN | SOLAN-1 | 5531 | 1 | 2520
191 | SOLAN | SOLAN-2 | 9350 | 5 | 12300
192 | SOLAN | SOLAN-3 | 5583 | 2 | 5880
193 | SOLAN | SOLAN-4 | 2320 | 3 | 29160
194 | SOLAN | SUBSTATION | 1 | 0 | 0
195 | SUNDERNAGAR | SUNDERNAGAR-I | 3805 | 0 | 0
196 | SUNDERNAGAR | SUNDERNAGAR-II | 6813 | 0 | 0
197 | SUNDERNAGAR | JAI DEVI | 6596 | 0 | 0
198 | SUNDERNAGAR | BSNL | 1947 | 0 | 0
199 | SUNDERNAGAR | CHOGAN | 606 | 0 | 0
200 | SUNDERNAGAR | JNEC | 3 | 0 | 0
201 | Una (HPSEBL) | DAMANDRI | 1393 | 0 | 0
202 | Una (HPSEBL) | DERA BABA RUDRA NARI | 1436 | 0 | 0
203 | Una (HPSEBL) | JHALERA_BASAL | 3446 | 0 | 0
204 | Una (HPSEBL) | JHALERA_RAKKAR | 3468 | 9 | 48120
205 | Una (HPSEBL) | MEHATPUR | 1842 | 4 | 12720
206 | Una (HPSEBL) | PANOH | 2144 | 0 | 0
207 | Una (HPSEBL) | PIRNIGAH | 1387 | 7 | 30720
208 | Una (HPSEBL) | SAMOOR | 2297 | 6 | 39600
209 | Una (HPSEBL) | SUBSTATION T-1 | 14 | 0 | 0
210 | Una (HPSEBL) | SUBSTATION T-2 | 30 | 0 | 0
211 | Una (HPSEBL) | TAKKA | 975 | 0 | 0
212 | Una (HPSEBL) | UNA 1 | 3045 | 6 | 36660
213 | Una (HPSEBL) | UNA 2 | 2638 | 9 | 33420
214 | Una (HPSEBL) | UNA 3 | 2509 | 8 | 37680
215 | Una (HPSEBL) | UNA-IV | 2993 | 10 | 34320
216 | YOL | SIDHPUR YOL | 4895 | 0 | 0
217 | YOL | KHANYARA | 950 | 0 | 0
218 | YOL | BHARWALA | 1131 | 0 | 0
219 | YOL | SIDHPUR DHARAMSHALA | 97 | 0 | 0
220 | YOL | HODAL | 1310 | 0 | 0
221 | YOL | SUBSTATION YOL | 10 | 0 | 0

## Sheet1 (hidden)
FD_ID | METER_SNO | FD_NAME | TECH_LOSS_PER
S122211-01 |  | KALAPUL | 0.93 | #N/A
S111131-01 | 1026103 | SANJAULI |  | #N/A
S113111-10 | 5312134 | 33/440 KV | 5 | #N/A
S112671-01 | 10040623 | DAVNI BADDI-03 |  | DAVNI BADDI-03
S112611-01 | 10040623 | DAVNI BADDI-03 | 6 | DAVNI BADDI-03
S111131-03 | 1026095 | JAMA MASJID | 1 | #N/A
S111131-02 | 1026096 | CHURHAT |  | #N/A
S111131-08 | 1026101 | US CLUB |  | #N/A
S111131-07 | 1026104 | RIDGE |  | #N/A
S111222-10 | 11377329 | TOTU MASHOBRA | 2 | #N/A
S111262-01 | 11416568 | GUMMA AIR |  | #N/A
S112611-04 | 14193058 | DAVNI BADDI-16 | 5 | #N/A
S112671-04 | 14193058 | DAVNI BADDI-16 |  | #N/A
S112671-03 | 14193096 | DAVNI BADDI-15 |  | #N/A
S112611-03 | 14193096 | DAVNI BADDI-15 | 7 | #N/A
S112641-14 | 14193103 | AKANWALI -15 |  | #N/A
S112632-01 | 14193140 | BHATOLI KALA-05 | 2.99 | #N/A
S112681-01 | 14193140 | BHATOLI KALAN-05 |  | #N/A
S112691-05 | 14193140 | MALPUR-05 |  | #N/A
S112671-02 | 14193166 | DAVNI BADDI-11 |  | #N/A
S112611-02 | 14193166 | DAVNI BADDI-11 | 3 | #N/A
S111263-02 | 14193519 | TARAPUR |  | #N/A
S111261-05 | 14193524 | MASHOBRA SUNNI |  | #N/A
S111263-01 | 14193532 | SHARI |  | #N/A
S111263-04 | 14193565 | AIR_CRAIGNANO |  | #N/A
S112691-04 | 14193567 | MALPUR-04 |  | #N/A
S112691-02 | 14193571 | MALPUR-02 |  | #N/A
S112691-03 | 14193572 | MALPUR-03 |  | #N/A
S111263-05 | 14193575 | KYAR KOTI |  | #N/A
S111263-03 | 14193589 | DURGAPUR |  | #N/A
S124115-01 | 14623652 | TAKKA | 2 | #N/A
S123412-02 | 14623884 | POWER GRID |  | POWER GRID
S123412-03 | 14623885 | GIS | 6 | GIS
S124115-03 | 14758386 | DERA BABA RUDRA NARI | 4 | #N/A
S124115-05 | 14758388 | JHALERA_BASAL | 1 | #N/A
S124115-04 | 14758389 | PANOH | 3 | #N/A
S124115-02 | 14758390 | DAMANDRI | 1 | #N/A
S112681-02 | 15199895 | BHATOLI KALAN-08 |  | #N/A
S111241-04 | 16197313 | 22KV CEMETRY |  | #N/A
S111241-01 | 16197325 | 22 KV MATHU COLONY |  | #N/A
S111241-03 | 16197367 | 22 KV BHATTA KUFFER BAZAR |  | #N/A
S111241-02 | 16197378 | 22 KV JAGROTI |  | #N/A
S111222-02 | 17112059 | CHAKKER SANDAL |  | CHAKKER SANDAL
S111222-06 | 17112060 | MES |  | MES
S111222-04 | 17112061 | GADOG |  | GADOG
S111222-09 | 17112062 | TARA DEVI_TOTU |  | TARA DEVI_TOTU
S111222-01 | 17112064 | BANUTI |  | #N/A
S111222-07 | 17112065 | MILK PLANT |  | #N/A
S111222-08 | 17112066 | TOTU SUMMERHILL |  | #N/A
S124122-11 | 228583 | SUBSTATION T-2 | 7 | #N/A
S124122-10 | 228585 | SUBSTATION T-1 | 6 | #N/A
S111251-03 | 229656 | PUMPING -1STAGE |  | PUMPING -1STAGE
S111151-03 | 229662 | DOORDARSHAN | 2 | #N/A
S134321-05 | 229686 | INDUSTRIAL AREA |  | #N/A
S112111-15 | 229700 | SHIVALIK |  | #N/A
S122232-05 | 229736 | SIDHPUR YOL |  | #N/A
S112111-10 | 229739 | CHAMBAGHAT |  | CHAMBAGHAT
S131135-03 | 229767 | KHALIYAR-PURANI-MANDI (FKD) |  | #N/A
S131135-08 | 229768 | 22 KV BIR DARANG |  | #N/A
S122232-02 | 229789 | SIDHPUR CANTT |  | #N/A
S123411-09 | 229805 | RAJERA |  | RAJERA
S112111-12 | 229814 | LAVI GHAT |  | LAVI GHAT
S123411-05 | 229822 | CITY-2 |  | #N/A
S123411-07 | 229825 | RAJNOUN |  | RAJNOUN
S123411-03 | 229826 | CITY-I |  | #N/A
S134311-03 | 229829 | RANGAS |  | RANGAS
S123412-01 | 229839 | KARIYAN EXPRESS |  | #N/A
S111151-06 | 229848 | TEACHER HOUSE | 4 | #N/A
S111151-07 | 229850 | AIR | 5 | #N/A
S111251-01 | 229859 | JUGGO |  | JUGGO
S111151-04 | 229862 | KUMAR HOUSE | 3 | #N/A
S122232-06 | 229867 | KHANYARA |  | #N/A
S122232-08 | 229868 | HODAL |  | #N/A
S134311-05 | 229877 | HOUSING BOARD |  | HOUSING BOARD
S124122-07 | 229881 | PIRNIGAH | 3 | PIRNIGAH
S124122-08 | 229883 | JHALERA_RAKKAR | 1 | JHALERA_RAKKAR
S112111-07 | 229884 | KATHER SARAHAN |  | KATHER SARAHAN
S134311-02 | 229885 | KUTHERA |  | #N/A
S123411-08 | 229886 | HARDASPURA |  | #N/A
S132411-04 | 229889 | BSNL |  | BSNL
S124122-04 | 229896 | MEHATPUR | 2 | MEHATPUR
S122211-04 | 229897 | EDUCATION BOARD |  | EDUCATION BOARD
S124122-09 | 229898 | UNA-IV | 5 | UNA-IV
S124122-03 | 229900 | UNA 2 | 5 | UNA 2
S112111-06 | 229906 | KATHER KANDAGHAT |  | KATHER KANDAGHAT
S111251-02 | 229914 | JUNGA |  | JUNGA
S112111-04 | 229918 | SOLAN-4 |  | SOLAN-4
S111151-02 | 229920 | BOYS HOSTEL | 1 | #N/A
S111331-04 | 229922 | GHORPAE MEHLI |  | #N/A
S111251-04 | 229923 | KWALAG |  | KWALAG
S112111-03 | 229924 | SOLAN-3 |  | SOLAN-3
S132411-02 | 229925 | SUNDER NAGAR-2 |  | SUNDER NAGAR-2
S111331-02 | 229926 | BHULIYA |  | #N/A
S134311-06 | 229928 | HIRA NAGAR |  | HIRA NAGAR
S122211-03 | 229928 | CITY-2 KACHARI |  | HIRA NAGAR
S122211-02 | 229932 | CITY-01 KOTWALI |  | CITY-01 KOTWALI
S132411-01 | 229933 | SUNDERNAGAR-1 |  | #N/A
S124122-02 | 229934 | SAMOOR | 4 | SAMOOR
S124122-01 | 229935 | UNA 1 | 5 | UNA 1
S124122-05 | 229936 | UNA 3 | 3 | UNA 3
S133121-06 | 229942 | DHALPUR-I |  | #N/A
S122232-03 | 229945 | SIDHPUR DARI |  | #N/A
S133121-08 | 229946 | GANDHI NAGAR |  | GANDHI NAGAR
S122211-06 | 229947 | KALAPULL MCLEODGANJ |  | KALAPULL MCLEODGANJ
S133121-05 | 229949 | AKHARA |  | AKHARA
S112111-01 | 229958 | SOLAN-I |  | SOLAN-I
S133121-07 | 229971 | DHALPUR-2 |  | #N/A
S134311-09 | 229972 | MICROWAVE |  | MICROWAVE
S122732-04 | 229974 | GAJ |  | #N/A
S122232-07 | 229975 | BHARWALA |  | #N/A
S133121-09 | 229977 | SARVARI |  | #N/A
S134311-04 | 229978 | HAMIRPUR LOCAL |  | HAMIRPUR LOCAL
S122232-01 | 229980 | SIDHPUR DHARAMSHALA |  | #N/A
S134311-07 | 229981 | REC |  | REC
S134311-01 | 229982 | NALTI |  | #N/A
S111151-01 | 229983 | AIR KENNEDY HOUSE | 4.67 | #N/A
S112111-02 | 229988 | SOLAN-II |  | SOLAN-II
S111251-05 | 229989 | KASUMPTI |  | KASUMPTI
S132412-01 | 2299991 | JNEC |  | #N/A
S111223-04 | 230005 | TIKAKSHA |  | TIKAKSHA
S113112-03 | 230006 | TARUWALA | 3 | TARUWALA
S111223-01 | 230007 | HOUSING BOARD |  | HOUSING BOARD
S111223-03 | 230008 | SUPERMAX |  | SUPERMAX
S113112-01 | 230009 | HEERPUR MATRALION | 4 | HEERPUR MATRALION
S113112-07 | 230010 | R-GONDPUR | 2 | R-GONDPUR
S111261-06 | 230012 | THEOG-1 |  | #N/A
S111223-02 | 230013 | PAOGHAT |  | PAOGHAT
S112111-09 | 230017 | HIMACHAL CONDUCTOR |  | HIMACHAL CONDUCTOR
S112631-12 | 230019 | KATHA BADDI-12 |  | #N/A
S112631-04 | 230020 | KATHA BADDI-04 | 7 | #N/A
S112631-26 | 230022 | KATHA SUBSTATION |  | #N/A
S112631-01 | 230023 | KATHA BADDI-01 |  | #N/A
S112631-06 | 230024 | KATHA BADDI-06 |  | #N/A
S112631-07 | 230025 | KATHA BADDI-07 |  | #N/A
S112631-10 | 230030 | KATHA BADDI-10 | 3 | #N/A
S112111-05 | 230031 | KATHER WATER SUPPLY |  | KATHER WATER SUPPLY
S112631-05 | 230036 | KATHA BADDI-05 |  | #N/A
S113112-06 | 230042 | BHUNGARNI | 0.97 | BHUNGARNI
S113112-04 | 230044 | V-GONDPUR | 2 | V-GONDPUR
S111261-02 | 230045 | DHALLI |  | #N/A
S113112-08 | 230049 | PATLION | 8 | PATLION
S113112-05 | 230049 | PATTINATHA SINGH |  | PATLION
S111331-03 | 230052 | PANTHAGHATI TO KOTI |  | #N/A
S112631-22 | 230053 | KATHA BADDI-18 |  | #N/A
S112631-18 | 230056 | KATHA BADDI-19 |  | #N/A
S111331-01 | 230058 | MEHLI VIKASNAGAR |  | #N/A
S112631-09 | 230059 | KATHA BADDI-09 |  | #N/A
S112631-03 | 230060 | KATHA BADDI-03 |  | #N/A
S112631-02 | 230061 | KATHA BADDI-02 |  | #N/A
S112631-11 | 230064 | KATHA BADDI-11 |  | #N/A
S112631-23 | 230065 | KATHA BADDI-20 |  | #N/A
S112631-14 | 230067 | KATHA BADDI-14 | 2 | #N/A
S112631-19 | 230069 | KATHA BADDI-21 |  | #N/A
S112631-21 | 230071 | KATHA BADDI-23 |  | #N/A
S112631-15 | 230072 | KATHA BADDI-16 |  | #N/A
S112631-13 | 230073 | KATHA BADDI-13 |  | #N/A
S112631-20 | 230076 | KATHA BADDI-22 |  | #N/A
S113221-04 | 230077 | NAHAN-2 | 0.99 | #N/A
S111222-05 | 230082 | TOTU IDGAH | 0.97 | #N/A
S111261-03 | 230083 | MASHOBRA TO GUMMA |  | MASHOBRA TO GUMMA
S113221-06 | 230085 | NAHAN-3 | 0.98 | NAHAN-3
S113221-01 | 230088 | NAHAN-1 | 7 | #N/A
S111261-04 | 230102 | RETREAT |  | #N/A
S111261-01 | 230104 | AIR MASHOBRA | 0.95 | #N/A
S111261-07 | 230105 | THEOG-2 | 0.97 | THEOG-2
S111262-09 | 230106 | GHAR GUMMA |  | GHAR GUMMA
S132411-03 | 230109 | JAI DEVI |  | JAI DEVI
S111262-02 | 230120 | CHAIR |  | #N/A
S131131-02 | 230123 | BIJINI MANDI TOWN (EB) |  | #N/A
S131135-02 | 230123 | BIJINI MANDI TOWN (EBD) |  | #N/A
S113112-02 | 230130 | L-GONDPUR | 1 | L-GONDPUR
S111262-08 | 230183 | PUMPING-3 | 0.97 | #N/A
S113111-03 | 230229 | JAMINIWALA | 1 | #N/A
S134321-02 | 234001 | MATTANSIDH TO HAMIRPUR |  | #N/A
S111262-10 | DUM00003 | KADARGHAT | 0.93 | #N/A
S111224-05 | DUM00004 | EXPRESS SHOGHI | 3 | #N/A
S111222-03 | DUM00006 | DHAMI | 0.98 | #N/A
S111131-04 | DUM00008 | LOCAL IDGAH | 2 | #N/A
S111224-06 | DUM00009 | KACHI GHATI | 4 | #N/A
S122232-10 | DUM00078 | SUBSTATION |  | #N/A
S112641-16 | HPD00180 | AKANWALI -17 |  | #N/A
S112641-15 | HPD00182 | AKANWALI -16 |  | #N/A
S112111-14 | HPD03158 | SUBSTATION |  | #N/A
S111211-09 | HPD05964 | NEW SHIMLA |  | NEW SHIMLA
S111211-07 | HPD05965 | PALIKA BHAWAN |  | PALIKA BHAWAN
S111211-06 | HPD05966 | FOREST COLONY |  | FOREST COLONY
S111141-01 | HPD05967 | BARMU |  | BARMU
S111141-08 | HPD05968 | ELLYSIUM |  | ELLYSIUM
S111231-07 | HPD05969 | STRAWBERRY |  | STRAWBERRY
S111231-02 | HPD05970 | FLOWERDALE |  | FLOWERDALE
S111231-01 | HPD05972 | CEMETRY |  | CEMETRY
S111231-03 | HPD05973 | JAGROTI |  | JAGROTI
S111141-03 | HPD05974 | BHARARI BAZAR | 2 | BHARARI BAZAR
S111211-03 | HPD05975 | BENMORE |  | BENMORE
S111231-05 | HPD05976 | PC KASUMPTI |  | PC KASUMPTI
S111211-01 | HPD05977 | ALUPARK |  | ALUPARK
S111141-02 | HPD05978 | BELVEDERE |  | BELVEDERE
S111211-04 | HPD05979 | BARAGAON |  | BARAGAON
S111141-06 | HPD05980 | TELEGRAPH |  | #N/A
S111211-02 | HPD05981 | BEMLOE |  | BEMLOE
S111141-10 | HPD05982 | RAGYAN |  | #N/A
S111211-08 | HPD05984 | KANLOG |  | KANLOG
S111141-07 | HPD05985 | WALKER |  | WALKER
S111141-09 | HPD05986 | BOARD COLONY |  | BOARD COLONY
S111231-06 | HPD05987 | NAV BAHAR |  | NAV BAHAR
S111141-04 | HPD05988 | DUMI PAOBO |  | DUMI PAOBO
S111211-05 | HPD05990 | LOWER KHALINI |  | LOWER KHALINI
S111141-05 | HPD05991 | BHARARI IDGAH |  | BHARARI IDGAH
S111231-04 | HPD05994 | KASUMPTI_OH |  | KASUMPTI_OH
S111262-03 | HPS00388 | DRABLA-1 | 7 | #N/A
S111262-04 | HPS00391 | DRABLA-2 | 1.56 | #N/A
S111262-07 | HPS00395 | PUMPING-2 | 0.99 | #N/A
S113112-14 | HPS27311 | GONDPUR SUBSTATION | 6 | #N/A
S111262-06 | HPS34832 | PUMPING-1 | 0.98 | #N/A
S131261-01 | HPU01386 | PADHAR | 2 | PADHAR
S122213-01 | HPU02740 | TOTA RANI SATOBARI | 2 | #N/A
S122261-01 | HPU02740 | TOTA RANI SATOBARI |  | #N/A
S122213-04 | HPU02741 | TOTA RANI MES | 2 | #N/A
S122261-04 | HPU02741 | TOTA RANI MES |  | #N/A
S122213-02 | HPU02743 | TOTA RANI BHAGSUNAG | 7 | #N/A
S122261-02 | HPU02743 | TOTA RANI BHAGSUNAG |  | #N/A
S122213-03 | HPU02747 | TOTA RANI NADDI | 8 | #N/A
S122261-03 | HPU02747 | TOTA RANI NADDI |  | #N/A
S122213-05 | HPU02748 | TOTA RANI MECHELODGANJ | 1 | #N/A
S122261-05 | HPU02748 | TOTA RANI MECLOADGANJ |  | #N/A
S132411-05 | HPU05469 | CHOGAN |  | #N/A
S132121-02 | HPU05611 | BILASPUR-II |  | BILASPUR-II
S132121-01 | HPU05614 | BILASPUR-I |  | BILASPUR-I
S132121-03 | HPU05615 | BILASPUR-III |  | #N/A
S131135-07 | MSU08166 | 22 KV SHULIKHAD |  | #N/A
S113111-02 | WBE09052 | SURAJPUR | 0.99 | SURAJPUR
S113111-06 | WBE09053 | BATHA MANDI | 6 | BATHA MANDI
S131131-01 | WBE09056 | KHALIYAR PURANI MANDI BHIULI |  | #N/A
S131111-05 | WBE09058 | LOCAL SAMKHETAR |  | #N/A
S131131-07 | WBE09059 | SAULIKHAD |  | #N/A
S131111-02 | WBE09061 | SERI |  | #N/A
S131111-04 | WBE09062 | PADDAL MANGWAIN |  | #N/A
S131111-03 | WBE10493 | HOSPITAL ROAD |  | #N/A
S131131-08 | WBE10495 | BIJNI DRANG DHANOG |  | #N/A
S131111-01 | WBE10497 | JAIL ROAD |  | #N/A
S113111-07 | WBE10506 | POANTA | 2 | #N/A
S113111-01 | WBE10507 | DEVI NAGAR | 0.95 | DEVI NAGAR
S113111-05 | WBE10509 | GONDPUR | 0.93 | GONDPUR
S113111-04 | WBE10512 | INDUSTRIAL | 4 | INDUSTRIAL
S131131-03 | WBE10941 | BIJNI BARI |  | #N/A
S113113-02 | WBE11519 | HOUSING BOARD | 1 | HOUSING BOARD
S113113-03 | WBE11525 | BAROTIWALA | 3 | BAROTIWALA
S113113-01 | WBE11526 | RAMPUR GHAT | 4 | RAMPUR GHAT
S113111-08 | WBE11527 | KEDARPUR | 5 | KEDARPUR
S111224-03 | XB544265 | KACHIGHATI | 1 | KACHIGHATI
S111224-04 | XB544267 | DISTRICT COURT | 2 | DISTRICT COURT
S111224-01 | XB544268 | TARA DEVI | 7 | TARA DEVI
S111224-02 | XB544269 | CHAMROG | 1.9 | #N/A
S112631-27 | XB594053 | KATHA BADDI-28 |  | KATHA BADDI-28
S112631-16 | XB594056 | KATHA BADDI-17 |  | #N/A
S112631-28 | XB594057 | KATHA BADDI-29 | 4 | #N/A
S113221-03 |  | SARHAN BHAGTAN | 1 | #N/A
S111131-05 |  | LOWER KAITHU |  | #N/A
S112622-07 |  | AKKA WALI-15 | 5.21 | #N/A
S131135-01 |  | KHALIYAR-PURANI-MANDI (FKD) |  | #N/A
S134321-03 |  | TIKKARI |  | #N/A