## D5_SAIDI-SAIFI
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: Himachal Pradesh
Name of Discom: HPSEB Ltd
Number of Towns: 14
Total nos. of Feeders:221
Period: 1st Jan'19 to 31st Jan'19
Sl No | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec)
1 | Baddi | DAVNI BADDI-03 | 142 | 4 | 6780
2 | Baddi | DAVNI BADDI-11 | 143 | 0 | 0
3 | Baddi | KATHA BADDI-01 | 11 | 3 | 134940
4 | Baddi | KATHA BADDI-02 | 264 | 3 | 173640
5 | Baddi | KATHA BADDI-03 | 442 | 1 | 3780
6 | Baddi | KATHA BADDI-04 | 2 | 0 | 0
7 | Baddi | KATHA BADDI-05 | 6 | 2 | 129000
8 | Baddi | KATHA BADDI -06 | 9 | 0 | 0
9 | Baddi | KATHA BADDI-07 | 2 | 0 | 0
10 | Baddi | KATHA BADDI-09 | 19 | 0 | 0
11 | Baddi | KATHA BADDI-10 | 1403 | 2 | 3960
12 | Baddi | KATHA BADDI-11 | 819 | 0 | 0
13 | Baddi | KATHA BADDI-12 | 972 | 0 | 0
14 | Baddi | KATHA BADDI-13 | 2417 | 0 | 0
15 | Baddi | KATHA BADDI-14 | 878 | 0 | 0
16 | Baddi | KATHA BADDI-16 | 546 | 0 | 0
17 | Baddi | KATHA BADDI-17 | 1 | 0 | 0
18 | Baddi | KATHA BADDI-19 | 97 | 0 | 0
19 | Baddi | KATHA BADDI-21 | 698 | 0 | 0
20 | Baddi | KATHA BADDI-22 | 652 | 1 | 8220
21 | Baddi | KATHA BADDI-23 | 57 | 1 | 2160
22 | Baddi | KATHA BADDI-18 | 209 | 0 | 0
23 | Baddi | KATHA BADDI-20 | 2322 | 0 | 0
24 | Baddi | KATHA BADDI-28 | 1 | 0 | 0
25 | Baddi | AKKA Wali - 15 | 768 | 0 | 0
26 | Baddi | DAVNI BADDI-15 | 506 | 0 | 0
27 | Baddi | DAVNI BADDI-16 | 60 | 0 | 0
28 | Baddi | KATHA SUBSTATION | 17 | 2 | 129000
29 | Baddi | KATHA BADDI - 29 | 1 | 0 | 0
30 | Baddi | MALPUR-02 | 109 | 0 | 0
31 | Baddi | MALPUR-03 | 435 | 0 | 0
32 | Baddi | MALPUR-04 | 174 | 0 | 0
33 | Baddi | AKANWALI -16 | 7 | 0 | 0
34 | Baddi | AKANWALI FEEDER NO-17 | 7 | 0 | 0
35 | Baddi | BHATOLI KALAN-08 | 317 | 0 | 0
36 | Baddi | BHATOLI KALA - 05 | 509 | 0 | 0
37 | Baddi | MALPUR-05 | 509 | 0 | 0
38 | Bilaspur | BILASPUR-I | 3982 | 1 | 3417
39 | Bilaspur | BILASPUR-II | 2584 | 2 | 34168
40 | Bilaspur | BILASPUR-III | 2402 | 1 | 2627
41 | Chamba | CITY-1 | 3081 | 0 | 0
42 | Chamba | CITY-2 | 2383 | 2 | 4140
43 | Chamba | RAJNOUN | 2540 | 0 | 0
44 | Chamba | HARDASPURA | 2810 | 0 | 0
45 | Chamba | RAJERA | 1187 | 7 | 100020
46 | Chamba | NHPC | 879 | 0 | 0
47 | Chamba | POWER GRID | 1 | 0 | 0
48 | Chamba | GIS | 1 | 0 | 0
49 | Dharamshala | CITY-1 KOTWALI | 3572 | 4 | 29340
50 | Dharamshala | KACHARI | 6138 | 0 | 0
51 | Dharamshala | CITY-3 EDUCATION BOARD | 1023 | 4 | 35220
52 | Dharamshala | MECLEODGANJ | 3169 | 8 | 41880
53 | Dharamshala | TOTA RANI SATOBARI | 500 | 0 | 0
54 | Dharamshala | TOTA RANI BHAGSUNAG | 1058 | 0 | 0
55 | Dharamshala | TOTA RANI NADDI | 1083 | 0 | 0
56 | Dharamshala | TOTA RANI MES | 0 | 0 | 0
57 | Dharamshala | TOTA RANI MECHELODGANJ | 0 | 0 | 0
58 | Dharamshala | SIDHPUR CANTT | 319 | 0 | 0
59 | Dharamshala | GAJ CANT | 56 | 0 | 0
60 | Dharamshala | SIDHPUR DARI | 3584 | 1 | 21000
61 | HAMIRPUR | HAMIRPUR LOCAL | 5067 | 3 | 22080
62 | HAMIRPUR | HOUSING BOARD | 4153 | 5 | 22980
63 | HAMIRPUR | HIRA NAGAR | 884 | 3 | 25800
64 | HAMIRPUR | REC | 1011 | 0 | 0
65 | HAMIRPUR | MICRO WAVE | 1618 | 0 | 0
66 | HAMIRPUR | MATTANSIDH TO HAMIRPUR | 2976 | 0 | 0
67 | HAMIRPUR | INDUSTRIAL AREA | 1542 | 0 | 0
68 | KULLU | AKHARA | 4476 | 3 | 9120
69 | KULLU | DHALPUR-1 | 3571 | 1 | 2640
70 | KULLU | DHALPUR-2 | 45 | 1 | 4380
71 | KULLU | SARVARI | 3175 | 3 | 13260
72 | KULLU | GANDHINAGAR | 2015 | 5 | 28380
73 | MANDI | JAIL ROAD FEEDER | 4249 | 0 | 0
74 | MANDI | SERI FEEDER | 3194 | 0 | 0
75 | MANDI | HOSPITAL ROAD | 1386 | 0 | 0
76 | MANDI | PADDAL MANGWAIN | 3551 | 0 | 0
77 | MANDI | LOCAL SAMKHETAR | 1375 | 0 | 0
78 | MANDI | BIJNI KHALIYAR PURANI MANDI | 3118 | 0 | 0
79 | MANDI | BIJNI BARI | 690 | 0 | 0
80 | MANDI | SAULI KHAD | 729 | 0 | 0
81 | MANDI | BIJNI DARANG DHANOG | 1245 | 0 | 0
82 | MANDI | PADHAR | 474 | 17 | 40355
83 | NAHAN | NAHAN-1 | 4902 | 1 | 2280
84 | NAHAN | SARHAN BHAGTAN | 108 | 0 | 0
85 | NAHAN | NAHAN-2 | 5647 | 0 | 0
86 | NAHAN | NAHAN-3 | 2055 | 0 | 0
87 | PAONTA | 33/440 KV | 14 | 0 | 0
88 | PAONTA | BAROTIWALA | 856 | 12 | 40884
89 | PAONTA | BATHA MANDI | 958 | 10 | 41611
90 | PAONTA | BHUNGARNI | 2479 | 2 | 40740
91 | PAONTA | DEVI NAGAR | 4112 | 10 | 41850
92 | PAONTA | GONDPUR | 1362 | 10 | 41857
93 | PAONTA | GONDPUR SUBSTATION | 17 | 0 | 0
94 | PAONTA | HEERPUR MATRALION | 2762 | 4 | 44820
95 | PAONTA | HOUSING BOARD | 18 | 12 | 22980
96 | PAONTA | INDUSTRIAL | 1458 | 11 | 42188
97 | PAONTA | JAMINIWALA | 2552 | 0 | 0
98 | PAONTA | KEDARPUR | 1683 | 0 | 0
99 | PAONTA | L-GONDPUR | 16 | 4 | 46320
100 | PAONTA | PAONTA | 3041 | 0 | 0
101 | PAONTA | RAMPUR GHAT | 123 | 11 | 10230
102 | PAONTA | R-GONDPUR | 128 | 2 | 40740
103 | PAONTA | SURAJPUR | 69 | 0 | 0
104 | PAONTA | PATLION | 1221 | 0 | 0
105 | PAONTA | TARUWALA | 982 | 3 | 46500
106 | PAONTA | V-GONDPUR | 63 | 3 | 42780
107 | SHIMLA | AIR | 474 | 1 | 2580
108 | SHIMLA | AIR GUMMA | 1 | 0 | 0
109 | SHIMLA | AIR KENNEDY | 466 | 1 | 2580
110 | SHIMLA | ALUPARK | 1215 | 8 | 24485
111 | SHIMLA | BANUTI | 2977 | 1 | 4500
112 | SHIMLA | BARAGAON | 1 | 11 | 61000
113 | SHIMLA | BARMU | 182 | 10 | 27015
114 | SHIMLA | BELVEDERE | 3396 | 9 | 19235
115 | SHIMLA | BEMLOE | 414 | 9 | 25670
116 | SHIMLA | BENMORE | 914 | 9 | 29265
117 | SHIMLA | BHARARI BAZAR | 953 | 11 | 42120
118 | SHIMLA | BHARARI IDGAH | 4437 | 8 | 18435
119 | SHIMLA | BHULIYA | 1960 | 0 | 0
120 | SHIMLA | BOARD COLONY | 788 | 6 | 16935
121 | SHIMLA | BOYS HOSTEL | 1668 | 1 | 2580
122 | SHIMLA | CEMETRY | 4217 | 16 | 75125
123 | SHIMLA | CHAIR | 282 | 2 | 6180
124 | SHIMLA | CHAKKER_SANDAL | 6251 | 1 | 1860
125 | SHIMLA | DHALLI | 4215 | 0 | 0
126 | SHIMLA | DOORDARSHAN | 1 | 0 | 0
127 | SHIMLA | DUMI PAOBO | 2982 | 13 | 28855
128 | SHIMLA | ELLYSIUM | 1462 | 6 | 17080
129 | SHIMLA | FLOWERDALE | 2966 | 25 | 40760
130 | SHIMLA | FOREST COLONY | 2067 | 10 | 35520
131 | SHIMLA | GADOG | 907 | 0 | 0
132 | SHIMLA | GHAR GUMMA | 201 | 5 | 31920
133 | SHIMLA | GHORPAE MEHALI | 999 | 0 | 0
134 | SHIMLA | HOUSING BOARD | 2374 | 4 | 22980
135 | SHIMLA | JAGROTI | 87 | 16 | 36435
136 | SHIMLA | JUGGO | 2056 | 5 | 55740
137 | SHIMLA | JUNGA | 1680 | 3 | 31680
138 | SHIMLA | KANLOG | 4039 | 9 | 27275
139 | SHIMLA | KASUMPTI | 2833 | 3 | 31980
140 | SHIMLA | KASUMPTI_OH | 4324 | 13 | 32405
141 | SHIMLA | KUMAR HOUSE | 275 | 1 | 2640
142 | SHIMLA | KWALAG | 104 | 3 | 31740
143 | SHIMLA | LOWER KHALINI | 1843 | 8 | 72105
144 | SHIMLA | MASHOBRA TO GUMMA | 1 | 0 | 0
145 | SHIMLA | MEHLI (VIKAS NAGAR) | 1726 | 4 | 30120
146 | SHIMLA | MEHLI TO KOTI | 32 | 0 | 0
147 | SHIMLA | MES | 6431 | 4 | 41460
148 | SHIMLA | MILK PLANT | 734 | 1 | 23520
149 | SHIMLA | NAV BAHAR | 3326 | 17 | 33315
150 | SHIMLA | NEW SHIMLA | 5800 | 9 | 32295
151 | SHIMLA | PALIKA BHAWAN | 762 | 6 | 22595
152 | SHIMLA | PAOGHAT | 142 | 4 | 32040
153 | SHIMLA | PC KASUMPTI | 699 | 14 | 32740
154 | SHIMLA | PUMPING -1STAGE | 3 | 3 | 31740
155 | SHIMLA | RETREAT | 519 | 0 | 0
156 | SHIMLA | RIDGE | 0 | 0 | 0
157 | SHIMLA | STRAWBERRY | 3559 | 17 | 30440
158 | SHIMLA | SUNI MASHOBRA | 0 | 0 | 0
159 | SHIMLA | SUPERMAX | 43 | 2 | 16080
160 | SHIMLA | TARA DEVI | 2562 | 5 | 24660
161 | SHIMLA | TEACHER HOUSE | 1573 | 1 | 2640
162 | SHIMLA | TELEGRAPH | 798 | 9 | 20445
163 | SHIMLA | THEOG-1 | 645 | 0 | 0
164 | SHIMLA | THEOG-2 | 2201 | 0 | 0
165 | SHIMLA | CHAMROG | 302 | 0 | 0
166 | SHIMLA | KACHIGHATI | 843 | 9 | 6864
167 | SHIMLA | TARA DEVI (TARA DEVI) | 2562 | 0 | 0
168 | SHIMLA | DISTRICT COURT | 1 | 10 | 27487
169 | SHIMLA | 22 KV MATHU COLONY | 183 | 0 | 0
170 | SHIMLA | 22 KV JAGROTI | 541 | 0 | 0
171 | SHIMLA | 22 KV BHATAKUFAR BAZAR | 1248 | 0 | 0
172 | SHIMLA | 22 KV CEMETRY | 2059 | 0 | 0
173 | SHIMLA | SHARI | 36 | 0 | 0
174 | SHIMLA | TARAPUR | 1010 | 0 | 0
175 | SHIMLA | DURGAPUR | 1541 | 0 | 0
176 | SHIMLA | AIR_CRAIGNANO | 0 | 0 | 0
177 | SHIMLA | KYARKOTI | 663 | 0 | 0
178 | SHIMLA | RAGYAN | 893 | 6 | 16955
179 | SHIMLA | TIKAKSHA | 471 | 3 | 25200
180 | SHIMLA | TOTU SUMMER HILL | 1 | 0 | 0
181 | SHIMLA | US CLUB | 1 | 0 | 0
182 | SHIMLA | WALKER | 3381 | 9 | 19405
183 | SOLAN | CHAMBAGHAT | 2248 | 4 | 10140
184 | SOLAN | HIMACHAL CONDUCTOR | 8842 | 2 | 7440
185 | SOLAN | KATHER KANDAGHAT | 2333 | 5 | 12360
186 | SOLAN | KATHER SARHAAN | 1090 | 0 | 0
187 | SOLAN | KATHER WATER SS | 1979 | 2 | 7320
188 | SOLAN | LAVI GHAT | 1647 | 5 | 96360
189 | SOLAN | SHIVALIK | 3 | 0 | 0
190 | SOLAN | SOLAN-1 | 5531 | 2 | 6420
191 | SOLAN | SOLAN-2 | 9350 | 2 | 6420
192 | SOLAN | SOLAN-3 | 5583 | 3 | 8220
193 | SOLAN | SOLAN-4 | 2320 | 2 | 6480
194 | SOLAN | SUBSTATION | 1 | 0 | 0
195 | SUNDERNAGAR | SUNDERNAGAR-I | 3805 | 6 | 23700
196 | SUNDERNAGAR | SUNDERNAGAR-II | 6813 | 6 | 26580
197 | SUNDERNAGAR | JAI DEVI | 6596 | 3 | 12120
198 | SUNDERNAGAR | BSNL | 1947 | 7 | 16680
199 | SUNDERNAGAR | CHOGAN | 606 | 0 | 0
200 | SUNDERNAGAR | JNEC | 3 | 0 | 0
201 | Una (HPSEBL) | DAMANDRI | 1393 | 0 | 0
202 | Una (HPSEBL) | DERA BABA RUDRA NARI | 1436 | 0 | 0
203 | Una (HPSEBL) | JHALERA_BASAL | 3446 | 0 | 0
204 | Una (HPSEBL) | JHALERA_RAKKAR | 3468 | 3 | 8040
205 | Una (HPSEBL) | MEHATPUR | 1842 | 2 | 4260
206 | Una (HPSEBL) | PANOH | 2144 | 0 | 0
207 | Una (HPSEBL) | PIRNIGAH | 1387 | 0 | 0
208 | Una (HPSEBL) | SAMOOR | 2297 | 2 | 9240
209 | Una (HPSEBL) | SUBSTATION T-1 | 14 | 0 | 0
210 | Una (HPSEBL) | SUBSTATION T-2 | 30 | 0 | 0
211 | Una (HPSEBL) | TAKKA | 975 | 0 | 0
212 | Una (HPSEBL) | UNA 1 | 3045 | 2 | 4080
213 | Una (HPSEBL) | UNA 2 | 2638 | 2 | 4560
214 | Una (HPSEBL) | UNA 3 | 2509 | 3 | 12180
215 | Una (HPSEBL) | UNA-IV | 2993 | 0 | 0
216 | YOL | SIDHPUR YOL | 4895 | 0 | 0
217 | YOL | KHANYARA | 950 | 0 | 0
218 | YOL | BHARWALA | 1131 | 3 | 33240
219 | YOL | SIDHPUR DHARAMSHALA | 97 | 0 | 0
220 | YOL | HODAL | 1310 | 2 | 3720
221 | YOL | SUBSTATION YOL | 10 | 0 | 0