## Abstract Equipment-2
ABSTRACT OF COST (RS IN LAKH) OF VARIOUS EQUIPMENTS REQUIRED IN EHV SUBSTATIONS FOR 2026-27
Sr. | EQUIPMENT | COST | % | NET COST | P. O. |  | ANNEXURES NUMBER
No. |  | AS PER COST DATA/ P.O.(Including GST)2025-26 | VARIATION from August, 2024 | FOR 2026-27 | NUMBER | DATE | P. O. | IEEMA CIRCULAR |  | PRICE VARIATION
|  |  | upto |  | SSD |  | No. | BASE | DELIVERY | CALCULATIONS
31st July.2025
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | TRANSFORMERS
A | 3 PHASE, POWER TRANSFORMERS
1 | 220 / 132 kV, 80 / 100 MVA | 1280.1463 | 4.34 | 1335.7046 |  |  |  | TRF1 | TRF2 | XER1
2 | 220 / 33 kV, 25 / 31.5 MVA | 749.6233 | 4.34 | 782.1569 |  |  |  | TRF1 | TRF2 | XER1
3 | 132 / 33 kV, 50/63 MVA | 621.602 | 4.34 | 648.5795 |  |  |  | TRF1 | TRF2 | XER1
4 | 132 / 33 kV, 25 / 31.5 MVA | 372.6727 | 4.34 | 388.8467 |  |  |  | TRF1 | TRF2 | XER1
5 | 132 / 33 kV, 16 / 20 MVA | 411.6798 | 4.34 | 429.5467 |  |  |  | TRF1 | TRF2 | XER1
6 | 132/11 kV, 25 /31.5 MVA | 518.5314 | 4.34 | 541.0357 |  |  |  | TRF1 | TRF2 | XER1
7 | 132 / 11 kV, 16 MVA | 411.6798 | 4.34 | 429.5467 |  |  |  | TRF1 | TRF2 | XER1
8 | 66 / 22 kV, 25/31.5 MVA | 428.2106 | 4.34 | 446.795 |  |  |  | TRF1 | TRF2 | XER1
9 | 66 / 33 kV, 20 MVA | 441.2387 | 4.34 | 460.3885 |  |  |  | TRF1 | TRF2 | XER1
10 | 66 / 33 kV,10 MVA | 226.9258 | 4.34 | 236.7744 |  |  |  | TRF1 | TRF2 | XER1
11 | 66 / 22 kV, 10 MVA | 220.8993 | 4.34 | 230.4864 |  |  |  | TRF1 | TRF2 | XER2
12 | 66 / 11 kV, 20 MVA | 441.2387 | 4.34 | 460.3885 |  |  |  | TRF1 | TRF2 | XER1
13 | 66 / 11 kV, 10 MVA | 235.4167 | 4.34 | 245.6338 |  |  |  | TRF1 | TRF2 | XER1
14 | 66 / 11 kV, 6.3 MVA | 121.3306 | 4.34 | 126.5964 |  |  |  | TRF1 | TRF2 | XER1
15 | 33/11 kV,10 MVA | 99.2162 | 5.56 | 104.7326 |  |  |  | TRF1 | TRF2 | XER2
16 | 33/11 kV,3.15MVA | 31.9266 | 5.56 | 33.7017 |  |  |  | TRF1 | TRF2 | XER2
17 | 33/11kV,6.3 MVA | 49.0336 | 5.56 | 51.7598 |  |  |  | TRF1 | TRF2 | XER2
18 | 33/22kV,6.3 MVA | 54.2759 | 5.56 | 57.2937 |  |  |  | TRF1 | TRF2 | XER2
19 | 33/22kV,3.15 MVA | 33.0649 | 5.56 | 34.9033 |  |  |  | TRF1 | TRF2 | XER2
20 | 22/11kV, 5MVA | 60.5327 | 5.56 | 63.8984 |  |  |  | TRF1 | TRF2 | XER2
B | SINGLE PHASE POWER TRANSFORMERS
1 | (Bank of 3 Nos. of single phase units)
2 | 220/132 kV, (3 X 1) 53.53/ 66.66 MVA | 1766.01 | 4.34 | 1842.6548 |  |  |  | TRF1 | TRF2 | XER1
3 | 220/132 KV, 3 X 26.67/33.33MVA | 1084.65 | 4.34 | 1131.7238 |  |  |  | TRF1 | TRF2 | XER1
4 | 220 / 66 kV, 3 X 26.67/30/33.33 MVA | 508.08 | 4.34 | 530.1307 |  |  |  | TRF1 | TRF2 | XER1
5 | 132 / 66 kV, 3 X 16.67 /21MVA | 364.79 | 4.34 | 380.6219 |  |  |  | TRF1 | TRF2 | XER1
C | STATION TRANSFORMERS
1 | 33/0.433KV,630 kVA | 14.88 | 5.96 | 15.7668 |  |  |  | TRF1 | TRF2 | XER3
2 | 33/0.433KV,250 kVA | 7.62 | 5.96 | 8.0742 |  |  |  | TRF1 | TRF2 | XER3
3 | 11/0.433 kV,250kVA | 6.69 | 5.96 | 7.0887 |  |  |  | TRF1 | TRF2 | XER3
4 | 33/0.433KV,100 kVA | 4.07 | 5.96 | 4.3126 |  |  |  | TRF1 | TRF2 | XER3
2 | CIRCUIT BREAKERS
a | 245 kV, 2000A SF - 6 CB | 17.6422 | 5.42 | 18.5984 |  |  |  | CB1 | CB2 | Breaker 1
b | 145 kV, 1600A SF - 6 CB | 11.59 | 5.42 | 12.2181 |  |  |  | CB1 | CB2 | Breaker1
c | 72.5 kV, 1600A SF - 6 , CB | 4.8317 | 5.42 | 5.0935 |  |  |  | CB1 | CB2 | Breaker 1
d | 36 kV , 1250 A VCB | 2.2216 | 5.35 | 2.3404 |  |  |  | CB1 | CB2 | Breaker 2
3 | CURRENT TRANSFORMER
a | 220kV, CURRENT TRANSFORMER (Highest Rate) | 3.6471 | 4.18 | 3.7995 |  |  |  | CTPT1 | CTPT2 | IT1
b | 132 kV, CURRENT TRANSFORMER (Highest Rate) | 1.789 | 4.18 | 1.8637 |  |  |  | CTPT1 | CTPT2 | IT1
c | 66 kV, CURRENT TRANSFORMER (Highest Rate) | 0.88637 | 2.26 | 0.9064 |  |  |  | CTPT1 | CTPT2 | IT2
d | 33 kV, CURRENT TRANSFORMER (Highest Rate) | 0.75733 | 2.26 | 0.77444 |  |  |  | CTPT1 | CTPT2 | IT2
e | 22 kV, CURRENT TRANSFORMER (Highest Rate) | 0.56311 | 2.26 | 0.57583 |  |  |  | CTPT1 | CTPT2 | IT2
4 | POTENTIAL TRANSFORMER
a | 220kV Potential Transformer | 3.0186 | 4.18 | 3.1448 |  |  |  | CTPT1 | CTPT2 | IT1
b | 132kV Potential Transformer | 1.2811 | 4.18 | 1.3347 |  |  |  | CTPT1 | CTPT2 | IT1
c | 66kV Potential Transformer | 0.91118 | 2.26 | 0.93177 |  |  |  | CTPT1 | CTPT2 | IT2
d | 33kV Potential Transformer | 0.50202 | 2.26 | 0.51337 |  |  |  | CTPT1 | CTPT2 | IT2
e | 22kV Potential Transformer | 0.43361 | 2.26 | 0.44341 |  |  |  | CTPT1 | CTPT2 | IT2
5 | ISOLATORS
A | ISOLATOR WITH EARTH SWITCH (Motorized) with Structure
1 | Altitude above 1000 Meter from MSL
a | 245 kV ,2000 A | 7.6821 | 3.63 | 7.961 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 145 kV ,1600A | 5.0647 | 3.63 | 5.2485 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 36 kV,1600 A | 2.0946 | 3.28 | 2.1633 |  |  |  | ISO1 | ISO2 | ISOLATOR2
2 | Altitude upto 1000 Meter from MSL
a | 245 kV ,2000 A | 6.9905 | 3.63 | 7.2443 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 72.5 kV,1600 A | 4.3518 | 3.63 | 4.5097 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 72.5 kV,1250 A | 2.8515 | 3.63 | 2.955 |  |  |  | ISO1 | ISO2 | ISOLATOR1
d | 36 kV, 2000 A | 2.7037 | 3.28 | 2.7924 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 36 kV,1600 A | 1.9343 | 3.28 | 1.9977 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 36 kV,1250 A | 2.0946 | 3.28 | 2.1633 |  |  |  | ISO1 | ISO2 | ISOLATOR2
B | ISOLATOR WITH EARTH SWITCH (Motorized) without Structure
1 | Altitude above 1000 Meter from MSL
a | 245 kV ,2000 A | 6.0755 | 3.63 | 6.296 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 145 kV ,1600A | 3.3303 | 3.63 | 3.4512 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 36 kV,1600 A | 1.8745 | 3.28 | 1.936 |  |  |  | ISO1 | ISO2 | ISOLATOR2
d | 36 kV,1250 A | 1.3358 | 3.28 | 1.3797 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 24kV, 1600A | 1.4427 | 3.28 | 1.49 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 24kV, 1250A | 1.2931 | 3.28 | 1.3355 |  |  |  | ISO1 | ISO2 | ISOLATOR2
2 | Altitude upto 1000 Meter from MSL
a | 245 kV ,2000 A | 6.0116 | 3.63 | 6.2298 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 72.5 kV,1600 A | 3.5431 | 3.63 | 3.6717 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 72.5 kV,1250 A | 2.3727 | 3.63 | 2.4589 |  |  |  | ISO1 | ISO2 | ISOLATOR1
d | 36 kV, 2000 A | 2.3083 | 3.28 | 2.384 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 36 kV,1600 A | 1.6671 | 3.28 | 1.7218 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 36 kV,1250 A | 1.5796 | 3.28 | 1.6315 |  |  |  | ISO3 | ISO2 | ISOLATOR3
C | ISOLATOR W/O EARTH SWITCH (Motorized) with structure
1 | Altitude above 1000 Meter from MSL
a | 245 kV ,2000 A | 6.5907 | 3.63 | 6.83 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 72.5 kV,1600 A | 3.1187 | 3.63 | 3.2319 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 36 kV,1600 A | 1.7955 | 3.28 | 1.8544 |  |  |  | ISO1 | ISO2 | ISOLATOR2
2 | Altitude upto 1000 Meter from MSL
a | 245 kV ,2000 A | 6.3734 | 3.63 | 6.6047 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 145 kV ,1600A | 3.8517 | 3.63 | 3.9915 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 72.5 kV,1250 A | 2.4472 | 3.63 | 2.536 |  |  |  | ISO1 | ISO2 | ISOLATOR1
d | 36 kV, 2000 A | 2.3724 | 3.28 | 2.4503 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 36 kV,1600 A | 1.6671 | 3.28 | 1.7218 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 36 kV,1250 A | 1.774 | 3.28 | 1.8322 |  |  |  | ISO1 | ISO2 | ISOLATOR2
D | ISOLATOR W/O EARTH SWITCH (Motorized) without structure
1 | Altitude above 1000 Meter from MSL
a | 245 kV ,2000 A | 5.8307 | 3.63 | 6.0424 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 145 kV,1600 A | 2.9109 | 3.63 | 3.0166 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 72.5 kV,1600 A | 2.5642 | 3.63 | 2.6573 |  |  |  | ISO1 | ISO2 | ISOLATOR1
d | 36 kV,1600 A | 1.5816 | 3.28 | 1.6335 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 36 kV,1250 A | 1.3058 | 3.28 | 1.3487 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 24kV, 1600A | 1.1328 | 3.28 | 1.1699 |  |  |  | ISO1 | ISO2 | ISOLATOR2
2 | Altitude upto 1000 Meter from MSL
a | 245 kV ,2000 A | 5.4051 | 3.63 | 5.6013 |  |  |  | ISO1 | ISO2 | ISOLATOR1
b | 145 kV ,1600A | 2.9154 | 3.63 | 3.0212 |  |  |  | ISO1 | ISO2 | ISOLATOR1
c | 72.5 kV,1250 A | 2.0003 | 3.63 | 2.0729 |  |  |  | ISO1 | ISO2 | ISOLATOR1
d | 36 kV, 2000 A | 1.945 | 3.28 | 2.0088 |  |  |  | ISO1 | ISO2 | ISOLATOR2
e | 36 kV,1600 A | 1.4 | 3.28 | 1.4459 |  |  |  | ISO1 | ISO2 | ISOLATOR2
f | 36 kV,1250 A | 1.3058 | 3.28 | 1.3487 |  |  |  | ISO1 | ISO2 | ISOLATOR3
MANDATORY SPARES FOR 36 kv ISOLATORS.
36KV , 1600A Isolator
| isolator blades for main contact arm | 0.15 | 0 | 0.15
| Female contact assembly. | 0.075 | 0 | 0.075
| bearing for central rotating (top and bottom)per pole | 0.02 | 0 | 0.02
| isolator blades for earthing switch | 0.04 | 0 | 0.04
| pair of 10 NO & 10 NC Auxilliary contacts | 0.025 | 0 | 0.025
| Solid Core insulators with end fitting for isolators . | 0.035 | 0 | 0.035
36KV , 1250A Isolator
| isolator blades for main contact arm | 0.115 | 0 | 0.115
| Female contact assembly. | 0.05 | 0 | 0.05
| bearing for central rotating (top and bottom)per pole | 0.02 | 0 | 0.02
| isolator blades for earthing switch | 0.04 | 0 | 0.04
| pair of 10 NO & 10 NC Auxilliary contacts | 0.025 | 0 | 0.025
| Solid Core insulators with end fitting for isolators . | 0.035 | 0 | 0.035
6 | INDOOR SWITCHGEAR PANELS
A | 36 kV, 2000 A, 25 kA for 3 sec
1 | 36 kV, 2000 A, 25 kA I/C | 34.6226 | 3.28 | 35.7582 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 36 kV, 2000 A, 25 kA O/G | 11.87 | 3.28 | 12.2593 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | 36 kV, 2000 A, 25 kA B/C | 34.1079 | 3.28 | 35.2266 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
4 | 36 kV, 2000 A, 25 kA Station T/F Panel | 24.3493 | 3.28 | 25.1479 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
B | 24 kV, 1250A, 25 kA for 3 sec
1 | 24 kV, 1250 A ,O/G | 12.0486 | 3.28 | 12.4438 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 24 kV, 1250 A, 25 kA I/C | 13.5717 | 3.28 | 14.0169 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | 24 kV, 1250 A B/C | 13.5402 | 3.28 | 13.9843 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
C | 12 kV, 2000 A, 31.5 kA for 3 sec
1 | 12 kV, 2000 A, 31.5 kA I/C | 14.7272 | 3.28 | 15.2103 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 12 kV, 2000 A,31.5 kA O/G | 11.4813 | 3.28 | 11.8579 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | 12 kV, 2000 A, 31.5 kA B/C | 17.4689 | 3.28 | 18.0419 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
4 | 12 kV, 2000 A, 31.5 kA, Station Transformer panel | 12.7104 | 3.28 | 13.1273 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
D | 12 kV, 2000 A, 25 kA for 3 sec
1 | 12 kV, 2000 A, 25 kA I/C | 9.5275 | 3.28 | 9.84 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 12 kV, 2000 A,25 kA O/G | 7.7628 | 3.28 | 8.0174 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | 12 kV, 2000 A, 25 kA B/C | 8.7607 | 3.28 | 9.048 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
E.1 | 12 kV, 1250 A, 25 kA for 3 sec.
1 | i) for 3.15 MVA capacity
1.1 | 12 kV, 1250 A,25 kA I/C (incomer) | 6.32 | 2.28 | 6.4641 | SSD-528/24 |  |  | SWGR1 | SWGR2 | SWITCHGEAR2
1.2 | 12 kV, 1250 A,25 kA O/G (Feeder) | 4.79 | 2.28 | 4.8992 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR2
1.3 | 12 kV, 1250 A, 25 kA B/C (Buscoupler) | 5.86 | 2.28 | 5.9936 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR2
2 | ii) for 6.3 MVA capacity
2.1 | 12 kV, 1250 A,25 kA I/C (incomer) | 6.4392 | 3.28 | 6.6504 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2.2 | 12 kV, 1250 A,25 kA O/G (Feeder) | 5.3257 | 3.28 | 5.5004 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2.3 | 12 kV, 1250 A, 25 kA B/C (Buscoupler) | 6.4917 | 3.28 | 6.7047 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | iii) for 20 MVA capacity
3.1 | 12 kV, 1250 A,25 kA O/G along with Adaptor Panel (Feeder) | 7.3636 | 3.28 | 7.6051 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
E.2 | 12 kV, 1250A, 25 kA Station T/F Panel | 5.1262 | 3.28 | 5.2943 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
F | 12 kV, 1250 A, 12.5 kA for 3 sec
1 | 12 kV, 1250 A, 12.5 kA I/C | 5.3888 | 3.28 | 5.5655 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 12 kV, 1250 A, 12.5 kA O/G | 4.3803 | 3.28 | 4.524 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
3 | 12 kV, 1250 A, 12.5 kA B/C | 4.0337 | 3.28 | 4.166 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
G | Outdoor VCB Kiosk
1 | 36 kV, 1250 A, 25 kA
1.1 | Incomer/Transformer Panel | 14.4436 | 3.28 | 14.9173 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2 | 12 kV, 1250 A, 25 kA for 3 sec
2.1 | 12 kV, 1250 A, 25 kA I/C(Incomer) | 7.5002 | 3.28 | 7.7462 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2.2 | 1250 A,25 kA O/G(Buscoupler) | 8.7607 | 3.28 | 9.048 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1
2.3 | 1250 A, 25 kA B/C(Feeder) | 7.227 | 3.28 | 7.4641 |  |  |  | SWGR1 | SWGR2 | SWITCHGEAR1 | 873600
157248
7 | 415 VOLT, 3 PHASE A. C. DISTRIBUTION BOARD | [9 empty] | 1030848
a | 33 kV S/Stns | 3.82 | 2.35 | 3.9098 |  |  |  | SWGR1 | SWGR2 | ACDB1
b | 66 kV and above S/Stns | 8.73 | 0.28 | 8.7544 | SSD-527 | 22.03.2025 | 7090-7101 | SWGR1 | SWGR2 | ACDB2
8 | BATTERY
a | 220 VOLT, 400 AH | 14.07 | 1.5 | 14.281
b | 220 VOLT, 300 AH | 8.0569 | 1.5 | 8.1777 |  |  |  | BTR1 | BTR2 | BATTERY
c | 220 VOLT, 200 AH | 6.8008 | 1.5 | 6.9028 |  |  |  | BTR1 | BTR2 | BATTERY
d | 48 VOLT,400 AH | 3.39 | 1.5 | 3.4408
e | 48 VOLT,200 AH | 1.8543 | 1.5 | 1.8821 |  |  |  | BTR1 | BTR2 | BATTERY
f | 30 Volt, 200 AH | 1.27 | 1.5 | 1.289
g | 30 Volt, 100 AH | 1.05 | 1.5 | 1.0657
9 | D. C. BATTERY CHARGER
a | 220 VOLT, 400 AH | 3.0554 | 3.2 | 3.1532 |  |  |  | BTR1 | BTR2 | CHARGER
b | 220 VOLT, 200 AH | 2.3747 | 3.2 | 2.4506 |  |  |  | BTR1 | BTR2 | CHARGER
c | 48 Volt, 200 AH | 2.1368 | 3.2 | 2.2052 |  |  |  | BTR1 | BTR2 | CHARGER
d | 30 Volt, 200 AH | 1.9753 | 3.2 | 2.0385 |  |  |  | BTR1 | BTR2 | CHARGER
e | 30 Volt, 100 AH | 1.9753 | 3.2 | 2.0385 |  |  |  | BTR1 | BTR2 | CHARGER
f | 220 VOLT,300 AH | 3.3815 | 3.2 | 3.4897 |  |  |  | BTR1 | BTR2 | CHARGER
10 | DCDB
a | 220V, D. C. DISTRIBUTION BOARD | 0.88445 | 2.35 | 0.90523 |  |  |  | SWGR1 | SWGR2 | DCDB
b | 48V, D. C. DISTRIBUTION BOARD | 1.0405 | 2.35 | 1.065 |  |  |  | SWGR1 | SWGR2 | DCDB
c | 30V, D. C. DISTRIBUTION BOARD | 0.88445 | 2.35 | 0.90523 |  |  |  | SWGR1 | SWGR2 | DCDB
11 | 220V-30V DC-DC CONVERTER | 0.69719 | 1.37 | 0.70674 |  |  |  | Elec1 | Elec2 | PE
12 | SUBSTATION STRUCTURE i/c nuts & bolts
a | PER MT FOR A GRADE | 0.73 | 0.36 | 0.73263
b | PER MT FOR C GRADE (For Snow Zone) | 0.77 | 0.36 | 0.77277
13 | SCADA SYSTEM COMPLETE
| RTU & LDMS & SCADA | 48.9818 | 0 | 48.9818
14 | TESTING & MEASURING INSTRUMENTS
a | Battery Leakage Detector, Meggar | 18.854 | 0 | 18.854
b | Insulation Tester-Self Dioagnostic 5 kV Megger | 7.381 | 0 | 7.381
c | 3-Phase Transformer Turns Ratio Tester, Megger | 17.93 | 0 | 17.93
d | Digital Multimeter (AC/DC), 2mA-20A, Megger | 0.286 | 0 | 0.286
e | Digital Clamp Meter, Megger | 0.341 | 0 | 0.341
f | Digital Earth Tester, Megger | 3.399 | 0 | 3.399
g | All relay Universal Testing Kit | 42.493 | 0 | 42.493
h | Motorized-cum-Manual Oil Test t Set (1kVA Capacity) | 2.827 | 0 | 2.827
i | Disturbance Recorder | 50.16 | 0 | 50.16
j | Providing GPS device for time synchronisation of Protection relays | 8.635 | 0 | 8.635
k | Relay Testing Kit | 58.025 | 0 | 58.025
l | Tan Delta Testing Kit | 58.751 | 0 | 58.751
m | Circuit breaker Analyzer | 85.602 | 0 | 85.602
n | Battery Leakage Detector | 20.306 | 0 | 20.306
15 | CAPACITOR BANK WITH APFC SYSTEM
a | 12.65 kV(11 kV), 3 ( 1.2 +1.8) MVAR, Capactor Bank with APFC Panel | 23.188 | 0 | 23.188
b | 25.3 kV (22 kV), 4.2 (2x1.2+1.8) MVAR Capactor Bank with APFC Panel | 53.988 | 0 | 53.988
c | 38 kV( 33 kV), 7.2 (3X2.4) MVAR Capacitor Bank with APFC Panel. | 105.413 | 0 | 105.413
d | 12.65 kV (11 kV), 1.2 Mvar Automatically Switched Capacitor Bank | 10.72 | 0 | 10.72
e | Indoor Automatic Control Unit for 1.2 MVAr ,11 kV Bank | 0.47 | 0 | 0.47
f | 200KVAR, 7.3KV CAPACITOR CELL | 0.23661 | 4.38 | 0.24697 |  |  |  | CAP1 | CAP2 | POWER CAP
16 | RESIDUAL VOLTAGE TRANSFORMER
a | 33kV/3/110-570 | 1.2064 | 2.26 | 1.2337 |  |  |  | CTPT1 | CTPT2 | IT2
b | 22kV/3/110-570 | 0.95003 | 2.26 | 0.9715 |  |  |  | CTPT1 | CTPT2 | IT2
c | 11kV/3/110-570 | 0.79923 | 2.26 | 0.81729 |  |  |  | CTPT1 | CTPT2 | IT2
d | 33KV,7.2KVAR, Series Reactor. | 2.0207 | 2.26 | 2.0664 |  |  |  | CTPT1 | CTPT2 | IT2
17.a | 220KV, Capacitor Voltage Transformer. | 2.5799 | 4.18 | 2.6878 |  |  |  | CTPT1 | CTPT2 | IT1
b | 132KV, Capacitor Voltage Transformer. | 2.0115 | 4.18 | 2.0956 |  |  |  | CTPT1 | CTPT2 | IT1
c | 66KV, Capacitor Voltage Transformer. | 1.6935 | 2.26 | 1.7318 |  |  |  | CTPT1 | CTPT2 | IT2
18 | 125 KVA D G Set with AMF Panel | 11.2182 | 0 | 11.2182
19 | 1100 V Grade, HR-FRLS Copper Control Cables/LT Cables
1 | 1.1KV PVC, HR FRLS, Copper Control Cable (Un-screened)(per KM)
a | 2Cx2.5mm2 | 0.61761 | 6.94 | 0.66047 |  |  |  | cable1 | cable2 | A
b | 4Cx2.5mm2 | 1.1166 | 8.04 | 1.2064 |  |  |  | cable1 | cable2 | B
c | 7Cx2.5mm2 | 1.8764 | 8.47 | 2.0353 |  |  |  | cable1 | cable2 | C
d | 10Cx2.5mm2 | 2.6742 | 10.37 | 2.9515 |  |  |  | cable1 | cable2 | D
e | 12Cx2.5mm2 | 3.1443 | 8.82 | 3.4216 |  |  |  | cable1 | cable2 | E
f | 19Cx2.5mm2 | 4.9169 | 8.95 | 5.3569 |  |  |  | cable1 | cable2 | F
g | 2Cx4mm2 | 0.94742 | 7.62 | 1.0196 |  |  |  | cable1 | cable2 | G
h | 4Cx4mm2 | 1.7467 | 8.45 | 1.8943 |  |  |  | cable1 | cable2 | H
i | 4Cx6mm2 | 2.5548 | 8.87 | 2.7814 |  |  |  | cable1 | cable2 | I
2 | 1.1KV PVC, HR FRLS, Copper Control Cable (Screened)(per KM)
a | 4Cx4mm2 | 2.0495 | 9.29 | 2.24 |  |  |  | cable1 | cable2 | J
b | 4Cx6mm2 | 2.5579 | 8.5 | 2.7753 |  |  |  | cable1 | cable2 | K
c | 7Cx6mm2 | 4.6552 | 8.42 | 5.0471 |  |  |  | cable1 | cable2 | L
3 | LT Aromured Copper cable 4cx10mm2(per KM) | 4.501 | 10.74 | 4.9844 |  |  |  | cable1 | cable2 | M
B | 33kV&11kV HT XLPE Cables and Termination kits
1 | 33kV,1Cx1000 mm2,XLPE,Al Conductor With armoured(per KM) | 14.489 | 8.23 | 15.6815 |  |  |  | cable1 | cable2 | N
2 | 33kV,1Cx630 mm2,XLPE,Al Conductor With armoured(per KM) | 10.576 | 7.11 | 11.3279 |  |  |  | cable1 | cable2 | O
3 | 33kV,1Cx300 mm2,XLPE,Al Conductor With armoured(per KM) | 6.4743 | 6.09 | 6.8686 |  |  |  | cable1 | cable2 | P
4 | 11kV,1Cx1000 mm2,XLPE,Al Conductor With armoured(per KM) | 18.0226 | 6.52 | 19.1977 |  |  |  | cable1 | cable2 | Q
5 | 11kV,3Cx185 mm2,XLPE,Al Conductor With armoured(per KM) | 18.6252 | 10.73 | 20.6236 |  |  |  | cable1 | cable2 | R
6 | Termination Kits for 33kV,1Cx630 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.12 | 0 | 0.12
ii | Outdoor type | 0.14 | 0 | 0.14
7 | Termination Kits for 11kV,1Cx1000 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.1 | 0 | 0.1 |  |  | S
ii | OutdoorType | 0.12 | 0 | 0.12
8 | Termination Kits for 11kV,3Cx185 mm2,XLPE,All. Cond with armoured
I | Indoor Type | 0.102 | 0 | 0.102
II | OutdoorType | 0.113 | 0 | 0.113
20 | BMK
a | 220 kV, 132 KV & 66 kV BMK | 0.78 | 0 | 0.78
b | 33 KV BMK | 0.68 | 0 | 0.68
21 | JUNCTION BOX
a | CT JUNCTION BOX | 0.24 | 0 | 0.24
b | PT JUNCTION BOX | 0.22 | 0 | 0.22
c | CVT JUNCTON BOX | 0.22 | 0 | 0.22
22 | SURGE ARRESTOR with surge counter
A | PORCELAIN TYPE
a | 198 kV | 0.89 | 2.75 | 0.91448 |  |  |  | ARSTR1 | ARSTR2 | LA1
b | 120 kV | 0.57 | 2.75 | 0.58567 |  |  |  | ARSTR1 | ARSTR2 | LA1
c | 60 kV | 0.36 | 2.75 | 0.3699 |  |  |  | ARSTR1 | ARSTR2 | LA1
d | 30 kV | 0.07 | 2.75 | 0.071925 |  |  |  | ARSTR1 | ARSTR2 | LA1
B | POLYMER TYPE
a | 198kV | 0.804 | 3.09 | 0.82884
b | 120 kV | 0.49761 | 3.09 | 0.51298 |  |  |  | ARSTR1 | ARSTR2 | LA2
c | 60 kV | 0.25719 | 3.09 | 0.26514 |  |  |  | ARSTR1 | ARSTR2 | LA2
d | 30 kV | 0.058147 | 3.09 | 0.059944 |  |  |  | ARSTR1 | ARSTR2 | LA2
e | 18 kV | 0.042355 | 3.09 | 0.043664 |  |  |  | ARSTR1 | ARSTR2 | LA2
f | 9 kV | 0.029074 | 3.09 | 0.029972 |  |  |  | ARSTR1 | ARSTR2 | LA2
23 | CURRENT TRANSFORMER
1 | 220 kV, CURRENT TRANSFORMER
a | 2000-1000/1-1-1-1-1A | 3.6471 | 4.18 | 3.7995 |  |  |  | CTPT1 | CTPT2 | IT1
b | 1600-800/1-1-1-1-1A | 3.0514 | 4.18 | 3.179 |  |  |  | CTPT1 | CTPT2 | IT1
c | 800-400/1-1-1-1-1A | 3.0514 | 4.18 | 3.179 |  |  |  | CTPT1 | CTPT2 | IT1
d | 600-300/1-1-1-1-1A | 3.0514 | 4.18 | 3.179 |  |  |  | CTPT1 | CTPT2 | IT1
e | 300-150/1-1-1-1-1A | 2.926 | 4.18 | 3.0483 |  |  |  | CTPT1 | CTPT2 | IT1
2 | 132 kV, CURRENT TRANSFORMER
a | 1600-800/1-1-1-1A | 1.787 | 4.18 | 1.8617 |  |  |  | CTPT1 | CTPT2 | IT1
b | 1200-600/1-1-1-1-1A | 1.2854 | 4.18 | 1.3391 |  |  |  | CTPT1 | CTPT2 | IT1
c | 1000-500/1-1-1-1-1A | 1.2854 | 4.18 | 1.3391 |  |  |  | CTPT1 | CTPT2 | IT1
d | 800-400/1-1-1-1-1A | 1.2854 | 4.18 | 1.3391 |  |  |  | CTPT1 | CTPT2 | IT1
e | 600-300/1-1-1-1-1A | 1.2854 | 4.18 | 1.3391 |  |  |  | CTPT1 | CTPT2 | IT1
f | 500-250/0.577-1-1-1-1A | 1.5571 | 4.18 | 1.6221 |  |  |  | CTPT1 | CTPT2 | IT1
g | 500-250/1-1-1-1A | 1.5571 | 4.18 | 1.6221 |  |  |  | CTPT1 | CTPT2 | IT1
h | 400-200/1-1-1-1A | 1.6093 | 4.18 | 1.6766 |  |  |  | CTPT1 | CTPT2 | IT1
i | 300-150/1-1-1-1-1A | 1.2854 | 4.18 | 1.3391 |  |  |  | CTPT1 | CTPT2 | IT1
j | 200-100/1-1-1-1-1A | 1.2904 | 4.18 | 1.3443 |  |  |  | CTPT1 | CTPT2 | IT1
3 | 66 kV, CURRENT TRANSFORMER
a | 2000-1000/1-1-1-1-1A | 0.87594 | 2.26 | 0.89574 |  |  |  | CTPT1 | CTPT2 | IT2
b | 1000-500/0.577-1-1-1-1A | 0.87594 | 2.26 | 0.89574 |  |  |  | CTPT1 | CTPT2 | IT2
c | 800-400/1-1-1-1-1A | 0.66738 | 2.26 | 0.68247 |  |  |  | CTPT1 | CTPT2 | IT2
d | 800-400/1-1-1-1A | 0.66738 | 2.26 | 0.68247 |  |  |  | CTPT1 | CTPT2 | IT2
e | 600-300/1-1-1-1-1A | 0.86551 | 2.26 | 0.88507 |  |  |  | CTPT1 | CTPT2 | IT2
f | 600-300/1-1-1A | 0.78209 | 2.26 | 0.79977 |  |  |  | CTPT1 | CTPT2 | IT2
g | 500-250/1-1-1-1-1A | 0.62567 | 2.26 | 0.63981 |  |  |  | CTPT1 | CTPT2 | IT2
h | 400-200/1-1-1-1-1A | 0.62567 | 2.26 | 0.63981 |  |  |  | CTPT1 | CTPT2 | IT2
i | 300-150/0.577-1-1-1-1A | 0.86551 | 2.26 | 0.88507 |  |  |  | CTPT1 | CTPT2 | IT2
j | 200-100/0.577-1-1-1-1A | 0.88637 | 2.26 | 0.9064 |  |  |  | CTPT1 | CTPT2 | IT2
k | 200-100/1-1-1-1-1A | 0.66738 | 2.26 | 0.68247 |  |  |  | CTPT1 | CTPT2 | IT2
l | 200-100/1-1-1-1A | 0.77166 | 2.26 | 0.7891 |  |  |  | CTPT1 | CTPT2 | IT2
m | 150-75/1-1-1A | 0.78209 | 2.26 | 0.79977 |  |  |  | CTPT1 | CTPT2 | IT2
n | 75/1-1-1-1 A | 0.85509 | 2.26 | 0.87441 |  |  |  | CTPT1 | CTPT2 | IT2
o | 50/1-1-1-1 A | 0.85509 | 2.26 | 0.87441 |  |  |  | CTPT1 | CTPT2 | IT2
4 | 33 kV, CURRENT TRANSFORMER | [9 empty] | 57090
a | 1200-600/1-1-1-1-1A | 0.76123 | 2.26 | 0.77844 |  |  |  | CTPT1 | CTPT2 | IT2
b | 1200-600/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2
c | 1000-600/0.577-1-1-1-1A | 0.64653 | 2.26 | 0.66114 |  |  |  | CTPT1 | CTPT2 | IT2 | 10000000
d | 800-400/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2 |  | 31.678
e | 800-400/1-1-1-1-1A | 0.6361 | 2.26 | 0.65048 |  |  |  | CTPT1 | CTPT2 | IT2 | 175.162
f | 300-150/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2 |  |  | 10.56
g | 500-250/0.577-1-1-1-1A | 0.6361 | 2.26 | 0.65048 |  |  |  | CTPT1 | CTPT2 | IT2
h | 600-300/1-1-1-1-1A | 0.58396 | 2.26 | 0.59716 |  |  |  | CTPT1 | CTPT2 | IT2
i | 400-200/1-1-1-1-1A | 0.58396 | 2.26 | 0.59716 |  |  |  | CTPT1 | CTPT2 | IT2
j | 400-200/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2 | 135
k | 300-150/1-1-1-1-1A | 0.58396 | 2.26 | 0.59716 |  |  |  | CTPT1 | CTPT2 | IT2 | 135000
l | 300-150/1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2 | 81270000
m | 200-100/1-1-1-1-1A | 0.50054 | 2.26 | 0.51185 |  |  |  | CTPT1 | CTPT2 | IT2
n | 200-100/0.577-1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2
o | 200-100/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2
p | 400-200/1-1-1A | 0.59439 | 2.26 | 0.60782 |  |  |  | CTPT1 | CTPT2 | IT2
q | 600-300/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2
r | 600-300/1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2
s | 200-100/1-1-1A | 0.4484 | 2.26 | 0.45853 |  |  |  | CTPT1 | CTPT2 | IT2
t | 150-75/1-1-1-1A | 0.57353 | 2.26 | 0.58649 |  |  |  | CTPT1 | CTPT2 | IT2
u | 150-75/1-1-1A | 0.46925 | 2.26 | 0.47986 |  |  |  | CTPT1 | CTPT2 | IT2
v | 10-5/1-1-1A | 0.53182 | 2.26 | 0.54384 |  |  |  | CTPT1 | CTPT2 | IT2
w | 15-7.5/1-1-1A | 0.75081 | 2.26 | 0.76777 |  |  |  | CTPT1 | CTPT2 | IT2
5 | 22 kV, CURRENT TRANSFORMER
a | 600-300/1-1-1-1A | 0.43797 | 2.26 | 0.44787 |  |  |  | CTPT1 | CTPT2 | IT2
b | 200-100/1-1-1-1-1A | 0.56311 | 2.26 | 0.57583 |  |  |  | CTPT1 | CTPT2 | IT2
c | 200-100/1-1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2
d | 400-200/1-1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2
e | 100-50/1-1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2
f | 150-75/1-1-1-1A | 0.52139 | 2.26 | 0.53318 |  |  |  | CTPT1 | CTPT2 | IT2
g | 400-200/1-1-1A | 0.53182 | 2.26 | 0.54384 |  |  |  | CTPT1 | CTPT2 | IT2
24 | FOTE & ACCESSORIES
a | SDH Equipment (STM-4 MADM upto 5MSP Protected Directions) complete in all respects. | 18.1179 | 1.27 | 18.348 | [5 empty] | PLCC
b | SDH Equipment (STM-4 MADM upto 3MSP Protected Directions) complete in all respects. | 14.0095 | 1.27 | 14.1874 | [5 empty] | PLCC
c | Cabinet for SDH, PDH & Digital Protection Coupler including MCB, thimbles, cable clamps, Ferrules, optical fibre cable patch cords, E-1 cable etc. | 0.91179 | 1.27 | 0.92337 | [5 empty] | PLCC
d | Digital Protecion Signalling Equipment | 6.286 | 1.27 | 6.3659 | [5 empty] | PLCC
e | Fibre Distribution Panel (FODP) for termination of OFAC 48F capacity | 0.3969 | 1.27 | 0.40194 | [5 empty] | PLCC
f | Optical Fibre Approach Cable of 24F capacity | 0.8 | 0 | 0.8
g | HDPE pipe 40mm dia | 0.68 | 0 | 0.68
25 | CONTROL & RELAY PANELS
1 | 220 kV
a | Transformer Panel with BCU | 14.5734 | 1.91 | 14.8517 |  |  |  | SWGR1 | SWGR2 | CRP2
b | Bus CouplerPanel with BCU | 7.6472 | 1.91 | 7.7932 |  |  |  | SWGR1 | SWGR2 | CRP2
c | Bus Bar Protection Panel without BCU | 21.4224 | 1.91 | 21.8315 |  |  |  | SWGR1 | SWGR2 | CRP2
d | Feeder Panel with BCU | 17.1096 | 1.91 | 17.4364 |  |  |  | SWGR1 | SWGR2 | CRP2
2 | 132 kV
a | Transformer Panel without diffrential Relay | 10.0289 | 1.91 | 10.2204 |  |  |  | SWGR1 | SWGR2 | CRP2
b | Transformer Panel with diffrential Relay & REF Relay | 6.1737 | 1.91 | 6.2916 |  |  |  | SWGR1 | SWGR2 | CRP2
c | Bus Bar Protection Panel without BCU | 20.6499 | 1.91 | 21.0443 |  |  |  | SWGR1 | SWGR2 | CRP2
d | Bus Coupler Panel with BCU | 8.3964 | 1.91 | 8.5568 |  |  |  | SWGR1 | SWGR2 | CRP2
e | Bus Coupler panel without BCU | 4.0339 | 1.91 | 4.1109 |  |  |  | SWGR1 | SWGR2 | CRP2
f | Feeder Panel without BCU | 4.9049 | 1.91 | 4.9986 |  |  |  | SWGR1 | SWGR2 | CRP2
g | Feeder Panel with BCU | 9.2974 | 1.91 | 9.475 |  |  |  | SWGR1 | SWGR2 | CRP2
3 | 66 kV
a | Transformer Panel (LV) Side without diffrential Relay & with BCU | 9.6062 | 1.91 | 9.7897 |  |  |  | SWGR1 | SWGR2 | CRP2
b | Transformer Panel (HV) Side with diffrential Relay & without BCU | 6.017 | 1.91 | 6.1319 |  |  |  | SWGR1 | SWGR2 | CRP2
c | Transformer Panel with REF and Differential Relay | 6.0441 | 1.91 | 6.1595 |  |  |  | SWGR1 | SWGR2 | CRP2
d | Bus Coupler Panel | 9.2818 | 1.91 | 9.4591 |  |  |  | SWGR1 | SWGR2 | CRP2
e | Feeder Panel without BCU | 4.6147 | 1.91 | 4.7029 |  |  |  | SWGR1 | SWGR2 | CRP2
4 | 33 kV
a | Transformer Panel without diffrential Relay with BCU | 8.8236 | 2.53 | 9.0469 |  |  |  | SWGR1 | SWGR2 | CRP1
b | Transformer Panel without diffrential Relay & without BCU | 5.3133 | 2.53 | 5.4477 |  |  |  | SWGR1 | SWGR2 | CRP1
c | Transformer Panel with diffrential Relay with BCU | 7.1741 | 2.53 | 7.3556 |  |  |  | SWGR1 | SWGR2 | CRP1
d | Transformer Panel with diffrential Relay & REF Relay | 5.2194 | 2.53 | 5.3515 |  |  |  | SWGR1 | SWGR2 | CRP1
e | Transformer Panel with diffrential Relay & without REF | 4.3356 | 2.53 | 4.4453 |  |  |  | SWGR1 | SWGR2 | CRP1
f | Transformer Panel without diffrential Relay & without REF | 2.3756 | 2.53 | 2.4357 |  |  |  | SWGR1 | SWGR2 | CRP1
g | Bus Coupler Panel | 2.8422 | 2.53 | 2.9141 |  |  |  | SWGR1 | SWGR2 | CRP1
h | Feeder Panel | 2.6201 | 2.53 | 2.6864 |  |  |  | SWGR1 | SWGR2 | CRP1
5 | 22 kV
a | Transformer Panel without diffrential Relay without REF Relay | 2.365 | 2.53 | 2.4248 |  |  |  | SWGR1 | SWGR2 | CRP1
b | Feeder Panel without BCU | 2.0999 | 2.53 | 2.153 |  |  |  | SWGR1 | SWGR2 | CRP1
26 | Sub-Station Automation System & Bay Control Unit
a | Complete substation automation equipments including hardware & software including SCADA equipment for substation & remote control stations alongwith associated equipments with fibre optics and other interface converter equipment . | 55.23 | 0 | 55.23
b | Sub-Staion Automation System (Typical for one sub-station) | 17.2183 | 0 | 17.2183
without PRP
c | Bay Control Unit-IEC 61850 Compliance (without PRP) | 3.2361 | 0 | 3.2361
d | Bay Control Unit (with PRP) | 4.9415 | 0 | 4.9415
27 | 33kV GIS Panels
a | 33kV Incomer GIS Panels | 26.8998 | 2.9 | 27.6799 |  |  |  | GIS1 | GIS2 | GIS
b | 33kV Transformer GIS Panels | 20.9355 | 2.9 | 21.5426 |  |  |  | GIS1 | GIS2 | GIS
c | 33kV Station Transformer GIS Panels | 18.2847 | 2.9 | 18.8149 |  |  |  | GIS1 | GIS2 | GIS
28 | RELAYS
a | Numerical Directional 3O/C+1E/F Protection Relay (Communicable with IEC 61850) | 0.78 | 0 | 0.78
b | Numerical Non-Directional 3O/C+1E/F Protection Relay (Communicable with IEC 61850) | 0.55 | 0 | 0.55
c | Numerical Transformer Differential Protection Relay (Communicable with IEC 61850) | 1.11 | 0 | 1.11
d | Numerical Transformer Restricted Earth Fault Relay (Communicable with IEC 61850) | 0.55 | 0 | 0.55
e | Numerical Local Breaker Backup Relay | 0.55 | 0 | 0.55
f | Buchholz Relay | 0.05 | 0 | 0.05
g | Numerical Overflux Relay | 1.11 | 0 | 1.11
h | Master Trip Relay | 0.045 | 0 | 0.045
i | Trip Circuit Supervision Relay | 0.049 | 0 | 0.049
j | Voltage selection Auxiliary Relay | 0.108 | 0 | 0.108
Note on A379: Trilok: