## Abstract Equipment-2
ABSTRACT OF COST (RS IN LAKH) OF VARIOUS EQUIPMENTS REQUIRED IN EHV SUBSTATIONS FOR 2021-22
Sr. | EQUIPMENT | COST | % | NET COST | P. O. |  | ANNEXURES NUMBER |  |  |  | REMARKS
No. |  | AS PER COST DATA/ P.O. | VARIATION | FOR 2021-2022 | NUMBER | DATE | P. O. | IEEMA CIRCULAR |  | PRICE VARIATION
|  | 2020-21 | 01.01.2020 |  | SSD |  | No. | BASE | DELIVERY | CALCULATIONS
|  |  | 30.09.2020 | [5 empty] | SEP-2020.
1 | 2 | 3 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | 3 PHASE, POWER TRANSFORMERS
A | (a) 220 / 132 kV, 80 / 100 MVA | 763.5014 | 5.56 | 805.9521 |  |  |  | M1 | M2 | XER
| (b) 220 / 33 kV, 25 / 31.5 MVA | 447.0883 | 5.56 | 471.9464 |  |  |  | M1 | M2 | XER
| (c) 132 / 33 kV, 50/63 MVA | 391.35 | 0.63 | 393.8155 | SSD-447 | 07.08.2020 | 2776-83 | M1b | M2 | XERb |  | ieema august 20 to sept 20
| (c) 132 / 33 kV, 25 / 31.5 MVA | 244.0194 | 5.56 | 257.5869 |  |  |  | M1 | M2 | XER
| (d) 132 / 33 kV, 16 / 20 MVA | 245.533 | 5.56 | 259.1846 |  |  |  | M1 | M2 | XER
| (e) 132/11 kV, 25 31.5 MVA | 309.2611 | 5.56 | 326.456 |  |  |  | M1 | M2 | XER
| (f) 132 / 11 kV, 16 MVA | 245.533 | 5.56 | 259.1846 |  |  |  | M1 | M2 | XER
| (g) 66 / 22 kV, 25/31.5 MVA | 255.3922 | 5.56 | 269.592 |  |  |  | M1 | M2 | XER
| (h) 66 / 33 kV, 20 MVA | 263.1624 | 5.56 | 277.7942 |  |  |  | M1 | M2 | XER
| (i) 66 / 33 kV,10 MVA | 135.3425 | 5.56 | 142.8675 |  |  |  | M1 | M2 | XER
| (j) 66 / 22 kV, 10 MVA | 144.8086 | 5.56 | 152.86 |  |  |  | M1 | M2 | XER
| (k) 66 / 11 kV, 20 MVA | 263.1624 | 5.56 | 277.7942 |  |  |  | M1 | M2 | XER
| (l) 66 / 11 kV, 10 MVA | 140.4066 | 5.56 | 148.2132 |  |  |  | M1 | M2 | XER
| (m) 66 / 11 kV, 6.3 MVA | 98.3795 | 5.56 | 103.8494 |  |  |  | M1 | M2 | XER
| (n) 33/11 kV,10 MVA | 66.08 | 0.63 | 66.4963 | SSD-447 | 07.08.2020 | 2784-2806 | M1b | M2 | XERb |  | ieema august 20 to sept 20
| (n) 33/11 kV,3.15MVA | 25.4424 | 5.56 | 26.857 |  |  |  | M1 | M2 | XER
| (o) 33/11kV,6.3 MVA | 37.17 | 5.27 | 39.1289 | SSD-396Addl.I | 11.02.2020 | 10698-10706 | M1a | M2 | XERa |  | ieema feb 20 to sept 20
B | Single Phase Power Transformers
(Bank of 3 Nos. of single phase units)
| (a) 220/132 kV, (3 X 1) 53.53/ 66.66 MVA | 1053.2819 | 5.56 | 1111.8443 |  |  |  | M1 | M2 | XER
| (b) 220/132 KV, 3 X 26.67/33.33MVA | 646.9063 | 5.56 | 682.8742 |  |  |  | M1 | M2 | XER
| ( C ) 220 / 66 kV, 3 X 26.67/30/33.33 MVA | 303.0258 | 5.56 | 319.874 |  |  |  | M1 | M2 | XER
| (d) 132 / 66 kV, 3 X 16.67 /21MVA | 217.5646 | 5.56 | 229.6612 |  |  |  | M1 | M2 | XER
C | Station Transformer
| (a) 33/0.433KV,250 kVA | 4.18 | 5.56 | 4.4124 |  |  |  | M1 | M2 | XER
| (b) 11/0.433 kV,250kVA | 3.67 | 5.56 | 3.8741 |  |  |  | M1 | M2 | XER
2 | CIRCUIT BREAKERS i/c structure
a | 245 kV SF - 6 CB | 13.67 | 3.5 | 14.1484 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV SF - 6 CB | 9.842 | 3.5 | 10.1864 |  |  |  | M3 | M4 | SWITCHGEAR1
c | 72.5 kV SF - 6 CB | 4.3383 | 3.5 | 4.4901 |  |  |  | M3 | M4 | SWITCHGEAR1
d | 36 kV VCB | 2.0304 | 4.05 | 2.1127 |  |  |  | M3 | M4 | SWITCHGEAR2
3 | CONTROL & RELAY PANELS | [9 empty] | In 220kV Feeder Panel: Main-I & Main-II distance relay should have different algorithm/manufacturer.
a | 220 kV, Transformer Panel | 6.0613 | 1.3 | 6.1401 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus CouplerPanel | 13.1943 | 1.3 | 13.3658 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel | 8.0119 | 1.3 | 8.116 |  |  |  | M3 | M4 | SWITCHGEAR4
b | 132 kV, Transformer | 5.95 | 1.3 | 5.95 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Coupler Panel | 8.9855 | 1.3 | 9.1023 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel | 4.9897 | 1.3 | 5.0545 |  |  |  | M3 | M4 | SWITCHGEAR4
c | 66 kV, Transformer Panel | 5.915 | 1.3 | 5.9919 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Coupler | 7.3121 | 1.3 | 7.4072 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel | 4.5635 | 1.3 | 4.6229 |  |  |  | M3 | M4 | SWITCHGEAR4
d | 33 kV, Transformer Panel | 3.2408 | 3.01 | 3.3383 |  |  |  | M3 | M4 | SWITCHGEAR3
| Bus Coupler | 1.9464 | 3.01 | 2.005 |  |  |  | M3 | M4 | SWITCHGEAR3
| Feeder Panel | 2.0048 | 3.01 | 2.0651 |  |  |  | M3 | M4 | SWITCHGEAR3
4 | CURRENT TRANSFORMER | [9 empty] | Note :- For prices of various ratio of 220kV,132 kV,66 kV & 33 kV CTs refer Sr. No. 24 .
a | 220kV, CURRENT TRANSFORMER(Highest Rate) | 2.6855 | 2.91 | 2.7637 |  |  |  | M5 | M6 | IT1
b | 132 kV, CURRENT TRANSFORMER | 1.2919 | 2.91 | 1.3295 |  |  |  | M5 | M6 | IT1
c | 66 kV, CURRENT TRANSFORMER | 0.61091 | 2.91 | 0.62869 |  |  |  | M5 | M6 | IT1
d | 33 kV, CURRENT TRANSFORMER | 0.44 | 0 | 0.44 | 401Addl.3 | 10.09.2020 | 4187-4207
5 | POTENTIAL TRANSFORMER
a | 220kV Potential Transformer | 2.1925 | 2.91 | 2.2563 |  |  |  | M5 | M6 | IT1
b | 132kV Potential Transformer | 1.1542 | 2.91 | 1.1878 |  |  |  | M5 | M6 | IT1 |  | ieema from jun 19 to dec 19
c | 66kV Potential Transformer | 0.63136 | 2.91 | 0.64973 |  |  |  | M5 | M6 | IT1 |  | ieema from jun 19 to dec 19
d | 33kV Potential Transformer | 0.27 | 2.88 | 0.27778 | 401 Addl.2 | 30.01.2020 | 10582-91 | M5 | M6 | IT2
6 | ISOLATOR WITH EARTH SWITCH (Motorized) with Structure
a | 245 kV ,2000 A | 6.6833 | 3.5 | 6.9173 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV ,1600A | 3.878 | 3.5 | 4.0138 |  |  |  | M3 | M4 | SWITCHGEAR1 |  | ieema from jan 19 to dec 19
c | i) 72.5 kV,1600 A | 3.33 | 3.5 | 3.4465
| ii) 72.5 kV,1250 A | 2.1805 | 3.5 | 2.2568 |  |  |  | M3 | M4 | SWITCHGEAR1
d | i) 36 kV, 2000 A | 1.9721 | 4.05 | 2.052 |  |  |  | M3 | M4 | SWITCHGEAR2
e | ii) 36 kV,1600 A | 1.9721 | 4.05 | 2.052 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
f | iii) 36 kV,1250 A | 1.6418 | 4.05 | 1.7083 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
ISOLATOR WITH EARTH SWITCH (Motorized) without Structure
a | 245 kV ,2000 A | 5.8923 | 3.5 | 6.0985 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV ,1600A | 3.3786 | 3.5 | 3.4968 |  |  |  | M3 | M4 | SWITCHGEAR1
c | i) 72.5 kV,1600 A | 2.71 | 3.5 | 2.8048
| ii) 72.5 kV,1250 A | 1.8154 | 3.5 | 1.8789 |  |  |  | M3 | M4 | SWITCHGEAR1
d | i) 36 kV, 2000 A | 1.6797 | 4.05 | 1.7477 |  |  |  | M3 | M4 | SWITCHGEAR2
e | ii) 36 kV,1600 A | 1.6418 | 4.05 | 1.7083 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
f | iii) 36 kV,1250 A | 1.3212 | 4.05 | 1.3748 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
7 | ISOLATOR W/O EARTH SWITCH (Motorized) with structure
a | 245 kV ,2000 A | 6.156 | 3.5 | 6.3714 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV ,1600A | 3.4863 | 3.5 | 3.6083 |  |  |  | M3 | M4 | SWITCHGEAR1
c | i) 72.5 kV,1600 A | 2.97 | 3.5 | 3.0739
| ii) 72.5 kV,1250 A | 1.8762 | 3.5 | 1.9419 |  |  |  | M3 | M4 | SWITCHGEAR1
d | i) 36 kV, 2000 A | 1.7293 | 4.05 | 1.7993 |  |  |  | M3 | M4 | SWITCHGEAR2
e | ii) 36 kV, 1600 A | 1.7293 | 4.05 | 1.7993 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
f | iii) 36 kV,1250 A | 1.4378 | 4.05 | 1.4961 |  |  |  | M3 | M4 | SWITCHGEAR2 |  | ieema from jan 19 to dec 19
8 | ISOLATOR W/O EARTH SWITCH (Motorized) without structure
a | 245 kV ,2000 A | 5.3649 | 3.5 | 5.5527 |  |  |  | M3 | M4 | SWITCHGEAR1
b | 145 kV ,1600A | 2.9771 | 3.5 | 3.0813 |  |  |  | M3 | M4 | SWITCHGEAR1
c | i) 72.5 kV,1600 A | 2.36 | 3.5 | 2.4426
| ii) 72.5 kV,1250 A | 1.5314 | 3.5 | 1.585 |  |  |  | M3 | M4 | SWITCHGEAR1
d | i) 36 kV, 2000 A | 1.4182 | 4.05 | 1.4756 |  |  |  | M3 | M4 | SWITCHGEAR2
e | ii) 36 kV, 1600 A | 1.399 | 4.05 | 1.4556 |  |  |  | M3 | M4 | SWITCHGEAR2
f | iii) 36 kV,1250 A | 1.0978 | 4.05 | 1.1423 |  |  |  | M3 | M4 | SWITCHGEAR2
9 | INDOOR SWITCHGEAR BOARD
a | 36 kV, 2000 A, 25 kA I/C | 24.4433 | 5.45 | 25.7754 |  |  |  | M3 | M4 | SWITCHGEAR5
b | 2000 A, 25 kA O/G | 15.5063 | 5.45 | 16.3513 |  |  |  | M3 | M4 | SWITCHGEAR5
c | 2000 A, 25 kA B/C | 24.0805 | 5.45 | 25.3929 |  |  |  | M3 | M4 | SWITCHGEAR5
d | 2000 A, 25 kA Station | 17.1889 | 5.45 | 18.1257 |  |  |  | M3 | M4 | SWITCHGEAR5
a | 24 kV, 1250 A, 25 kA Transformer Panel | 10.1 | 0 | 10.1 | SSD-395Addl.3 | 10.09.2020 | 4173-86 | M3 | M4
b | 1250 A O/G | 7.0557 | 5.45 | 7.4402 |  |  |  | M3 | M4 | SWITCHGEAR5
c | 1250 A B/C | 9.5568 | 5.45 | 10.0777 |  |  |  | M3 | M4 | SWITCHGEAR5
a | 12 kV, 2000 A, 31.5 kA I/C | 10.3955 | 5.45 | 10.9621 |  |  |  | M3 | M4 | SWITCHGEAR5
b | 2000 A,31.5 kA O/G | 8.1028 | 5.45 | 8.5444 |  |  |  | M3 | M4 | SWITCHGEAR5
c | 2000 A, 31.5 kA B/C | 12.3355 | 5.45 | 13.0078 |  |  |  | M3 | M4 | SWITCHGEAR5
d | 2000 A, 31.5 kA Station Transformer panel | 8.9748 | 5.45 | 9.464 |  |  |  | M3 | M4 | SWITCHGEAR5
a | 12 kV, 2000 A, 25 kA I/C | 6.7263 | 5.45 | 7.0929 |  |  |  | M3 | M4 | SWITCHGEAR5
b | 2000 A,25 kA O/G | 5.4815 | 5.45 | 5.7802 |  |  |  | M3 | M4 | SWITCHGEAR5
c | 2000 A, 25 kA B/C | 6.1842 | 5.45 | 6.5213 |  |  |  | M3 | M4 | SWITCHGEAR5
a | 12 kV, 1250 A, 25 kA I/C(Incomer) | 5.86 | 7.05 | 6.2731 | SSD-395Addl.2 | 05.03.2020 | 11314-28 | M3 | M4 | SWITCHGEAR6 |  | ieema from march 2020 to sept 2020 | whether addl. PO dt.5.3.20 to be considered?
b | 1250 A,25 kA O/G(Feeder) | 3.98 | 7.05 | 4.2606 | SSD-395Addl.2 | 05.03.2020 | 11314-28 | M3 | M4 | SWITCHGEAR6 |  | ieema from march 2020 to sept 2020
c | 1250 A, 25 kA B/C(Buscoupler) | 5.26 | 7.05 | 5.6308 | SSD-395Addl.2 | 05.03.2020 | 11314-28 | M3 | M4 | SWITCHGEAR6 |  | ieema from march 2020 to sept 2020
| 1250 A, 25 kA Station Transformer panel | 3.8788 | 5.45 | 4.0902 |  |  |  | M3 | M4 | SWITCHGEAR5
a | 12 kV, 1250 A, 12.5 kA I/C | 3.8049 | 5.45 | 4.0123 |  |  |  | M3 | M4 | SWITCHGEAR5
b | 1250 A,12.5 kA O/G | 3.333 | 5.45 | 3.5147 |  |  |  | M3 | M4 | SWITCHGEAR5
c | 1250 A, 12.5 kA B/C | 2.8512 | 5.45 | 3.0066 |  |  |  | M3 | M4 | SWITCHGEAR5
10 | 415 VOLT, 3 PHASE A. C. DISTRIBUTION BOARD (2 I/C & B/C)
| 800 A I/C & B/C with 12 NO. O/G | 9.6189 | 2 | 9.8113 |  |  |  | M3 | M4 | ACDB |  | separate for 33 kv & 66 kv in PO
11 | D. C. BATTERY
a | 220 VOLT, 400 AH | 9.73 | 0 | 9.73 | SSD-431Addl. | 10.09.2020 | 4243.67 |  |  |  |  | ieema nov 19 to dec 19
b | 220 VOLT, 300 AH | 7.4352 | 0.7 | 7.4872 |  |  |  | M7 | M8 | BATTERY 1
c | 220 VOLT, 200 AH | 6.32 | 0 | 6.32 | SSD-431Addl. | 10.09.2020 | 4243.67 |  |  |  |  | ieema nov 19 to dec 19
d | 48 VOLT,400 AH | 2.55 | 0 | 2.55 | SSD-431Addl. | 10.09.2020 | 4243.67 |  |  |  |  | ieema jan to dec
e | 48 VOLT,200 AH | 1.7112 | 0.7 | 1.7232 |  |  |  | M7 | M8 | BATTERY1 |  | ieema nov 19 to dec 19
f | 30 Volt, 200 AH | 0.78545 | 0.7 | 0.79095 |  |  |  | M7 | M8 | BATTERY1
g | 30 Volt, 100 AH | 0.63 | 0 | 0.63 | SSD-431Addl. | 10.09.2020 | 4243.67 |  |  |  |  | ieema nov 19 to dec 19
12 | D. C. BATTERY CHARGER FOR
a | 220 VOLT, 400 AH | 1.96 | 0 | 1.96 | SSD-432Addl. | 10.09.2020 | 4218-42
b | 220 VOLT, 200 AH | 1.96 | 0 | 1.96 | SSD-432Addl. | 10.09.2020 | 4218-42
| 48 Volt, 200 AH | 1.71 | 3.14 | 1.7637 |  |  |  | M7 | M8
| 30 Volt, 200 AH | 1.6095 | 3.14 | 1.66 |  |  |  | M7 | M8 | BATTERY2
c | 30 Volt, 100 AH | 1.42 | 0 | 1.42 | SSD-432Addl. | 10.09.2020 | 4218-42
d | 220 VOLT,300 AH | 2.7061 | 3.14 | 2.791 |  |  |  | M7 | M8 | BATTERY2
13 | DCDB
a | 220V, D. C. DISTRIBUTION BOARD | 1.04 | 0 | 1.04 | SSD-432Addl. | 10.09.2020 | 4218-42
b | 48V, D. C. DISTRIBUTION BOARD | 1 | 0 | 1 | SSD-432Addl. | 10.09.2020 | 4218-42
c | 30V, D. C. DISTRIBUTION BOARD | 0.85 | 0 | 0.85 | SSD-432Addl. | 10.09.2020 | 4218-42
14 | 220V-30V DC-DC CONVERTER | 0.46112 | 5.38 | 0.48593 |  |  |  | M9 | M10 | PE
15 | SUBSTATION STRUCTURE i/c nuts & bolts
a | PER MT FOR A GRADE | 1.7 | _ | 1.7
b | PER MT FOR C GRADE (For Snow Zone) | 1.73 | _ | 1.73
16 | SCADA SYSTEM COMPLETE
| (a) RTU & LDMS | 14.05 | 0 | 14.05 | 426 | 09.10.19 | 7211-94
| (b) FOTE | 22.03 | 0 | 22.03 | 426 | 09.10.19 | 7211-94
17 | TESTING & MEASURING INSTRUMENTS
I) | Battery Leakage Detector, Meggar | 18.854 | 0 | 18.854
II) | Insulation Tester-Self Dioagnostic 5 kV Megger | 7.381 | 0 | 7.381
III) | 3-Phase Transformer Turns Ratio Tester, Megger | 17.93 | 0 | 17.93
IV) | Digital Multimeter (AC/DC), 2mA-20A, Megger | 0.286 | 0 | 0.286
V) | Digital Clamp Meter, Megger | 0.341 | 0 | 0.341
VI) | Digital Earth Tester, Megger | 3.399 | 0 | 3.399
VII) | All relay Universal Testing Kit | 42.493 | 0 | 42.493
VIII) | Motorized-cum-Manual Oil Test t Set (1kVA Capacity) | 2.827 | 0 | 2.827
ix) | Disturbance Recorder | 50.16 | 0 | 50.16
x) | Providing GPS device for time synchronisation of Protection relays | 8.635 | 0 | 8.635
xi) | Relay Testing Kit | 58.025 | 0 | 58.025
xii) | Tan Delta Testing Kit | 58.751 | 0 | 58.751
xiii) | Circuit breaker Analyzer | 85.602 | 0 | 85.602
xiv) | Battery Leakage Detector | 20.306 | 0 | 20.306
18 | CAPACITOR BANK WITH APFC SYSTEM
A.i | 12.65 kV(11 kV), 3 ( 1.2 +1.8) MVAR, Capactor Bank with APFC Panel | 23.188 | 0 | 23.188
ii | 25.3 kV (22 kV), 4.2 (2x1.2+1.8) MVAR Capactor Bank with APFC Panel | 53.988 | 0 | 53.988
iii | 38 kV( 33 kV), 7.2 (3X2.4) MVAR Capacitor Bank with APFC Panel. | 105.413 | 0 | 105.413
B | RESIDUAL VOLTAGE TRANSFORMER
i | 33kV/3/110-570 | 0.83615 | 2.88 | 0.86023 |  |  |  | M5 | M6 | Ann-IT2
ii | 22kV/3/110-570 | 0.65847 | 2.88 | 0.67743 |  |  |  | M5 | M6 | Ann-IT2
iii) | 11kV/3/110-570 | 0.55395 | 2.88 | 0.5699 |  |  |  | M5 | M6 | Ann-IT2
C | 200KVAR, 7.3KV CAPACITOR CELL | 0.16723 | 2.88 | 0.17205 |  |  |  | M5 | M6 | Ann-IT2
D | 33KV,7.2KVAR, Series Reactor. | 1.4006 | 2.88 | 1.4409 |  |  |  | M5 | M6 | Ann-IT2
19 | 220KV, Capacitor Voltage Transformer. | 1.8568 | 2.91 | 1.9108 |  |  |  | M5 | M6 | Ann-IT1
ii | 132KV, Capacitor Voltage Transformer. | 1.4477 | 2.91 | 1.4898 |  |  |  | M5 | M6 | Ann-IT1
iii | 66KV, Capacitor Voltage Transformer. | 1.1539 | 2.91 | 1.1875 |  |  |  | M5 | M6 | Ann-IT1
19(A) | 125 KVA D G Set with AMF Panel | 10.901 | 2.91 | 11.2182
20 | 1100 V Grade, HR-FRLS Copper Control Cables/LT Cables
1 | 1.1KV PVC, HR FRLS, Copper Control Cable (Un-screened)
| 2Cx2.5mm2 | 0.49619 | 6.71 | 0.52949 |  |  |  | M13 | M14 | Cable
| 4Cx2.5mm2 | 0.86338 | 6.71 | 0.92131 |  |  |  | M13 | M14 | Cable
| 7Cx2.5mm2 | 1.5283 | 6.71 | 1.6308 |  |  |  | M13 | M14 | Cable
| 10Cx2.5mm2 | 2.2726 | 6.71 | 2.4251 |  |  |  | M13 | M14 | Cable
| 12Cx2.5mm2 | 2.3817 | 6.71 | 2.5415 |  |  |  | M13 | M14 | Cable
| 19Cx2.5mm2 | 3.9001 | 6.71 | 4.1618 |  |  |  | M13 | M14 | Cable
| 2Cx4mm2 | 0.78399 | 6.71 | 0.83659 |  |  |  | M13 | M14 | Cable
| 4Cx4mm2 | 1.3199 | 6.71 | 1.4084 |  |  |  | M13 | M14 | Cable
2 | 1.1KV PVC, HR FRLS, Copper Control Cable (Screened)
| 4Cx6mm2 | 2.1833 | 6.71 | 2.3297 |  |  |  | M13 | M14 | Cable
| 7Cx4mm2 | 3.5527 | 6.71 | 3.7911 |  |  |  | M13 | M14
3 | LT Cable, Copper Conductor (Armoured)
| 4Cx10mm2 | 2.6199 | 6.71 | 2.7957 |  |  |  | M13 | M14 | Cable
B | 33kV&11kV HT XLPE Cables and Termination kits |  | 6.71 | [6 empty] | Cable
1 | 33kV,1Cx630 mm2,XLPE,Al Conductor With armoured | 9.3483 | 6.71 | 9.9756 | [5 empty] | Cable
2 | 11kV,1Cx1000 mm2,XLPE, Al Conductor with armoured | 11.085 | 6.71 | 11.8288 | [5 empty] | Cable
3 | 11kV,3Cx185 mm2,XLPE, Al Cond. With armoured | 11.4422 | 6.71 | 12.21 | [5 empty] | Cable
4 | Termination Kits for 33kV,1Cx630 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.12 | 0 | 0.12
ii | Outdoor type | 0.14 | 0 | 0.14
5 | Termination Kits for 11kV,1Cx1000 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.1 | 0 | 0.1
ii | OutdoorType | 0.12 | 0 | 0.12
6 | Termination Kits for 11kV,3Cx185 mm2,XLPE,All. Cond with armoured
I | Indoor Type | 0.102 | 0 | 0.102
II | OutdoorType | 0.113 | 0 | 0.113
21 | BMK
1 | 220 kV & 132 KV BMK | 0.78 | 0 | 0.78 | SSD-444 | 06.02.2020 | 10583-96
2 | 33 KV BMK | 0.68 | 0 | 0.68 | SSD-444 | 06.02.2020 | 10583-96
22 | JUNCTION BOX
1 | 220 kV & 132 KV CT JUNCTION BOX | 0.24 | 0 | 0.24 | SSD-444 | 06.02.2020 | 10583-96
2 | PT JUNCTION BOX | 0.22 | 0 | 0.22 | SSD-444 | 06.02.2020 | 10583-96
3 | CVT JUNCTON BOX | 0.22 | 0 | 0.22 | SSD-444 | 06.02.2020 | 10583-96
23 | SURGE ARRESTOR with surge counter
A | PORCELAIN TYPE
a | 198 kV | 0.71351 | -1.65 | 0.70174 |  |  |  | M15 | M16 | LA1
b | 120 kV | 0.45505 | -1.65 | 0.44754 |  |  |  | M15 | M16 | LA1
c | 60 kV | 0.29123 | -1.65 | 0.28643 |  |  |  | M15 | M16 | LA1
d | 30 kV | 0.054606 | -1.65 | 0.053705 |  |  |  | M15 | M16 | LA1
B | POLYMER TYPE
a | 120 kV | 0.4679 | -0.91 | 0.46364 |  |  |  | M15 | M16 | LA2
b | 60 kV | 0.29946 | -0.91 | 0.29673 |  |  |  | M15 | M16 | LA2
c | 30 kV | 0.056148 | -0.91 | 0.055637 |  |  |  | M15 | M16 | LA2
d | 18 kV | 0.037432 | -0.91 | 0.037091 |  |  |  | M15 | M16 | LA2
e | 9 kV | 0.028074 | -0.91 | 0.027819 |  |  |  | M15 | M16 | LA2
24 | CURRENT TRANSFORMER
220 kV, TRANSFORMER
a | 2000-1000/1-1-1-1-1A | 2.6855 | 2.91 | 2.7637 |  |  |  | M5 | M6 | IT1
| 1500-750/1-1-1-1-1A | 2.6121 | 2.91 | 2.6881 |  |  |  | M5 | M6 | IT1
| 800-400/1-1-1-1-1A | 2.4337 | 2.91 | 2.5046 |  |  |  | M5 | M6 | IT1
| 600-300/1-1-1-1-1A | 2.6645 | 2.91 | 2.7421 |  |  |  | M5 | M6 | IT1
| 300-150/0.577-1-1-1-1A | 2.2134 | 2.91 | 2.2779 |  |  |  | M5 | M6 | IT1
b | 132 kV, TRANSFORMER
| 1600-800/1-1-1-1A | 1.3008 | 2.91 | 1.3386 |  |  |  | M5 | M6 | IT1
| 1200-600/0.577-1-1-1-1A | 1.2919 | 2.91 | 1.3295 |  |  |  | M5 | M6 | IT1 |  | ieema nov 19 to dec 19
| 800-400/1-1-1-1-1A | 1.2318 | 2.91 | 1.2677 |  |  |  | M5 | M6 | IT1 |  | ieema nov 19 to dec 19
| 600-300/1-1-1-1-1A | 1.2059 | 2.91 | 1.241 |  |  |  | M5 | M6 | IT1
| 500-250/0.577-1-1-1-1A | 1.133 | 2.91 | 1.1659 |  |  |  | M5 | M6 | IT1
| 500-250/1-1-1-1A | 1.133 | 2.91 | 1.1659 |  |  |  | M5 | M6 | IT1
| 400-200/1-1-1-1A | 1.1749 | 2.91 | 1.2091 |  |  |  | M5 | M6 | IT1
| 300-150/1-1-1-1-1A | 1.1471 | 2.91 | 1.1804 |  |  |  | M5 | M6 | IT1
| 200-100/1-1-1-1-1A | 1.0176 | 2.91 | 1.0472 |  |  |  | M5 | M6 | IT1
c | 66 kV, TRANSFORMER
| 2000-1000/1-1-1-1-1A | 0.60844 | 2.91 | 0.62614 |  |  |  | M5 | M6 | IT1
| 1000-500/0.577-1-1-1-1A | 0.60844 | 2.91 | 0.62614 |  |  |  | M5 | M6 | IT1
| 800-400/1-1-1-1-1A | 0.59804 | 2.91 | 0.61545 |  |  |  | M5 | M6 | IT1 |  | ieema Jan 19 to dec 19
| 800-400/1-1-1-1A | 0.61 | 2.91 | 0.61 |  |  |  | M5 | M6 | IT1 |  | ieema Jun 19 to dec 19
| 600-300/1-1-1-1-1A | 0.60176 | 2.91 | 0.61928 |  |  |  | M5 | M6 | IT1 |  | ieema Jun 19 to dec 19
| 600-300/1-1-1A | 0.54549 | 2.91 | 0.56137 |  |  |  | M5 | M6 | IT1
| 500-250/1-1-1-1A | 0.56648 | 2.91 | 0.58296 |  |  |  | M5 | M6 | IT1
| 400-200/0.577-1-1-1-1A | 0.61497 | 2.91 | 0.63286 |  |  |  | M5 | M6 | IT1
| 300-150/0.577-1-1-1-1A | 0.59804 | 2.91 | 0.61545 |  |  |  | M5 | M6 | IT1
| 200-100/0.577-1-1-1-1A | 0.61091 | 2.91 | 0.62869 |  |  |  | M5 | M6 | IT1 |  | ieema Nov 19 to dec 19
| 200-100/1-1-1-1-1A | 0.61091 | 2.91 | 0.62869 |  |  |  | M5 | M6 | IT1 |  | ieema Nov 19 to dec 19
| 150-75/1-1-1A | 0.54549 | 2.91 | 0.56137 |  |  |  | M5 | M6 | IT1
| 75/1-1-1-1 A | 0.59481 | 2.91 | 0.61211 |  |  |  | M5 | M6 | IT1
| 50/1-1-1-1 A | 0.59481 | 2.91 | 0.61211 |  |  |  | M5 | M6 | IT1
d | 33 kV, TRANSFORMER
| 1200-600/0.577-1-1-1-1A | 0.58494 | 2.88 | 0.60179 |  |  |  | M5 | M6 | IT2 |  | ieema Jan 19 to dec 19
| 1000-600/0.577-1-1-1-1A | 0.44943 | 2.88 | 0.46238 |  |  |  | M5 | M6 | IT2
| 800-400/1-1-1-1-1A | 0.43898 | 2.88 | 0.45162 |  |  |  | M5 | M6 | IT2
| 300-150/1-1-1-1A | 0.43898 | 2.88 | 0.45162 |  |  |  | M5 | M6 | IT2
| 500-250/0.577-1-1-1-1A | 0.43898 | 2.88 | 0.45162 |  |  |  | M5 | M6 | IT2
| 600-300/0.577-1-1-1-1A | 0.44943 | 2.88 | 0.46238 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1-1-1A | 0.42896 | 2.88 | 0.44131 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1-1A | 0.44 | 0 | 0.44 | 401Addl.3 | 10.09.2020 | 4187-4207 |  |  |  |  | ieema Jan 19 to dec 19
| 300-150/1-1-1-1-1A | 0.35536 | 2.88 | 0.3656 |  |  |  | M5 | M6 | IT2
| 300-150/1-1-1A | 0.32401 | 2.88 | 0.33334 |  |  |  | M5 | M6 | IT2
| 200-100/1-1-1-1-1A | 0.4 | 2.88 | 0.41152 |  |  |  | M5 | M6 | IT2
| 200-100/0.577-1-1-1-1A | 0.4 | 2.88 | 0.41152 |  |  |  | M5 | M6 | IT2
| 200-100/1-1-1-1A | 0.32401 | 2.88 | 0.33334 |  |  |  | M5 | M6 | IT2
| 400-200/1-1-1A | 0.41 | 2.88 | 0.42181 | 401Addl.2 | 30.01.2020 | 10582-91 | M5 | M6 | IT2
| 600-300/1-1-1-1A | 0.44 | 0 | 0.44 | 401Addl.3 | 10.09.2020 | 4187-4207
| 600-300/1-1-1A | 0.36071 | 2.88 | 0.3711 |  |  |  | M5 | M6 | IT2 |  | ieema Jan 19 to dec 19
| 200-100/1-1-1A | 0.35234 | 0 | 0.35234 | 401Addl.3 | 10.09.2020 | 4187-4207
| 150-75/1-1-1A | 0.32401 | 2.88 | 0.33334 |  |  |  | M5 | M6 | IT2
| 10-5/1-1-1A | 0.52 | 2.88 | 0.53498 |  |  |  | M5 | M6 | IT2
| 15-7.5/1-1-1A | 0.52 | 2.88 | 0.53498 |  |  |  | M5 | M6 | IT2
e | 22 kV, TRANSFORMER
| 200-100/1-1-1-1-1A | 0.4 | 0 | 0.4 | 401Addl.3 | 10.09.2020 | 4187-4207
25 | Fote & other accessary
i | SDH Equipment (STM-4 MADM upto 5MSP Protected Directions) complete in all respects. | 16.89 | 0 | 16.89 | 426 | 9.10.2019 | 7211-94
ii | SDH Equipment (STM-4 MADM upto 3MSP Protected Directions) complete in all respects. | 13.06 | 0 | 13.06 | 426 | 9.10.2019 | 7211-94
iii | Cabinet for SDH, PDH & Digital Protection Coupler including MCB, thimbles, cable clamps, Ferrules, optical fibre cable patch cords, E-1 cable etc. | 0.85 | 0 | 0.85 | 426 | 9.10.2019 | 7211-94
iv | Digital Protecion Signalling Equipment | 5.86 | 0 | 5.86 | 426 | 9.10.2019 | 7211-94
v | Fibre Distribution Panel (FODP) for termination of OFAC 48F capacity | 0.37 | 0 | 0.37 | 426 | 9.10.2019 | 7211-94
vi | Optical Fibre Approach Cable of 24F capacity | 0.8 | 0 | 0.8 | 426 | 9.10.2019 | 7211-94
vii | HDPE pipe 40mm dia | 0.68 | 0 | 0.68 | 426 | 9.10.2019 | 7211-94
26 | CONTROL & RELAY PANELS
a | 220 kV, Transformer Panel(HV side) with BCU | 11.4803 | 1.3 | 11.6296 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus CouplerPanel with BCU | 6.0241 | 1.3 | 6.1024 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Bar Protection Panel without BCU | 16.8757 | 1.3 | 17.0951 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel with BCU | 13.4782 | 1.3 | 13.6534 |  |  |  | M3 | M4 | SWITCHGEAR4
b | 132 kV, Transformer Panel (LV side) without diffrential Relay | 7.9003 | 1.3 | 8.003 |  |  |  | M3 | M4 | SWITCHGEAR4
| Transformer Panel (HV side) with diffrential Relay | 10.3343 | 1.3 | 10.4687 |  |  |  | M3 | M4 | SWITCHGEAR4
| Transformer Panel (HV side) without diffrential Relay | 7.7989 | 1.3 | 7.9003 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Bar Protection Panel without BCU | 16.2672 | 1.3 | 16.4786 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Coupler Panel with BCU | 5.8619 | 1.3 | 5.9381 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel without BCU | 9.7461 | 1.3 | 9.8728 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel with BCU | 9.6345 | 1.3 | 9.7598 |  |  |  | M3 | M4 | SWITCHGEAR4
c | 66 kV, Transformer Panel (LV) Side without diffrential Relay & with BCU | 7.5657 | 1.3 | 7.664 |  |  |  | M3 | M4 | SWITCHGEAR4
| Transformer Panel (HV) Side with diffrential Relay & without BCU | 7.4744 | 1.3 | 7.5715 |  |  |  | M3 | M4 | SWITCHGEAR4
| Bus Coupler | 7.3121 | 1.3 | 7.4072 |  |  |  | M3 | M4 | SWITCHGEAR4
| Feeder Panel without BCU | 8.59 | 1.3 | 8.7016 |  |  |  | M3 | M4 | SWITCHGEAR4
d | 33 kV, Transformer Panel (LV side) without diffrential Relay with BCU | 6.3174 | 3.01 | 6.5075 |  |  |  | M3 | M4 | SWITCHGEAR3
| Transformer Panel (LV side) without diffrential Relay & without BCU | 3.8086 | 3.01 | 3.9232 |  |  |  | M3 | M4 | SWITCHGEAR3
| Bus Coupler | 2.9219 | 3.01 | 3.0099 |  |  |  | M3 | M4 | SWITCHGEAR3
| Feeder Panel without BCU | 2.6902 | 3.01 | 2.7711 |  |  |  | M3 | M4 | SWITCHGEAR3
27 | Sub-Station Automation System & Bay Control Unit
i) | Sub-Staion Automation System (Typical for one sub-station)(SAS)220 KV | 41.0837 | 1.3 | 41.6178 |  |  |  | M3 | M4 | SWITCHGEAR4
Sub-Station with PRP
ii) | Sub-Staion Automation System (Typical for one sub-station) | 16.9974 | 1.3 | 17.2183 |  |  |  | M3 | M4 | SWITCHGEAR4
without PRP
iii) | Bay Control Unit-IEC 61850 Compliance (without PRP) | 3.1946 | 1.3 | 3.2361 |  |  |  | M3 | M4 | SWITCHGEAR4
iv) | Bay Control Unit (with PRP) | 4.8781 | 1.3 | 4.9415 |  |  |  | M3 | M4 | SWITCHGEAR4
Superintending Engineer (Design,) Electrical System, HPSEBL, Hamirpur (H.P.)

## Sheet1
0.34 | 0.4012
1.9419