## Abstract Equipment-2
ABSTRACT OF COST (RS IN LAKH) OF VARIOUS EQUIPMENTS REQUIRED IN EHV SUBSTATIONS FOR 2023-24
Sr. | EQUIPMENT | COST | % | NET COST | P. O. |  | ANNEXURES NUMBER
No. |  | AS PER COST DATA/ P.O.(Including GST)2022-23 | VARIATION | FOR 2023-24 | NUMBER | DATE | P. O. | IEEMA CIRCULAR |  | PRICE VARIATION
|  |  | 01.08.2021 |  | SSD |  | No. | BASE | DELIVERY | CALCULATIONS
|  |  | 01.08.2022 | [5 empty] | SEP-2022.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | 3 PHASE, POWER TRANSFORMERS
A | (a) 220 / 132 kV, 80 / 100 MVA | 1080.2175 | 15.46 | 1247.2192 |  |  |  | M1 | M2 | XER1
| (b) 220 / 33 kV, 25 / 31.5 MVA | 632.5498 | 15.46 | 730.342 |  |  |  | M1 | M2 | XER1
| (c) 132 / 33 kV, 50/63 MVA | 524.5224 | 15.46 | 605.6135 |  |  |  | M1 | M2 | XER1 | 331.65 | 391.347
| (c) 132 / 33 kV, 25 / 31.5 MVA | 314.47 | 15.46 | 363.0871 | SSD-472 | 30.09.2021 | 5634-41 | M1 | M2 | XER1
| (d) 132 / 33 kV, 16 / 20 MVA | 347.3851 | 15.46 | 401.0909 |  |  |  | M1 | M2 | XER1
| (e) 132/11 kV, 25 31.5 MVA | 437.549 | 15.46 | 505.1941 |  |  |  | M1 | M2 | XER1
| (f) 132 / 11 kV, 16 MVA | 347.3851 | 15.46 | 401.0909 |  |  |  | M1 | M2 | XER1
| (g) 66 / 22 kV, 25/31.5 MVA | 361.3342 | 15.46 | 417.1965 |  |  |  | M1 | M2 | XER1
| (h) 66 / 33 kV, 20 MVA | 372.3276 | 15.46 | 429.8895 |  |  |  | M1 | M2 | XER1
| (i) 66 / 33 kV,10 MVA | 191.4853 | 15.46 | 221.0889 |  |  |  | M1 | M2 | XER1
| (j) 66 / 22 kV, 10 MVA | 156.94 | 15.46 | 181.2029 | SSD-472 | 30.09.2021 | 5634-41 | M1 | M2 | XER1
| (k) 66 / 11 kV, 20 MVA | 372.3276 | 15.46 | 429.8895 |  |  |  | M1 | M2 | XER1
| (l) 66 / 11 kV, 10 MVA | 198.6501 | 15.46 | 229.3614 |  |  |  | M1 | M2 | XER1
| (m) 66 / 11 kV, 6.3 MVA | 105.61 | 9.41 | 115.5479 | SSD-475 | 09.11.2021 | 6505-12 | M3 | M2 | XER2
| (n) 33/11 kV,10 MVA | 92.39 | 0 | 92.39 | SSD-491 | 26.07.2022 | 3726-58 |  |  |  | 56 | 66.08
| (n) 33/11 kV,3.15MVA | 29.73 | 0 | 29.73 | SSD-491 | 26.07.2022 | 3726-58 |  |  |  | 19.8 | 23.364
| (o) 33/11kV,6.3 MVA | 45.66 | 0 | 45.66 | SSD-491 | 26.07.2022 | 3726-58 |  |  |  | 28.76 | 33.9368
| (o) 33/22kV,6.3 MVA | 45.8054 | 15.46 | 52.8869 |  |  |  | M1 | M2 | XER1 |  | 0
| (p) 33/22kV,3.15 MVA | 30.79 | 0 | 30.79 | SSD-491 | 26.07.2022 | 3726-58
| (q) 22/11kV, 5MVA | 51.52 | 9.41 | 56.368 | SSD-475 | 09.11.2021 | 6516-25 | M3 | M2 | XER2
B | Single Phase Power Transformers | [10 empty] | 0
| (Bank of 3 Nos. of single phase units) | [10 empty] | 0
| (a) 220/132 kV, (3 X 1) 53.53/ 66.66 MVA | 1490.2049 | 15.46 | 1720.5906 |  |  |  | M1 | M2 | XER1 |  | 0
| (b) 220/132 KV, 3 X 26.67/33.33MVA | 915.2564 | 15.46 | 1056.755 |  |  |  | M1 | M2 | XER1 |  | 0
| ( C ) 220 / 66 kV, 3 X 26.67/30/33.33 MVA | 428.7272 | 15.46 | 495.0084 |  |  |  | M1 | M2 | XER1 |  | 0
| (d) 132 / 66 kV, 3 X 16.67 /21MVA | 307.8149 | 15.46 | 355.4031 |  |  |  | M1 | M2 | XER1 |  | 0
C | Station Transformer | [10 empty] | 0
| (a) 33/0.433KV,630 kVA | 12.61 | 14.43 | 14.4296 | SSD-472 | 30.09.2021 | 5615-33 | M1 | M2 | XER3
| (b) 33/0.433KV,250 kVA | 6.46 | 14.43 | 7.3922 | SSD-472 | 30.09.2021 | 5615-33 | M1 | M2 | XER3 |  | 0
| (c) 11/0.433 kV,250kVA | 5.67 | 14.43 | 6.4882 | SSD-472 | 30.09.2021 | 5615-33 | M1 | M2 | XER3 |  | 0
| (d) 33/0.433KV,100 kVA | 3.78 | 0 | 3.78 | SSD-491 | 26.07.2022 | 3726-58 |  |  |  | 2.25 | 2.655
2 | CIRCUIT BREAKERS | [10 empty] | 0
a | 245 kV SF - 6 CB | 16.6485 | 5.05 | 17.4892 |  |  |  | M4 | M5 | SWITCHGEAR11 |  | 0
b | 145 kV SF - 6 CB | 10.9404 | 5.05 | 11.4929 |  |  |  | M4 | M5 | SWITCHGEAR11 | 8.75 | 10.325
c | 72.5 kV SF - 6 , 1600A CB | 4.72 | 1.47 | 4.7894 | SSD-476 | 03.01.2022 | 8111-20 | M6 | M5 | SWITCHGEAR13 | 3.8 | 4.484
d | 36 kV , 1250 A VCB | 2.42 | -0.17 | 2.4159 | SSD-476 | 14.12.2021 | 7449-90 | M6 | M5 | SWITCHGEAR12 | 1.98 | 2.3364
4 | CURRENT TRANSFORMER
a | 220kV, CURRENT TRANSFORMER (Highest Rate) | 3.22 | 8.34 | 3.4885 |  |  |  | M7 | M8 | IT1
b | 132 kV, CURRENT TRANSFORMER | 1.5801 | 8.34 | 1.7119 |  |  |  | M7 | M8 | IT1
c | 66 kV, CURRENT TRANSFORMER | 0.80293 | 5.52 | 0.84726 |  |  |  | M7 | M8 | IT3
d | 33 kV, CURRENT TRANSFORMER | 0.68826 | 5.52 | 0.72625 |  |  |  | M7 | M8 | IT3
e | 22 kV, CURRENT TRANSFORMER | 0.52 | -1.75 | 0.5109 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4
5 | POTENTIAL TRANSFORMER
a | 220kV Potential Transformer | 2.6606 | 8.34 | 2.8825 |  |  |  | M7 | M8 | IT1
b | 132kV Potential Transformer | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2
c | 66kV Potential Transformer | 0.82808 | 5.52 | 0.87379 |  |  |  | M7 | M8 | IT3
d | 33kV Potential Transformer | 0.49 | -1.75 | 0.48142 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.28 | 0.3304
e | 22kV Potential Transformer | 0.39407 | 5.52 | 0.41582 |  |  |  | M7 | M8 | IT3 | 0.28 | 0.3304
6 | ISOLATOR WITH EARTH SWITCH (Motorized) with Structure | [10 empty] | 0
a | 245 kV ,2000 A (altitude above 1000 meter) | 7.0769 | 2 | 7.2184 |  |  |  | M10 | M11 | SWITCHGEAR1 | 5.66 | 6.6788
| 245 kV ,2000 A (upto 1000 meter) | 6.4392 | 2 | 6.568 |  |  |  | M10 | M11 | SWITCHGEAR1 | 5.15 | 6.077
b | 145 kV ,1600A (altitude above 1000 meter) | 4.6692 | 2 | 4.7626 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
c | i) 72.5 kV,1600 A | 4.0094 | 2 | 4.0896 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
| ii) 72.5 kV,1250 A | 2.6253 | 2 | 2.6778 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
d | i) 36 kV, 2000 A | 2.4762 | 2.32 | 2.5336 |  |  |  | M10 | M11 | SWITCHGEAR4 |  | 0
e | ii) 36 kV,1600 A (altitude above 1000 meter) | 2 | -2.08 | 1.9584 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 1.63 | 1.9234
Mandatory Spares for 36kV , 1600A Isolators
1 | Isolator blades for main contact arm | 0.08 |  |  | 489 | 26.02.2022 | 9841-93
2 | Female contact assembly | 0.035 |  |  | 489 | 26.02.2022 | 9841-93
3 | Bearing for central rotating(Top & Bottom) per pole | 0.008 |  |  | 489 | 26.02.2022 | 9841-93
4 | Isolator blades for earthing switch | 0.03 |  |  | 489 | 26.02.2022 | 9841-93
5 | Pair of 10NO & 10 NC Auxilliary contacts | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
6 | Solid core insulators with end fittings for isolators | 0.02 |  |  | 489 | 26.02.2022 | 9841-93
| 36 kV,1600 A (upto 1000 meter) | 1.7647 | 2.32 | 1.8056 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.39 | 1.6402
f | iii) 36 kV,1250 A(upto 1000 meter) | 2 | -2.08 | 1.9584 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 1.3 | 1.534
Mandatory Spares for 36kV , 1250A Isolators
1 | Isolator blades for main contact arm | 0.059 |  |  | 489 | 26.02.2022 | 9841-93
2 | Female contact assembly | 0.029 |  |  | 489 | 26.02.2022 | 9841-93
3 | Bearing for central rotating(Top & Bottom) per pole | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
4 | Isolator blades for earthing switch | 0.026 |  |  | 489 | 26.02.2022 | 9841-93
5 | Pair of 10NO & 10 NC Auxilliary contacts | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
6 | Solid core insulators with end fittings for isolators | 0.02 |  |  | 489 | 26.02.2022 | 9841-93
| ISOLATOR WITH EARTH SWITCH (Motorized) without Structure | [10 empty] | 0
a | 245 kV ,2000 A (altitude above 1000 meter) | 5.6015 | 2 | 5.7135 |  |  |  | M10 | M11 | SWITCHGEAR1 | 4.48 | 5.2864
| 245 kV ,2000 A (upto 1000 meter) | 5.539 | 2 | 5.6497 |  |  |  | M10 | M11 | SWITCHGEAR1 | 4.43 | 5.2274
b | 145 kV ,1600A (altitude above 1000 meter) | 3.24 | -3.33 | 3.1321 | SSD-493/21 | 03.06.2022 | 1935-55 | M12 | M11 | SWITCHGEAR2 |  | 0
Mandatory Spares for 145kV , 1600A Isolators
1 | Isolator blades for main contact arm | 0.41 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
2 | Female contact assembly | 0.18 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
3 | Bearing for central rotating(Top & Bottom) per pole | 0.024 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
4 | Isolator blades for earthing switch | 0.18 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
5 | Pair of 10NO & 10 NC Auxilliary contacts | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
6 | Solid core insulators with end fittings for isolators | 0.12 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
c | i) 72.5 kV,1600 A | 3.2629 | 2 | 3.3281 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
| ii) 72.5 kV,1250 A | 2.1857 | 2 | 2.2294 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
d | i) 36 kV, 2000 A | 2.109 | 2.32 | 2.1579 |  |  |  | M10 | M11 | SWITCHGEAR4 |  | 0
e | i) 36 kV,1600 A (altitude above 1000 meter) | 1.42 | -2.08 | 1.3905 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 1.41 | 1.6638
| 36 kV,1600 A (upto 1000 meter) | 1.5235 | 2.32 | 1.5588 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.2 | 1.416
f | ii) 36 kV,1250 A(altitude above 1000 meter) | 1.28 | -2.08 | 1.2534 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 1.09 | 1.2862
| iii) 36 kV,1250 A(upto 1000 meter) | 1.42 | -2.08 | 1.3905 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3
g | i)24kV, 1600A (altitude above 1000 meter) | 1.38 | -2.08 | 1.3513 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3
Mandatory Spares for 24kV , 1600A Isolators
1 | Isolator blades for main contact arm | 0.08 |  |  | 489 | 26.02.2022 | 9841-93
2 | Female contact assembly | 0.035 |  |  | 489 | 26.02.2022 | 9841-93
3 | Bearing for central rotating(Top & Bottom) per pole | 0.008 |  |  | 489 | 26.02.2022 | 9841-93
4 | Isolator blades for earthing switch | 0.03 |  |  | 489 | 26.02.2022 | 9841-93
5 | Pair of 10NO & 10 NC Auxilliary contacts | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
6 | Solid core insulators with end fittings for isolators | 0.02 |  |  | 489 | 26.02.2022 | 9841-93
| ii) 24kV, 1250A (altitude above 1000 meter) | 1.24 | -2.08 | 1.2142 | 489 | 26.02.2022 | 9841-93 | M10 | M11 | SWITCHGEAR4
Mandatory Spares for 24kV , 1250A Isolators
1 | Isolator blades for main contact arm | 0.059 |  |  | 489 | 26.02.2022 | 9841-93
2 | Female contact assembly | 0.029 |  |  | 489 | 26.02.2022 | 9841-93
3 | Bearing for central rotating(Top & Bottom) per pole | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
4 | Isolator blades for earthing switch | 0.026 |  |  | 489 | 26.02.2022 | 9841-93
5 | Pair of 10NO & 10 NC Auxilliary contacts | 0.01 |  |  | 489 | 26.02.2022 | 9841-93
6 | Solid core insulators with end fittings for isolators | 0.02 |  |  | 489 | 26.02.2022 | 9841-93
7 | ISOLATOR W/O EARTH SWITCH (Motorized) with structure | [10 empty] | 0
a | 245 kV ,2000 A (altitude above 1000 meter) | 6.4017 | 2 | 6.5297 |  |  |  | M10 | M11 | SWITCHGEAR1 | 5.12 | 6.0416
| 245 kV ,2000 A (upto 1000 meter) | 5.8765 | 2 | 5.9941 |  |  |  | M10 | M11 | SWITCHGEAR1 | 4.7 | 5.546
b | 145 kV ,1600A | 3.5509 | 2 | 3.622 |  |  |  | M10 | M11 | SWITCHGEAR1 | 2.84 | 3.3512
c | i) 72.5 kV,1600 A(altitude above 1000 meter) | 3.2 | -3.33 | 3.0934 | SSD-493/21 | 03.06.2022 | 1935-55 | M12 | M11 | SWITCHGEAR2 |  | 0
Mandatory Spares for 72.5kV , 1600A Isolators
| Isolator blades for main contact arm | 0.35 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Female contact assembly | 0.21 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Bearing for central rotating(Top & Bottom) per pole | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Pair of 10NO & 10 NC Auxilliary contacts | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Solid core insulators with end fittings for isolators | 0.11 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| ii) 72.5 kV,1250 A | 2.259 | 2 | 2.3042 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
d | i) 36 kV, 2000 A | 2.1712 | 2.32 | 2.2216 |  |  |  | M10 | M11 | SWITCHGEAR4 |  | 0
e | ii) 36 kV,1600 A (altitude above 1000 meter) | 1.7266 | 2.32 | 1.7667 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.36 | 1.6048
| 36 kV,1600 A (upto 1000 meter) | 1.5235 | 2.32 | 1.5588 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.2 | 1.416
f | iii) 36 kV,1250 A (upto 1000 meter) | 1.7 | -2.08 | 1.6646 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 1.15 | 1.357
8 | ISOLATOR W/O EARTH SWITCH (Motorized) without structure | [10 empty] | 0
a | 245 kV ,2000 A (altitude above 1000 meter) | 5.3764 | 2 | 5.4839 |  |  |  | M10 | M11 | SWITCHGEAR1 | 4.3 | 5.074
| 245 kV ,2000 A (upto 1000 meter) | 4.9763 | 2 | 5.0758 |  |  |  | M10 | M11 | SWITCHGEAR1 | 3.98 | 4.6964
b | 145 kV ,1600A(upto 1000 meter) | 2.83 | -3.33 | 2.7358 | SSD-493/21 | 03.06.2022 | 1935-55 | M12 | M11 | SWITCHGEAR2 | 2.33 | 2.7494
Mandatory Spares for 145kV , 1600A Isolators
| Isolator blades for main contact arm | 0.41 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Female contact assembly | 0.18 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Bearing for central rotating(Top & Bottom) per pole | 0.024 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Pair of 10NO & 10 NC Auxilliary contacts | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Solid core insulators with end fittings for isolators | 0.12 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
c | i) 72.5 kV,1600 A(altitude above 1000 meter) | 2.49 | -3.33 | 2.4071 | SSD-493/21 | 03.06.2022 | 1935-55 | M12 | M11 | SWITCHGEAR2 |  | 0
Mandatory Spares for 72.5kV , 1600A Isolators
| Isolator blades for main contact arm | 0.35 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Female contact assembly | 0.21 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Bearing for central rotating(Top & Bottom) per pole | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Pair of 10NO & 10 NC Auxilliary contacts | 0.02 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| Solid core insulators with end fittings for isolators | 0.11 |  |  | SSD-493/21 | 03.06.2022 | 1935-55
| ii) 72.5 kV,1250 A | 1.8438 | 2 | 1.8807 |  |  |  | M10 | M11 | SWITCHGEAR1 |  | 0
d | i) 36 kV, 2000 A | 1.7806 | 2.32 | 1.8219 |  |  |  | M10 | M11 | SWITCHGEAR4 |  | 0
e | ii) 36 kV,1600 A (altitude above 1000 meter) | 1.4473 | 2.32 | 1.4809 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.14 | 1.3452
| 36 kV,1600 A (upto 1000 meter) | 1.2823 | 2.32 | 1.312 |  |  |  | M10 | M11 | SWITCHGEAR4 | 1.01 | 1.1918
f | iii) 36 kV,1250 A(altitude above 1000 meter) | 1.03 | -2.08 | 1.0086 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3 | 0.94 | 1.1092
| iv) 36 kV,1250 A(upto 1000 meter) | 1.12 | -2.08 | 1.0967 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3
| i)24kV, 1600A (altitude above 1000 meter) | 1.08 | -2.08 | 1.0575 | 489 | 26.02.2022 | 9841-93 | M13 | M11 | SWITCHGEAR3
9 | INDOOR SWITCHGEAR BOARD
a | 36 kV, 2000 A, 25 kA I/C | 32.3121 | 2.01 | 32.9615 |  |  |  | M14 | M15 | SWITCHGEAR5
b | 2000 A, 25 kA O/G | 11.0815 | 2.01 | 11.3042 |  |  |  | M14 | M15 | SWITCHGEAR5 | 9.07 | 10.7026
c | 2000 A, 25 kA B/C | 31.8326 | 2.01 | 32.4724 |  |  |  | M14 | M15 | SWITCHGEAR5
d | 2000 A, 25 kA Station | 22.7223 | 2.01 | 23.1791 |  |  |  | M14 | M15 | SWITCHGEAR5
a | 24 kV, 1250A, 25 kA
b | 1250 A ,O/G | 11.2403 | 2.01 | 11.4662 |  |  |  | M14 | M15 | SWITCHGEAR5 | 9.2 | 10.856
a | 1250 A, 25 kA I/C | 12.6614 | 2.01 | 12.9159 |  |  |  | M14 | M15 | SWITCHGEAR5
c | 1250 A B/C | 12.6334 | 2.01 | 12.8873 |  |  |  | M14 | M15 | SWITCHGEAR5
a | 12 kV, 2000 A, 31.5 kA I/C | 13.7421 | 2.01 | 14.0183 |  |  |  | M14 | M15 | SWITCHGEAR5
b | 2000 A,31.5 kA O/G | 10.7113 | 2.01 | 10.9266 |  |  |  | M14 | M15 | SWITCHGEAR5
c | 2000 A, 31.5 kA B/C | 16.3065 | 2.01 | 16.6343 |  |  |  | M14 | M15 | SWITCHGEAR5
d | 2000 A, 31.5 kA Station Transformer panel | 11.864 | 2.01 | 12.1025 |  |  |  | M14 | M15 | SWITCHGEAR5
a | 12 kV, 2000 A, 25 kA I/C | 8.8917 | 2.01 | 9.0704 |  |  |  | M14 | M15 | SWITCHGEAR5
b | 2000 A,25 kA O/G | 7.2461 | 2.01 | 7.3917 |  |  |  | M14 | M15 | SWITCHGEAR5
c | 2000 A, 25 kA B/C | 8.175 | 2.01 | 8.3394 |  |  |  | M14 | M15 | SWITCHGEAR5
a | 12 kV, 1250 A, 25 kA for 3 sec. | [9 empty] | 5.19 | 6.1242
i) for 3.15 MVA capacity
| 1250 A,25 kA I/C (incomer) | 6.02 | -4.8 | 5.731 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6
b | 1250 A,25 kA O/G (Feeder) | 5.33 | -4.8 | 5.0742 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6 | 4.07 | 4.8026
c | 1250 A, 25 kA B/C (Buscoupler) | 6.49 | -4.8 | 6.1785 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6 | 5.2 | 6.136
| ii) for 6.3 MVA capacity | [10 empty] | 0
| 1250 A,25 kA I/C (incomer) | 6.44 | -4.8 | 6.1309 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6
| 1250 A,25 kA O/G (Feeder) | 5.33 | -4.8 | 5.0742 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6
| 1250 A, 25 kA B/C (Buscoupler) | 6.49 | -4.8 | 6.1785 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6
iii) for 20 MVA capacity
| 1250 A,25 kA O/G (Feeder) | 7.36 | -4.8 | 7.0067 | SSD-488/21 | 17.05.2022 | 1193-1240 | M16 | M15 | SWITCHGEAR6
a | 12 kV, 1250 A, 12.5 kA I/C | 5.0298 | 2.01 | 5.1309 |  |  |  | M14 | M15 | SWITCHGEAR5 |  | 0
c | 1250 A, 12.5 kA B/C | 3.769 | 2.01 | 3.8448 |  |  |  | M14 | M15 | SWITCHGEAR5 |  | 0
9(a) | Outdoor VCB Kiosk | [10 empty] | 0
| 36 kV, 1250 A, 25 kA | [10 empty] | 0
a | Incomer/Transformer Panel | 13.4761 | 2.01 | 13.747 |  |  |  | M14 | M15 | SWITCHGEAR5 | 11.03 | 13.0154
a | 12 kV, 1250 A, 25 kA I/C(Incomer) | 7.0008 | 2.01 | 7.1415 |  |  |  | M14 | M15 | SWITCHGEAR5 | 5.73 | 6.7614
b | 1250 A,25 kA O/G(Buscoupler) | 8.1737 | 2.01 | 8.3379 |  |  |  | M14 | M15 | SWITCHGEAR5 | 6.69 | 7.8942
c | 1250 A, 25 kA B/C(Feeder) | 6.7442 | 2.01 | 6.8797 |  |  |  | M14 | M15 | SWITCHGEAR5 | 5.52 | 6.5136
10 | 415 VOLT, 3 PHASE A. C. DISTRIBUTION BOARD | [10 empty] | 0
| 33 kV S/Stns | 3.84 | -4.43 | 3.6699 | 485 | 22.06.2022 | 2579-2608 | M17 | M18 | ACDB1 | 2.62 | 3.0916
| 66 kV S/Stns | 8.9601 | 5.05 | 9.4126 |  |  |  | M19 | M18 | ACDB2 | 7.38 | 8.7084
11 | D. C. BATTERY
a | 220 VOLT, 400 AH | 9.9684 | -1.42 | 9.8268 |  |  |  | M20 | M21 | BATTERY 1
b | 220 VOLT, 300 AH | 7.8609 | -1.42 | 7.7492 |  |  |  | M20 | M21 | BATTERY 1
c | 220 VOLT, 200 AH | 6.6354 | -1.42 | 6.5411 |  |  |  | M20 | M21 | BATTERY 1
d | 48 VOLT,400 AH | 2.6772 | -1.42 | 2.6392 |  |  |  | M20 | M21 | BATTERY 1
e | 48 VOLT,200 AH | 1.8092 | -1.42 | 1.7835 |  |  |  | M20 | M21 | BATTERY 1
f | 30 Volt, 200 AH | 0.83042 | -1.42 | 0.81863 |  |  |  | M20 | M21 | BATTERY 1
g | 30 Volt, 100 AH | 0.66144 | -1.42 | 0.65204 |  |  |  | M20 | M21 | BATTERY 1
12 | D. C. BATTERY CHARGER FOR
a | 220 VOLT, 400 AH | 2.2485 | 1.64 | 2.2854 |  |  |  | M20 | M21 | BATTERY3
b | 220 VOLT, 200 AH | 2.2485 | 1.64 | 2.2854 |  |  |  | M20 | M21 | BATTERY3
c | 48 Volt, 200 AH | 2.0233 | 1.64 | 2.0565 |  |  |  | M20 | M21 | BATTERY3
d | 30 Volt, 200 AH | 1.95 | -2.51 | 1.9011 | SSD-484 | 21.05.2022 | 1434-76 | M22 | M21 | BATTERY2
e | 30 Volt, 100 AH | 1.95 | -2.51 | 1.9011 | SSD-484 | 21.05.2022 | 1434-76 | M22 | M21 | BATTERY2
f | 220 VOLT,300 AH | 3.2019 | 1.64 | 3.2544 |  |  |  | M20 | M21 | BATTERY3
13 | DCDB
a | 220V, D. C. DISTRIBUTION BOARD | 0.85 | 0 | 0.85 | SSD-484 | 21.05.2022 | 1434-76
b | 48V, D. C. DISTRIBUTION BOARD | 1 | 0 | 1
c | 30V, D. C. DISTRIBUTION BOARD | 0.85 | 0 | 0.85 | SSD-484 | 21.05.2022 | 1434-76
14 | 220V-30V DC-DC CONVERTER | 0.61824 | 3.97 | 0.64279 |  |  |  | M23 | M24 | PE
15 | SUBSTATION STRUCTURE i/c nuts & bolts
a | PER MT FOR A GRADE | 1.7 | _ | 1.7
b | PER MT FOR C GRADE (For Snow Zone) | 1.73 | _ | 1.73
16 | SCADA SYSTEM COMPLETE
| (a) RTU & LDMS & SCADA | 48.9818 | 0 | 48.9818 | 438 | 25.08.2020 | 3480-87 |  |  |  |  | 0
| (b) FOTE | 35.046 | 0 | 35.046 | 446 | 04.08.2020 | 2572-81 |  |  |  |  | 0
17 | TESTING & MEASURING INSTRUMENTS
I) | Battery Leakage Detector, Meggar | 18.854 | 0 | 18.854
II) | Insulation Tester-Self Dioagnostic 5 kV Megger | 7.381 | 0 | 7.381
III) | 3-Phase Transformer Turns Ratio Tester, Megger | 17.93 | 0 | 17.93
IV) | Digital Multimeter (AC/DC), 2mA-20A, Megger | 0.286 | 0 | 0.286
V) | Digital Clamp Meter, Megger | 0.341 | 0 | 0.341
VI) | Digital Earth Tester, Megger | 3.399 | 0 | 3.399
VII) | All relay Universal Testing Kit | 42.493 | 0 | 42.493
VIII) | Motorized-cum-Manual Oil Test t Set (1kVA Capacity) | 2.827 | 0 | 2.827
ix) | Disturbance Recorder | 50.16 | 0 | 50.16
x) | Providing GPS device for time synchronisation of Protection relays | 8.635 | 0 | 8.635
xi) | Relay Testing Kit | 58.025 | 0 | 58.025
xii) | Tan Delta Testing Kit | 58.751 | 0 | 58.751
xiii) | Circuit breaker Analyzer | 85.602 | 0 | 85.602
xiv) | Battery Leakage Detector | 20.306 | 0 | 20.306
18 | CAPACITOR BANK WITH APFC SYSTEM
A.i | 12.65 kV(11 kV), 3 ( 1.2 +1.8) MVAR, Capactor Bank with APFC Panel | 23.188 | 0 | 23.188
ii | 25.3 kV (22 kV), 4.2 (2x1.2+1.8) MVAR Capactor Bank with APFC Panel | 53.988 | 0 | 53.988
iii | 38 kV( 33 kV), 7.2 (3X2.4) MVAR Capacitor Bank with APFC Panel. | 105.413 | 0 | 105.413
B | RESIDUAL VOLTAGE TRANSFORMER
i | 33kV/3/110-570 | 1.0964 | 5.52 | 1.1569 |  |  |  | M7 | M8 | IT1
ii | 22kV/3/110-570 | 0.86339 | 5.52 | 0.91105 |  |  |  | M7 | M8 | IT1
iii) | 11kV/3/110-570 | 0.72634 | 5.52 | 0.76644 |  |  |  | M7 | M8 | IT1
C | 200KVAR, 7.3KV CAPACITOR CELL | 0.21927 | 5.52 | 0.23138 |  |  |  | M7 | M8 | IT1
D | 33KV,7.2KVAR, Series Reactor. | 1.8364 | 5.52 | 1.9378 |  |  |  | M7 | M8 | IT1
19 | 220KV, Capacitor Voltage Transformer. | 2.2532 | 8.34 | 2.4411 |  |  |  | M7 | M8 | IT3
ii | 132KV, Capacitor Voltage Transformer. | 1.7568 | 8.34 | 1.9033 |  |  |  | M7 | M8 | IT3
iii | 66KV, Capacitor Voltage Transformer. | 1.5135 | 5.52 | 1.597 |  |  |  | M7 | M8 | IT3
19(A) | 125 KVA D G Set with AMF Panel | 11.2182 | 0 | 11.2182
20 | 1100 V Grade, HR-FRLS Copper Control Cables/LT Cables
1 | 1.1KV PVC, HR FRLS, Copper Control Cable (Un-screened)(per KM)
| 2Cx2.5mm2 | 0.599 | -10.98 | 0.53323 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 4Cx2.5mm2 | 1.068 | -10.67 | 0.95404 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 7Cx2.5mm2 | 1.786 | -10.62 | 1.5963 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 10Cx2.5mm2 | 2.51 | -12.47 | 2.197 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 12Cx2.5mm2 | 2.98 | -10.5 | 2.6671 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 19Cx2.5mm2 | 4.65 | -10.41 | 4.1659 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 2Cx4mm2 | 0.91 | -10.36 | 0.81572 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 4Cx4mm2 | 1.66 | -10.2 | 1.4907 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 4Cx6mm2 | 2.41 | -9.84 | 2.1729 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
2 | 1.1KV PVC, HR FRLS, Copper Control Cable (Screened)
| 4Cx4mm2 | 1.96 | -8.63 | 1.7909 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 4Cx6mm2 | 2.71 | -19.7 | 2.1761 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
| 7Cx6mm2 | 4.44 | -7.49 | 4.1074 | SSD-477 | 07.01.2022 | 8353-68 | M25 | M26 | Cable 2
B | 33kV&11kV HT XLPE Cables and Termination kits
1 | 33kV,1Cx1000 mm2,XLPE,Al Conductor With armoured | 15.54 | -6.83 | 14.4786 | SSD-477 | 06.01.2022 | 8309-19 | M25 | M26 | Cable1
2 | 33kV,1Cx630 mm2,XLPE,Al Conductor With armoured | 11.23 | -5.31 | 10.6337 | SSD-477 | 06.01.2022 | 8309-19 | M25 | M26 | Cable1
3 | 33kV,1Cx300 mm2,XLPE,Al Conductor With armoured | 6.82 | -3.87 | 6.5561 | SSD-477 | 06.01.2022 | 8309-19 | M25 | M26 | Cable1
4 | Termination Kits for 33kV,1Cx630 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.12 | 0 | 0.12
ii | Outdoor type | 0.14 | 0 | 0.14
5 | Termination Kits for 11kV,1Cx1000 mm2,XLPE,Al Conductor with armoured
i | Indoor Type | 0.1 | 0 | 0.1
ii | OutdoorType | 0.12 | 0 | 0.12
6 | Termination Kits for 11kV,3Cx185 mm2,XLPE,All. Cond with armoured
I | Indoor Type | 0.102 | 0 | 0.102
II | OutdoorType | 0.113 | 0 | 0.113
21 | BMK
1 | 220 kV & 132 KV BMK | 0.78 | 0 | 0.78 | SSD-444 | 06.02.2020 | 10583-96
2 | 33 KV BMK | 0.68 | 0 | 0.68 | SSD-444 | 06.02.2020 | 10583-96
22 | JUNCTION BOX
1 | 220 kV & 132 KV CT JUNCTION BOX | 0.24 | 0 | 0.24 | SSD-444 | 06.02.2020 | 10583-96
2 | PT JUNCTION BOX | 0.22 | 0 | 0.22 | SSD-444 | 06.02.2020 | 10583-96
3 | CVT JUNCTON BOX | 0.22 | 0 | 0.22 | SSD-444 | 06.02.2020 | 10583-96
23 | SURGE ARRESTOR with surge counter
A | PORCELAIN TYPE
a | 198 kV | 0.71662 | 22.81 | 0.88008 |  |  |  | M29 | M28 | LA2
b | 120 kV | 0.45703 | 22.81 | 0.56128 |  |  |  | M29 | M28 | LA2
c | 60 kV | 0.2925 | 22.81 | 0.35922 |  |  |  | M29 | M28 | LA2
d | 30 kV | 0.054844 | 22.81 | 0.067353 |  |  |  | M29 | M28 | LA2
B | POLYMER TYPE
| 198kV | 0.719 | 10.17 | 0.79212 | ssd-474 | 06.12.2021 | 7234-54
a | 120 kV | 0.445 | 10.17 | 0.49026 | ssd-474 | 06.12.2021 | 7234-54 | M27 | M28 | LA1
b | 60 kV | 0.23 | 10.17 | 0.25339 | ssd-474 | 06.12.2021 | 7234-54 | M27 | M28 | LA1
c | 30 kV | 0.052 | 10.17 | 0.057288 | ssd-474 | 06.12.2021 | 7182-7233 | M27 | M28 | LA1
d | 18 kV | 0.037878 | 10.17 | 0.04173 | ssd-474 | 06.12.2021 | 7182-7233 | M27 | M28 | LA1
e | 9 kV | 0.026 | 10.17 | 0.028644 | ssd-474 | 06.12.2021 | 7182-7233 | M27 | M28 | LA1
24 | CURRENT TRANSFORMER
220 kV, TRANSFORMER
a | 2000-1000/1-1-1-1-1A | 3.2211 | 8.34 | 3.4898 |  |  |  | M7 | M8 | IT1 | 2.42 | 2.8556
| 1600-800/1-1-1-1-1A | 2.93 | -0.33 | 2.9203 | SSD-480/21 | 02.03.2022 | 9918-30 | M9 | M8 | IT2
| 800-400/1-1-1-1-1A | 2.93 | -0.33 | 2.9203 | SSD-480/21 | 02.03.2022 | 9918-30 | M9 | M8 | IT2
| 600-300/1-1-1-1-1A | 2.93 | -0.33 | 2.9203 | SSD-480/21 | 02.03.2022 | 9918-30 | M9 | M8 | IT2
| 300-150/1-1-1-1-1A | 2.81 | -0.33 | 2.8007 | SSD-480/21 | 02.03.2022 | 9918-30 | M9 | M8 | IT2
b | 132 kV, TRANSFORMER
| 1600-800/1-1-1-1A | 1.5785 | 8.34 | 1.7102 |  |  |  | M7 | M8 | IT1
| 1200-600/1-1-1-1-1A | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2
| 1000-500/1-1-1-1-1A | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2
| 800-400/1-1-1-1-1A | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2
| 600-300/1-1-1-1-1A | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2 | 1.04 | 1.2272
| 500-250/0.577-1-1-1-1A | 1.3749 | 8.34 | 1.4895 |  |  |  | M7 | M8 | IT1 |  | 0
| 500-250/1-1-1-1A | 1.3749 | 8.34 | 1.4895 |  |  |  | M7 | M8 | IT1 |  | 0
| 400-200/1-1-1-1A | 1.4258 | 8.34 | 1.5447 |  |  |  | M7 | M8 | IT1 |  | 0
| 300-150/1-1-1-1-1A | 1.23 | -0.33 | 1.2259 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2 | 0.99 | 1.1682
| 200-100/1-1-1-1-1A | 1.2348 | -0.33 | 1.2307 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT2 |  | 0
c | 66 kV, TRANSFORMER | [10 empty] | 0
| 2000-1000/1-1-1-1-1A | 0.79802 | 5.52 | 0.84207 |  |  |  | M7 | M8 | IT3 |  | 0
| 1000-500/0.577-1-1-1-1A | 0.79802 | 5.52 | 0.84207 |  |  |  | M7 | M8 | IT3 |  | 0
| 800-400/1-1-1-1-1A | 0.61 | 5.52 | 0.64367 |  |  |  | M7 | M8 | IT3 |  | 0
| 800-400/1-1-1-1A | 0.61 | 5.52 | 0.64367 |  |  |  | M7 | M8 | IT3 |  | 0
| 600-300/1-1-1-1-1A | 0.78927 | 5.52 | 0.83284 |  |  |  | M7 | M8 | IT3 |  | 0
| 600-300/1-1-1A | 0.71546 | 5.52 | 0.75496 |  |  |  | M7 | M8 | IT3 |  | 0
| 500-250/1-1-1-1-1A | 0.61 | -1.75 | 0.59932 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 |  | 0
| 400-200/1-1-1-1-1A | 0.61 | -1.75 | 0.59932 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.52 | 0.6136
| 300-150/0.577-1-1-1-1A | 0.78439 | 5.52 | 0.82769 |  |  |  | M7 | M8 | IT3 |  | 0
| 200-100/0.577-1-1-1-1A | 0.80127 | 5.52 | 0.8455 |  |  |  | M7 | M8 | IT3 |  | 0
| 200-100/1-1-1-1-1A | 0.6101 | 5.52 | 0.64378 |  |  |  | M7 | M8 | IT3 | 0.52 | 0.6136
| 200-100/1-1-1-1A | 0.69973 | 5.52 | 0.73836 |  |  |  | M7 | M8 | IT3 |  | 0
| 150-75/1-1-1A | 0.71546 | 5.52 | 0.75496 |  |  |  | M7 | M8 | IT3 |  | 0
| 75/1-1-1-1 A | 0.78014 | 5.52 | 0.8232 |  |  |  | M7 | M8 | IT3 |  | 0
| 50/1-1-1-1 A | 0.78014 | 5.52 | 0.8232 |  |  |  | M7 | M8 | IT3 |  | 0
d | 33 kV, TRANSFORMER | [10 empty] | 0
| 1200-600/1-1-1-1-1A | 0.69031 | 5.52 | 0.72841 |  |  |  | M7 | M8 | IT3 | 0.51 | 0.6018
| 1200-600/1-1-1-1A | 0.56 | -1.75 | 0.5502 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.49 | 0.5782
| 1000-600/0.577-1-1-1-1A | 0.5893 | 5.52 | 0.62183 |  |  |  | M7 | M8 | IT3 |  | 0
| 800-400/1-1-1-1A | 0.56 | -1.75 | 0.5502 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4
| 800-400/1-1-1-1-1A | 0.57559 | 5.52 | 0.60737 |  |  |  | M7 | M8 | IT3 |  | 0
| 300-150/1-1-1-1A | 0.56 | -1.75 | 0.5502 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 |  | 0
| 500-250/0.577-1-1-1-1A | 0.57559 | 5.52 | 0.60737 |  |  |  | M7 | M8 | IT3 |  | 0
| 600-300/1-1-1-1-1A | 0.57 | -1.75 | 0.56002 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 |  | 0
| 400-200/1-1-1-1-1A | 0.57 | -1.75 | 0.56002 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.42 | 0.4956
| 400-200/1-1-1-1A | 0.56295 | -1.75 | 0.5531 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.4 | 0.472
| 300-150/1-1-1-1-1A | 0.57 | -1.75 | 0.56002 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.42 | 0.4956
| 300-150/1-1-1A | 0.47851 | 5.52 | 0.50493 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 200-100/1-1-1-1-1A | 0.45884 | 5.52 | 0.48417 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 200-100/0.577-1-1-1-1A | 0.52448 | 5.52 | 0.55343 |  |  |  | M7 | M8 | IT3 |  | 0
| 200-100/1-1-1-1A | 0.56295 | -1.75 | 0.5531 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.4 | 0.472
| 400-200/1-1-1A | 0.53759 | 5.52 | 0.56727 |  |  |  | M7 | M8 | IT3 |  | 0
| 600-300/1-1-1-1A | 0.56 | -1.75 | 0.5502 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.4 | 0.472
| 600-300/1-1-1A | 0.47297 | 5.52 | 0.49908 |  |  |  | M7 | M8 | IT3 |  | 0
| 200-100/1-1-1A | 0.40417 | 5.52 | 0.42648 |  |  |  | M7 | M8 | IT3 | 0.3 | 0.354
| 150-75/1-1-1-1A | 0.56 | -1.75 | 0.5502 | SSD-480/21 | 03.03.2022 | 9991-10066
| 150-75/1-1-1A | 0.42484 | 5.52 | 0.44829 |  |  |  | M7 | M8 | IT3 |  | 0
| 10-5/1-1-1A | 0.52 | -1.75 | 0.5109 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4 | 0.4 | 0.472
| 15-7.5/1-1-1A | 0.68183 | 5.52 | 0.71946 |  |  |  | M7 | M8 | IT3 |  | 0
e | 22 kV, TRANSFORMER | [10 empty] | 0
| 600-300/1-1-1-1A | 0.39772 | 5.52 | 0.41967 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 200-100/1-1-1-1-1A | 0.5098 | 5.52 | 0.53794 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 200-100/1-1-1-1A | 0.47851 | 5.52 | 0.50493 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 400-200/1-1-1-1A | 0.47851 | 5.52 | 0.50493 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 100-50/1-1-1-1A | 0.47851 | 5.52 | 0.50493 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 150-75/1-1-1-1A | 0.47851 | 5.52 | 0.50493 |  |  |  | M7 | M8 | IT3 | 0.34 | 0.4012
| 400-200/1-1-1A | 0.52 | -1.75 | 0.5109 | SSD-480/21 | 03.03.2022 | 9991-10066 | M9 | M8 | IT4
25 | Fote & other accessary
i | SDH Equipment (STM-4 MADM upto 5MSP Protected Directions) complete in all respects. | 16.89 | 0 | 16.89 | 426 | 9.10.2019 | 7211-94
ii | SDH Equipment (STM-4 MADM upto 3MSP Protected Directions) complete in all respects. | 13.06 | 0 | 13.06 | 426 | 9.10.2019 | 7211-94
iii | Cabinet for SDH, PDH & Digital Protection Coupler including MCB, thimbles, cable clamps, Ferrules, optical fibre cable patch cords, E-1 cable etc. | 0.85 | 0 | 0.85 | 426 | 9.10.2019 | 7211-94
iv | Digital Protecion Signalling Equipment | 5.86 | 0 | 5.86 | 426 | 9.10.2019 | 7211-94
v | Fibre Distribution Panel (FODP) for termination of OFAC 48F capacity | 0.37 | 0 | 0.37 | 426 | 9.10.2019 | 7211-94
vi | Optical Fibre Approach Cable of 24F capacity | 0.8 | 0 | 0.8 | 426 | 9.10.2019 | 7211-94
vii | HDPE pipe 40mm dia | 0.68 | 0 | 0.68 | 426 | 9.10.2019 | 7211-94
26 | CONTROL & RELAY PANELS
a | 220 kV, Transformer Panel with BCU | 13.7427 | 1.34 | 13.9268 |  |  |  | M30 | M31 | SWITCHGEAR7
| Bus CouplerPanel with BCU | 7.2113 | 1.34 | 7.3079 |  |  |  | M30 | M31 | SWITCHGEAR7
| Bus Bar Protection Panel without BCU | 20.2012 | 1.34 | 20.4719 |  |  |  | M30 | M31 | SWITCHGEAR7
| Feeder Panel with BCU | 16.1343 | 1.34 | 16.3505 |  |  |  | M30 | M31 | SWITCHGEAR7
b | 132 kV, Transformer Panel without diffrential Relay | 9.4572 | 1.34 | 9.5839 |  |  |  | M30 | M31 | SWITCHGEAR7
| Transformer Panel with diffrential Relay & REF Relay | 6.03 | -2.16 | 5.8998 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR8 | 5.11 | 6.0298
| Bus Bar Protection Panel without BCU | 19.4728 | 1.34 | 19.7338 |  |  |  | M30 | M31 | SWITCHGEAR7
| Bus Coupler Panel with BCU | 7.9178 | 1.34 | 8.0239 |  |  |  | M30 | M31 | SWITCHGEAR7 | 6.71 | 7.9178
| Bus Coupler panel without BCU | 3.94 | -2.16 | 3.8549 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR8
| Feeder Panel without BCU | 4.7908 | -2.16 | 4.6873 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR8 | 4.06 | 4.7908
| Feeder Panel with BCU | 8.7674 | 1.34 | 8.8849 |  |  |  | M30 | M31 | SWITCHGEAR7 | 7.43 | 8.7674
c | 66 kV, Transformer Panel (LV) Side without diffrential Relay & with BCU | 9.0566 | 1.34 | 9.1779 |  |  |  | M30 | M31 | SWITCHGEAR7
| Transformer Panel (HV) Side with diffrential Relay & without BCU | 5.6758 | 1.34 | 5.7519 |  |  |  | M30 | M31 | SWITCHGEAR7 | 4.81 | 5.6758
| Bus Coupler | 8.7531 | 1.34 | 8.8703 |  |  |  | M30 | M31 | SWITCHGEAR7
| Feeder Panel without BCU | 4.3542 | 1.34 | 4.4125 |  |  |  | M30 | M31 | SWITCHGEAR7 | 3.69 | 4.3542
d | 33 kV, Transformer Panel without diffrential Relay with BCU | 8.1539 | 2.01 | 8.3178 |  |  |  | M30 | M31 | SWITCHGEAR9 |  | 0
| Transformer Panel without diffrential Relay & without BCU | 4.9158 | 2.01 | 5.0146 |  |  |  | M30 | M31 | SWITCHGEAR9 |  | 0
| Transformer Panel with diffrential Relay & REF Relay | 3.27 | -1.89 | 3.2082 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 2.8 | 3.304
| Transformer Panel with diffrential Relay & without REF | 2.92 | -1.89 | 2.8648 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 2.5 | 2.95
| Transformer Panel without diffrential Relay & without REF | 2.28 | -1.89 | 2.2369 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 1.95 | 2.301
| Bus Coupler Panel | 2.6314 | 2.01 | 2.6843 |  |  |  | M30 | M31 | SWITCHGEAR9 | 2.23 | 2.6314
| Feeder Panel without BCU | 2.02 | -1.89 | 1.9818 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 1.79 | 2.1122
e | 22 kV, Transformer Panel without diffrential Relay without REF Relay | 2.27 | -1.89 | 2.2271 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 1.94 | 2.2892
| Feeder Panel without BCU | 2.02 | -1.89 | 1.9818 | 457 Addl. | 07.12.2021 | 7269-82 | M32 | M31 | SWITCHGEAR10 | 1.73 | 2.0414
27 | Sub-Station Automation System & Bay Control Unit
i) | Sub-Staion Automation System (Typical for one sub-station)(SAS)220 KV | 41.6178 | 0 | 41.6178
Sub-Station with PRP
ii) | Sub-Staion Automation System (Typical for one sub-station) | 17.2183 | 0 | 17.2183
without PRP
iii) | Bay Control Unit-IEC 61850 Compliance (without PRP) | 3.2361 | 0 | 3.2361
iv) | Bay Control Unit (with PRP) | 4.9415 | 0 | 4.9415
28 | 33kV GIS Panels
| 33kV Incomer GIS Panels | 26.79 | 0 | 26.79 | SSD-490 | 29.04.2022 | 605-12
| 33kV Transformer GIS Panels | 20.85 | 0 | 20.85 | SSD-490 | 29.04.2022 | 605-12
| 33kV Station Transformer GIS Panels | 18.21 | 0 | 18.21 | SSD-490 | 29.04.2022 | 605-12
Note on A407: Trilok: